## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
July 11, 2019
Aster Amahatsion
2019 PGDTF Chair
<number>
Notes: <number>

## Slide 2: PGDTF Meeting
Business meeting was held on June 11th , 2019
Discussed Federal and State activities regarding GMD
  TPL-007-4 is currently being drafted, the new revision will add one more requirement to the standard. The new requirement deals with development and implantation of corrective action plans to mitigate assessed supplemental GMD event vulnerabilities.
GIC 2022 SSWG summer peak/min case building update
  ERCOT presented on the 2019 GIC model building status
  TSPs and ERCOT went through modeling data issues
  Modelling data update for the GIC model was ended on 07/05/2019
<number>
7/11/2019 ROS Meeting
Notes: <number>

## Slide 3: PGDTF Meeting
Discussed NERC TPL-007-3 Requirments R11 and R12
  Requirements R11 and R12 are for implementing a process to obtain GIC and geomagnetic field data from at least one GIC monitor and one magnetometer located in the Planning Coordinator's area respectively. The data are required for model validation and situational awareness.
  The compliance dead line for these requirements is July 01, 2021
  ERCOT will start drafting the process in the first quarter of 2020
  Availability of the monitors in ERCOT
    Some TSPs have installed GIC monitors in their transformer neutrals
    Texas A&M are installing magnetometers
7/11/2019 ROS Meeting
<number>
Notes: <number>

## Slide 4: PGDTF Meeting
Drafting ROS approved methodology for assessing GMD impacts on power systems
  Had workshop on GMD Harmonics Impacts on Protection System on May meeting, the presenters include industry experts from EPRI, SEL, IEEE working group, Brazos Electric and also TSPs sharing their approach on development of potential GMD Events
  PGDTF drafted and reviewed the methodology
  System Protection Working Group will also review the draft in their July meeting
Next PGDTF meeting: July 17 at the Met Center (WebEx available)
<number>
7/11/2019 ROS Meeting
Notes: <number>

## Slide 5: Questions
<number>
7/11/2019 ROS Meeting
Notes: <number>