## Slide 1: PLWG – ROS Update July 16, 2019

## Slide 2
1. NPRR913 Generator Interconnection Neutral Project Classification
ROS approved the PLWG’s March recommendations but it was rejected at PRS on April 11, 2019.

## Slide 3
2. PGRR70 Revised Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments
At the March PLWG meeting, NRG filed comments but PLWG did not reach consensus on language changes. The revision request was then discussed further at the PGDTF.
At the ROS meeting in May consensus language was added to the revision request and PGRR70 was approved by the Board at the June meeting.
Presently, the PGDTF is developing a guide for TSPs and Resource Entities to help them determine a list of equipment that is removed from service as a result of protection system operation/misoperation due to harmonics from a GMD event.

## Slide 4
3. NOGRR183 Remedial Action Scheme (RAS) Submittal and Review
Was tabled based on ERCOT’s request to have more time to consider other market participant’s comments.
PLWG to discuss today.

## Slide 5
4. Battery Energy Storage (http://www.ercot.com/calendar/2019/7/11/165194-ROS - filename: Energy Storage Initial ROS Discussion)
At last week’s ROS Meeting Warren Lasher discussed the list of issues assigned to ROS that were developed from the Battery Energy Storage Workshop back in April.
  Issue 2: Battery Energy Storage Operational Requirements.
  Issue 5: Operations System Design Changes.
  Issue 6: State of Charge/Limited Duration Considerations.
  Issue 7: Alternate Device Modeling Options.
  ROS did discuss that some of these issues would be assign to PLWG but at this time none were assigned. PDCWG was assigned by ROS to address whether batteries should have different operational requirements when charging versus discharging.