| NPRR Number | 945 | NPRR Title | Net Metering Requirements |
| --- | --- | --- | --- |
| Date |  | July 16, 2019 |  |
| Submitter’s Information |  |  |  |
| Name |  | Don Tucker |  |
| E-mail Address |  | Donald.Tucker@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3913 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT appreciates the opportunity to provide comments on Nodal Protocol Revision Request (NPRR) 945.

As stakeholders are reviewing this NPRR, ERCOT notes that the Metering Working Group (MWG) has initiated discussions on the definition of Point of Interconnection (POI).  Per Section 2.1, Definitions, the current POI definition is:

“The voltage level and substation where a Generation Entity’s interconnection Facilities connect to the Transmission Facilities as reflected in the Standard Generation Interconnection Agreement (SGIA) between a Generation Entity and a Transmission Service Provider (TSP) or the voltage level and substation where Load interconnects to the TSP Facilities.”

While the definition references the entire substation, it also references the interconnection location reflected in the SGIA, which may or may not be at a substation.  In its review of EPS Metering Design Proposals, ERCOT has always assumed the POI to be a discrete point for each connection from the Generation Entity to the Transmission Facilities.

In setting out requirements for netting of generation and Load for Settlement purposes, NPRR945 and existing Section 10, Metering, language refer to the term POI in several instances.  ERCOT wishes to point out that the discussions on the definition of POI at MWG and other appropriate stakeholder groups could impact the interpretation and language affected by NPRR945 and associated Section 10 language.  For this reason, ERCOT recommends that PRS table this NPRR until stakeholders have had an opportunity to address the issues discussed at MWG.

Revised Cover Page Language

None at this time.

Revised Proposed Protocol Language

None at this time.