## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for June 2019

## Slide 2: Non-IRR GREDP < 85% – June 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 304 | 18 | 29 | 0.67 | 62.07

## Slide 3: IRR Summary – June 2019
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 83.45 | 61.79 | 87.95
GREDP Median (%) | 97.72 | 77.78 | 89.48
Average MW Error | 3.87 | 3.82 | 4.55
Median MW Error | 3.61 | 3.46 | 3.68
Total Intervals Scored | 22,754 | 12,548 | 11,582
100+ Intervals Scored | 30 | 168 | 14
Total Intervals Scored Average | 114.92 | 236.75 | 827.29

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,343 | 2,371 | 7.34 | 98.82
Unit 5 | 1,167 | 1,224 | 7.04 | 95.34
Unit 8 | 932 | 933 | 4.37 | 99.89
Unit 9 | 907 | 930 | 2.48 | 97.53
Unit 11 | 876 | 909 | 4.58 | 96.37
Unit 12 | 835 | 849 | 4.13 | 98.35
Unit 15 | 446 | 455 | 3.25 | 98.02
Unit 16 | 431 | 431 | 5.03 | 100.00
Unit 18 | 385 | 394 | 4.94 | 97.72
Unit 20 | 205 | 213 | 2.46 | 96.24
Unit 22 | 160 | 167 | 4.36 | 95.81
Unit 23 | 165 | 165 | 2.87 | 100.00
Unit 24 | 158 | 161 | 3.64 | 98.14

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 25 | 155 | 156 | 2.53 | 99.36

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – June 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,149 | 2,288 | 5.91 | 93.92
Unit 3 | 1,891 | 2,089 | 3.75 | 90.52
Unit 4 | 1,524 | 1,646 | 2.96 | 90.36
Unit 6 | 979 | 1,035 | 10.42 | 94.59
Unit 7 | 773 | 934 | 4.53 | 82.76
Unit 10 | 872 | 918 | 2.74 | 94.99
Unit 13 | 716 | 760 | 5.76 | 94.21
Unit 14 | 597 | 713 | 2.75 | 83.73
Unit 17 | 360 | 413 | 2.10 | 87.17
Unit 19 | 210 | 237 | 5.10 | 88.61
Unit 21 | 145 | 187 | 7.72 | 77.54
Unit 26 | 132 | 143 | 3.62 | 92.31
Unit 27 | 96 | 118 | 3.03 | 81.36

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – June 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 28 | 80 | 101 | 3.33 | 79.21
Unit 29 | 65 | 100 | 8.87 | 65.00
Unit 30 | 82 | 100 | 3.46 | 82.00