| SCR Number | 803 | SCR Title | Enhance Wind Integration Report and Create Solar Integration Report and Solar Dashboard |
| --- | --- | --- | --- |
| Date Posted |  | June 14, 2019 |  |
| Requested Resolution |  | Normal |  |
| Supporting Protocol or Guide Sections/Related Documents |  | Protocol Section 4.2.3, PhotoVoltaic Generation Resource Production Potential |  |
| System Change Description |  | This System Change Request (SCR) enhances the existing wind integration report and creates new solar integration reports and a new a graphical dashboard to show actual and forecasted solar power production, similar to the current dashboard for wind power production. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: Improves market awareness regarding solar generation (please select all that apply) |  |
| Business Case |  | This SCR improves market awareness regarding solar generation by mirroring the functionality currently provided for wind generation. |  |

| Sponsor |  |
| --- | --- |
| Name | Bill Barnes |
| E-mail Address | bill.barnes@nrg.com |
| Company | Reliant Energy Retail Services LLC |
| Phone Number | 512-691-6137 |
| Cell Number | 315-885-5925 |
| Market Segment | Independent Retail Electric Provider (IREP) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

Proposed System Change

Issue:

Solar power has been steadily rising within the ERCOT interconnection, and by the end of the 2019, ERCOT expects more than 2,000 MW of Photovoltaic Generation Resource (PVGR) installed capacity with a more rapid increase expected in the years following.  The information regarding system-wide solar generation forecast and the actual solar generation is available to the stakeholders, but not in a graphical format.  ERCOT currently provides a graphical dashboard on the ERCOT website for wind generation and a daily wind integration report. The current version of wind integration report also needs some additional updates to enhance usability such as daily updates of installed wind capacity.

Resolution:

This SCR will create a new solar integration report and create a graphical dashboard for actual and forecasted solar power production, aggregated at the system-wide level, similar to the graphical dashboard for wind generation.  The daily wind and solar integration reports will include the numerical value of updated aggregate installed capacity for both wind and solar respectively.