APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, May 2, 2019 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Barnes, Bill | Reliant Energy Retail Services |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Energy Services |  |
| Coleman, Diana | OPUC |  |
| Downey, Marty | Electranet Power |  |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Hall, Tim | Southern Power Co. | Via Teleconference |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEPSC |  |
| Lee, Billy | Garland Power and Light |  |
| Moore, John | South Texas Electric Cooperative |  |
| Reed, Cyrus | Sierra Club |  |
| Rich, Katie | Golden Spread Electric Cooperative | Alt. Rep. for Chris Koenig |
| Smith, Caitlin | Invenergy |  |
| Staples, Boone | Tenaska Power Services | Via Teleconference |
| Woitt, Wes | CenterPoint Energy |  |
| Woodruff, Taylor | Oncor | Alt. Rep. for Either Nashawati |
| Zhang, Jianhui | Austin Energy | Alt. Rep. for Reza Ebrahimian |

The following proxies were assigned:

- Bill Valagura to Caitlin Smith

| Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | PUCT | Via Teleconference |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Amahatsion, Aster | AEPSC | Via Teleconference |
| Azim, Riyasat | DNV GL | Via Teleconference |
| Blankenship, David | CenterPoint Energy | Via Teleconference |
| Borkar, Sandeep | LCRA | Via Teleconference |
| Brahman, Azade | DNV GL | Via Teleconference |
| Bruce, Mark | Cratylus Advisors |  |
| Checkley, Jim | CTT |  |
| Chhajed, Pushkar | LCRA | Via Teleconference |
| Chilton, Tamme | CenterPoint Energy | Via Teleconference |
| Cochran, Seth | DC Energy |  |
| Cook, Tim | CTT |  |
| Detelich, David | CPS Energy | Via Teleconference |
| Donohoo, Ken | EPE Consulting |  |
| Elliott, Christopher | Bank of America Merrill Lynch | Via Teleconference |
| Emery, Keith | Tenaska Power Services | Via Teleconference |
| Evans, Doug | South Texas Electric Cooperative | Via Teleconference |
| Floyd, Rickey | Oncor |  |
| Grimshaw, James | CPS Energy | Via Teleconference |
| Gross, Blake | AEPSC |  |
| Henderson, Norris | FERC | Via Teleconference |
| Hughes, Darren | LCRA | Via Teleconference |
| Jackson, Jimmy | CPS Energy |  |
| Jones, Randy | Mountaineer | Via Teleconference |
| Joshi, Karan | Pattern Energy | Via Teleconference |
| Juricek, Mike | Oncor |  |
| Karlik, John | Austin Energy | Via Teleconference |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Marshall, David | Southern Company | Via Teleconference |
| Martin, Collin | Oncor | Via Teleconference |
| McClelland, Charlie | Long Road Energy | Via Teleconference |
| Mulholland, Chad | NRG | Via Teleconference |
| Naik, Harsh | Oncor | Via Teleconference |
| Palani, Ananth | Garland Power and Light | Via Teleconference |
| Peck, Alexander | Novatus Energy | Via Teleconference |
| Penney, David | Texas Reliability Entity |  |
| Phipps, Cody | WETT |  |
| Powell, Christian | Pedernales Electric Cooperative | Via Teleconference |
| Preas, Dylan | LCRA | Via Teleconference |
| Powell, Christian | Pedernales Electric Cooperative |  |
| Pressler, Glenn | CPS Energy | Via Teleconference |
| Ranaweera, Aruna | E.ON | Via Teleconference |
| Ravulapati, Bharath | CTT |  |
| Reedy, Steve | Potomac Economics |  |
| Reid, Walter | Advanced Power Alliance |  |
| Rollan, Brett | Lincoln Clean Energy |  |
| Sams, Bryan | Lone Star Transmission | Via Teleconference |
| Saraf, Parimal | DNV GL | Via Teleconference |
| Schwertner, Cody | Cross Texas Transmission | Via Teleconference |
| Shaw, Marka | Exelon | Via Teleconference |
| Shelton, Tylan | Big Sky Wind Energy | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Sithuraj, Murali | Austin Energy | Via Teleconference |
| Smith, Chase | Southern Power Company | Via Teleconference |
| Somayajulu, Raman | Enel | Via Teleconference |
| Soutter, Mark | Sun Chase Power | Via Teleconference |
| Tabrizi, Mike | DNV GL |  |
| Van Zee, Katie | Texas Reliability Entity | Via Teleconference |
| Varnell, John | Tenaska Power Services | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Younger, Joseph | Texas Reliability Entity | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  | Via Teleconference |
| Anderson, Conner |  | Via Teleconference |
| Badri, Sreenivas |  | Via Teleconference |
| Bernecker, John |  |  |
| Billo, Jeff |  |  |
| Bracy, Phil |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Du, Pengwei |  | Via Teleconference |
| Fisher, John |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Geer, Ed |  | Via Teleconference |
| Gnanam, Prabhu |  |  |
| Guiyab, Rochie |  | Via Teleconference |
| Hanson, Kevin |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Huang, Fred |  |  |
| Khan, Muhammad |  | Via Teleconference |
| Levine, Jon |  | Via Teleconference |
| Mago, Nitika |  |  |
| Matevosyan, Julia |  | Via Teleconference |
| Miller, Megan |  | Via Teleconference |
| Mereness, Matt |  |  |
| Rajagopalan, Sidharth |  | Via Teleconference |
| Rose, Jonathan |  |  |
| Shaw, Pam |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the May 2, 2019 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

April 4, 2019

Dennis Kunkel moved to approve the April 4, 2019 ROS meeting minutes as submitted.  Diana Coleman seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update

Mr. Bunch reminded Market Participants that TAC did not meet in April 2019 and noted that Outage Activity Related to Operating Condition Notice (OCN) Workshops were held on April 24 and May 1, 2019.

Texas RE Assessment of Reliability Performance

David Penney presented an assessment of 2018 reliability performance to the ROS.  Market Participants briefly discussed study assumptions and results.

- ERCOT Updates (see Key Documents)

Operations Report

Nitika Mago reviewed the March 2019 Operations Report.

System Planning Report

Jeff Billo presented the March 2019 System Planning Report.

Real-Time Ancillary Service Shortages

Ms. Mago summarized the Real-Time Ancillary Service shortages issues, presented statistics, and stated that most of the shortages are due to inaccurate telemetry and improper trade submittals.

Panhandle Stability Study Update

ERCOT Staff provided an overview of the Panhandle Stability Study for the years 2016 to 2018, reviewed the 2019 preliminary assessment, and summarized further studies of existing conditions and system changes to account for dynamic voltage stability issues under multiple Transmission Outage conditions as described in the May 2, 2019 Market Notice.

South Texas SSO Update

ERCOT Staff presented the South Texas Subsynchronous Oscillation (SSO) update, reviewed the constraints and study challenges and stated that ERCOT would work with Transmission Service Providers (TSPs) on potential mitigation options and identify system changes or improvements to address Subsynchronous Control Interaction (SSCI) issues.

Southern Cross Transmission Assignments

Southern Cross Transmission Directive #7, Determination as to how to manage congestion caused by a DC Tie

Matt Mereness summarized Southern Cross Transmission Directive #7, Determination as to how to Manage Congestion caused by a DC Tie and the May 1, 2019 Wholesale Market Subcommittee (WMS) discussion and referral to the Congestion Management Working Group (CMWG).

Southern Cross Transmission Directive #8, Voltage Support Services

Freddy Garcia summarized Southern Cross Transmission Directive #8, Voltage Support Services, reviewed the planning study results, and requested direction from ROS on the proposed solutions.  Market Participants requested additional time to consider the issues.  Mr. Bunch stated that Southern Cross Transmission Directive #8, Voltage Support Services will be considered at the June 6, 2019 ROS meeting.

New Protocol Revision Subcommittee (PRS) Referrals

There were no new Revision Requests referred from PRS.

Review of Revision Request Language & Impact Analyses

Impact Analysis

Planning Guide Revision Request (PGRR) 070, Revised Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments

Market Participants reviewed the 4/25/19 ERCOT comments and the 4/30/19 NRG comments, offered additional clarifications, and discussed the Impact Analysis and appropriate priority and rank for PGRR070.

Marty Downey moved to endorse and forward to TAC the 4/4/19 ROS Report, as amended by the 4/25/19 ERCOT comments as revised by ROS, and the Impact Analysis for PGRR070 with a recommended priority of 2019 and a rank of 230.  Bill Barnes seconded the motion.  The motion carried unanimously.

Nodal Operating Guide Revision Request (NOGRR) 188, WAN Technology Updates

Taylor Woodruff moved to endorse and forward to TAC the 4/4/19 ROS Report and Impact Analysis for NOGRR188.  Clayton Greer seconded the motion.  The motion carried unanimously.

NOGRR189, Align Disturbance Monitoring Requirements Deadline with NERC Reliability Standard PRC-002-2

Mr. Woodruff moved to endorse and forward to TAC the 4/4/19 ROS Report and Impact Analysis for NOGRR189.  Mr. Greer seconded the motion.  The motion carried unanimously.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed recent PDCWG activities.

Nodal Protocol Revision Request (NPRR) 919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks

NOGRR184, Related to NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks

ROS took no action on these items.

NOGRR187, Related to NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve

Mr. Greer moved to recommend approval of NOGRR187 as submitted.  Mr. Downey seconded the motion.  The motion carried unanimously.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed recent OWG activities.

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

Stephen Solis summarized the history of NPRR849 and the potential solutions discussed at the April 18, 2019 OWG meeting.  ROS took no action on this item.

NOGRR183, Remedial Action Scheme (RAS) Submittal and Review Requirements

ROS took no action on this item.

Network Data Support Working Group (NDSWG) (see Key Documents)

Bharath Ravulapati reviewed recent NDSWG activities, including the ERCOT Nodal ICCP Communication Handbook discussion at the April 16, 2019 NDSWG meeting.  Market Participants and ERCOT Staff discussed codifying binding language in an Other Binding Document, or in the Nodal Operating Guides.    Mr. Bunch requested NDSWG identify the binding and nonbinding items, and then determine the appropriate repository.

NDSWG Leadership

Mr. Woodruff moved to approve NDSWG Leadership as submitted.    Mr. Greer seconded the motion.   The motion carried unanimously.

NDSWG Scope

Market Participants discussed the NDSWG scope and requested additional time to clarify proposed language on closed meetings.  ROS took no action on this item.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Aster Amahatsion reviewed recent PGDTF activities and announced the May 16, 2019 Assessing Geomagnetic Disturbance (GMD) Harmonics Effects on Protection System(s) Workshop at the LCRA Redbud Center, Austin, Texas.

Other Business

Review of Open Action Items

Market Participants reviewed the Open Action Items.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- Operations Training Working Group (OTWG)

- Planning Working Group (PLWG)

- Steady State Working Group (SSWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Bunch adjourned the May 2, 2019 ROS meeting 1:05 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2019/5/2/165185-ROS