Date:	July 24, 2019

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs and SCRs recommended for approval by PRS: - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR904, Revisions to Real-Time On-Line Reliability Deployment Price Adder for ERCOT-Directed Actions Related to DC Ties and to Correct Design Flaws [Rainbow] - NPRR931, As Built Hub Average Calculation [ERCOT] - NPRR932, Addition of Load to Existing Load Zone [ERCOT] - NPRR935, Post All Wind and Solar Forecasts [ ERCOT] - NPRR939, Modification to Load Resources Providing RRS to Maintain Minimum PRC on Generators During Scarcity Conditions [ERCOT] - NPRR940, Removal of Language Related to NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events [ERCOT] - NPRR942, Clarification of Revised Transaction Limit Posting [ERCOT] - NPRR943, Holiday Schedule Update [ERCOT] - NPRR944, As Built Day-Ahead Market Energy Bid Curve Submission Validation [ERCOT] - NPRR948, Instrument Transformer Testing Schedule and Removal of Reference to Fiber-Optic Current Transformers [ERCOT] - NPRR949, January 1, 2023 Changes to EPS Meter Communications Path [ERCOT] - SCR801, 867_03 Final(s) Global Process ID Correction Request for IDR ESI ID(s) Posted to the 867 Activity Report [Joint TDSPs] - SCR802, Enhance Communications of System Inertia [NRG]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR823, Amend the Definition of an Affiliate [Dynegy] Proposed Effective Date: September 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR amends the definition of an Affiliate to reflect the exemption contained in the Public Utility Regulatory Act (PURA), TEX. UTIL. CODE ANN. § 11.0042 (Vernon 1998 & Supp. 2007). PRS Decision: On 5/9/19, PRS unanimously voted to recommend approval of NPRR823 as amended by the 5/3/19 ERCOT comments. On 6/13/19, PRS unanimously voted to endorse and forward to TAC the 5/9/19 PRS Report and Impact Analysis for NPRR823. - NPRR904, Revisions to Real-Time On-Line Reliability Deployment Price Adder for ERCOT-Directed Actions Related to DC Ties and to Correct Design Flaws [Rainbow] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2720 ERCOT Impact Analysis: Between $200k and $300k; no impacts to ERCOT staffing; impacts to Market Management System (MMS), Energy Management System (EMS), BI & Data Analytics, Data and Information Products (DAIP); no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR revises the categories of ERCOT-directed actions that trigger the Real-Time On-Line Reliability Deployment Price Adder (RTRDPA) pricing run to include Direct Current Tie (DC Tie) related actions in order for prices to reflect current system conditions and corrects identified flaws with current RTRDPA design. PRS Decision: On 5/9/19, PRS voted to recommend approval of NPRR904 as amended by the 5/8/19 REMC comments. There was one abstention from the Consumer (Occidental) Market Segment. On 6/13/19, PRS voted to endorse and forward to TAC the 5/9/19 PRS Report and Impact Analysis for NPRR904 with a recommended priority of 2019 and rank of 2720. There were three abstentions from the Consumer (Occidental), Cooperative (LCRA), and Municipal (DME) Market Segments. - NPRR931, As Built Hub Average Calculation [ERCOT] Proposed Effective Date: September 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies the ERCOT Hub Average 345 kV Hub (ERCOT 345) price calculation to reflect the existing use of aggregated Shift Factors, as opposed to direct simple averaging of the component Hubs’ prices. PRS Decision: On 5/9/19, PRS unanimously voted to recommend approval of NPRR931 as submitted. On 6/13/19, PRS unanimously voted to endorse and forward to TAC the 5/9/19 PRS Report and Impact Analysis for NPRR931. - NPRR932, Addition of Load to Existing Load Zone [ERCOT] Proposed Effective Date: September 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies that the addition of Load that is new to the ERCOT System to an existing Load Zone (including Load from a non-ERCOT Control Area) does not require ERCOT Board approval and can take effect immediately. PRS Decision: On 5/9/19, PRS unanimously voted to recommend approval of NPRR932 as submitted. On 6/13/19, PRS unanimously voted to endorse and forward to TAC the 5/9/19 PRS Report and Impact Analysis for NPRR932. - NPRR935, Post All Wind and Solar Forecasts [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2730 ERCOT Impact Analysis: Between $50k and $70k; no impacts to ERCOT staffing; impacts to DAIP, EMS, External Public, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires ERCOT to post Hourly Short-Term Wind Power Forecast (STWPF), Short-Term PhotoVoltaic Power Forecast (STPPF), Wind-powered Generation Resource Production Potential (WGRPP), and PhotoVoltaic Generation Resource Production Potential (PVGRPP) values from each forecast model and to include in its posting an indication of which model is being used for each of the above forecasts. This NPRR also requires ERCOT to issue a Market Notice and sponsor an NPRR to propose posting requirements for any new type of forecasts that may be developed and used in the future. PRS Decision: On 5/9/19, PRS unanimously voted to recommend approval of NPRR935 as submitted. On 6/13/19, PRS unanimously voted to endorse and forward to TAC the 5/9/19 PRS Report, as amended by the 6/10/19 ERCOT comments as revised by TAC, and Impact Analysis for NPRR935 with a recommended priority of 2019 and rank of 2730. - NPRR939, Modification to Load Resources Providing RRS to Maintain Minimum PRC on Generators During Scarcity Conditions [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2770 ERCOT Impact Analysis: Between $70k and $100k; no impacts to ERCOT staffing; impacts to MMS, DAIP, and Integration; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR changes the current practice of ERCOT dividing Load Resources other than Controllable Load Resources providing Responsive Reserve (RRS) into two groups. Instead, ERCOT would create groups of 500 MW each. PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR939 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR939 with a recommended priority of 2019 and rank of 2770. - NPRR940, Removal of Language Related to NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events [ERCOT] Proposed Effective Date: September 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes NPRR664 grey-boxed language from the Protocols. PRS Decision: On 6/13/19, PRS voted to recommend approval of NPRR940 as submitted. There were two abstentions from the Independent Generator (Invenergy, Luminant) Market Segment. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR940. - NPRR942, Clarification of Revised Transaction Limit Posting [ERCOT] Proposed Effective Date: September 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the timing of the posting of the final allocated transaction limit for the Congestion Revenue Right (CRR) Auction (often called colloquially the “second round limit”) by removing a sentence in paragraph (2)(a) of Section 7.5.2, CRR Auction Offers and Bids, leaving paragraph (2)(e) of Section 7.5.2 as the remaining requirement of this posting. PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR942 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR942. - NPRR943, Holiday Schedule Update [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Registration and Transaction Processing (REG); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds Martin Luther King, Jr. Day to the list of ERCOT-observed holidays under the definition of Business Day. PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR943 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR943. - NPRR944, As Built Day-Ahead Market Energy Bid Curve Submission Validation [ERCOT] Proposed Effective Date: September 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR updates existing Day-Ahead Market (DAM) energy bid curve criteria language to align with current implementation. Energy bids currently read “monotonically decreasing energy bid curve for both price (in $/MWh) and quantity (in MW)”, but current validation enforces “monotonically decreasing” for price (in $/MWh) and “monotonically increasing” for quantity (in MW). PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR944 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR944. - NPRR948, Instrument Transformer Testing Schedule and Removal of Reference to Fiber-Optic Current Transformers [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to EPS Meter Data Management (EPS); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR incorporates changes in the American National Standards Institute (ANSI) Standards, increases the test schedule for Coupling Capacitor Voltage Transformers (CCVTs) tested in the last quarter of a year, and removes references to fiber-optic current transformers. PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR948 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR948. - NPRR949, January 1, 2023 Changes to EPS Meter Communications Path [ERCOT] Proposed Effective Date: January 1, 2023 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the use of standard voice telephone circuits as a defined option for ERCOT to retrieve ERCOT-Polled Settlement (EPS) Meter data effective January 1, 2023. PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR949 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR949 with a recommended effective date of January 1, 2023. - SCR801, 867_03 Final(s) Global Process ID Correction Request for IDR ESI ID(s) Posted to the 867 Activity Report [Joint TDSPs] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to S&B; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This SCR corrects the Global Process ID for Texas Standard Electronic Transaction (Texas SET) 867_03F (Final) Interval Data Recorder (IDR) Electric Service Identifier (ESI ID) transactions to match the same process currently in place for Texas SET 867_03F (Final) non-IDR transactions. PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of SCR801 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for SCR801. - SCR802, Enhance Communications of System Inertia [NRG] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2810 ERCOT Impact Analysis: Between $20k and $40k; no impacts to ERCOT staffing; impacts to DAIP and EMS; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This SCR modifies the existing “Real-Time System Conditions” display accessible on the ERCOT website to display the Real-Time system inertia value. PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of SCR802 as amended by the 5/22/19 ERCOT comments. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for SCR802 with a recommended priority of 2020 and rank of 2810. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the August 15, 2019 PRS Meeting - NPRR936, CRR Account Holder Limits [Engie NA] - NPRR951, Active and Inactive SCED Constraint Reporting [DC Energy] - NPRR952, Use of Katy Hub for the Fuel Index Price [ERCOT] - NPRR954, Allow Opt Out of 867 EPS Data [ERCOT] - SCR803, Enhance Wind Integration Report and Create Solar Integration Report and Solar Dashboard [Reliant] - SCR804, ERCOT GridGeo Access for Transmission Operators [Oncor and AEP] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR902, ERCOT Critical Energy Infrastructure Information [ERCOT] - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] - NPRR918, Validation Clarification for PTP Obligations with Links to an Option [ERCOT] - NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks [Formosa] - NPRR928, Cybersecurity Incident Notification [ERCOT] - NPRR930, Weekly RUC Modifications for Forecasted Emergency Conditions – URGENT [Citigroup] - NPRR933, Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities [ERCOT] - NRRR934, Advance Action Notice (AAN) and Clarify Process for Resource Outage Approval Withdrawal [ERCOT] - NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment [GSEC] - NPRR938, Distribution Voltage Level Block Load Transfer (BLT) Compensation [GSEC] - NPRR941, Create a Lower Rio Grande Valley Hub [DC Energy] - NPRR945, Net Metering Requirements [TIEC] - NPRR946, Allow TDSPs to Use 814_28, Complete Un-executable Transactions for 814_03 Switch Transactions Involved In A Mass Transition Event [TX SET] - NPRR947, Clarification to Ancillary Service Supply Responsibility Definition and Improvements to Determining and Charging for Ancillary Service Failed Quantities [ERCOT] - NPRR950, Switchable Generation Resources Providing Black Start Service [ERCOT] - NPRR953, Addition of Relay Loadability Rating Definition [ERCOT] - NPRR955, Define Limited Impact Remedial Action Scheme (RAS) [ERCOT] - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - SCR800, Addition of DC Tie Ramp to GTBD Calculation [ERCOT] New Revision Requests Scheduled for Consideration at the August 15, 2019 PRS Meeting - NPRR957, RTF-4 Create Definition and Terms for Energy Storage [Boston Energy Trading and Marketing] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr