## Slide 1
Item 5: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
July 24, 2019

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR823, Amend the Definition of an Affiliate [Dynegy]*
NPRR931, As Built Hub Average Calculation [ERCOT]*
NPRR932, Addition of Load to Existing Load Zone [ERCOT]*
NPRR940, Removal of Language Related to NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events [ERCOT]*
NPRR942, Clarification of Revised Transaction Limit Posting [ERCOT]*
NPRR944, As Built Day-Ahead Market Energy Bid Curve Submission Validation [ERCOT]*
NPRR949, January 1, 2023 Changes to EPS Meter Communications Path [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR904, Revisions to Real-Time On-Line Reliability Deployment Price Adder for ERCOT-Directed Actions Related to DC Ties and to Correct Design Flaws [Rainbow]
  IA: Between $200k and $300k Priority 2019; Rank 2720
NPRR935, Post All Wind and Solar Forecasts [ERCOT]
  IA: Between $50k and $70k Priority 2019; Rank 2730
NPRR939, Modification to Load Resources Providing RRS to Maintain Minimum PRC on Generators During Scarcity Conditions [ERCOT]
  IA: Between $70k and $100k Priority 2019; Rank 2770

## Slide 4: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR943, Holiday Schedule Update [ERCOT]
  IA: Less than $5k O&M Priority n/a; Rank n/a
NPRR948, Instrument Transformer Testing Schedule and Removal of Reference to Fiber-Optic Current Transformers [ERCOT]
  IA: Less than $5k O&M Priority n/a; Rank n/a
SCR801, 867_03 Final(s) Global Process ID Correction Request for IDR ESI ID(s) Posted to the 867 Activity Report [Joint TDSPs]
  IA: Less than $5k O&M Priority n/a; Rank n/a
SCR802, Enhance Communications of System Inertia [NRG]
  IA: Between $20k and $40k Priority 2020; Rank 2810

## Slide 5: Appendix

## Slide 6: NPRR823, Amend the Definition of an Affiliate [Dynegy]
Proposed Effective Date: September 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR amends the definition of an Affiliate to reflect the exemption contained in the Public Utility Regulatory Act (PURA), TEX. UTIL. CODE ANN. § 11.0042 (Vernon 1998 & Supp. 2007).
PRS Decision: On 5/9/19, PRS unanimously voted to recommend approval of NPRR823 as amended by the 5/3/19 ERCOT comments. On 6/13/19, PRS unanimously voted to endorse and forward to TAC the 5/9/19 PRS Report and Impact Analysis for NPRR823.

## Slide 7: NPRR904, Revisions to Real-Time On-Line Reliability Deployment Price Adder for ERCOT-Directed Actions Related to DC Ties and to Correct Design Flaws [Rainbow]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2720
ERCOT Impact Analysis: Between $200k and $300k; no impacts to ERCOT staffing; impacts to Market Management System (MMS), Energy Management System (EMS), BI & Data Analytics, Data and Information Products (DAIP); no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR revises the categories of ERCOT-directed actions that trigger the Real-Time On-Line Reliability Deployment Price Adder (RTRDPA) pricing run to include Direct Current Tie (DC Tie) related actions in order for prices to reflect current system conditions and corrects identified flaws with current RTRDPA design.
PRS Decision: On 5/9/19, PRS voted to recommend approval of NPRR904 as amended by the 5/8/19 REMC comments. There was one abstention from the Consumer (Occidental) Market Segment. On 6/13/19, PRS voted to endorse and forward to TAC the 5/9/19 PRS Report and Impact Analysis for NPRR904 with a recommended priority of 2019 and rank of 2720. There were three abstentions from the Consumer (Occidental), Cooperative (LCRA), and Municipal (DME) Market Segments.

## Slide 8: NPRR931, As Built Hub Average Calculation [ERCOT]
Proposed Effective Date: September 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR modifies the ERCOT Hub Average 345 kV Hub (ERCOT 345) price calculation to reflect the existing use of aggregated Shift Factors, as opposed to direct simple averaging of the component Hubs’ prices.
PRS Decision: On 5/9/19, PRS unanimously voted to recommend approval of NPRR931 as submitted. On 6/13/19, PRS unanimously voted to endorse and forward to TAC the 5/9/19 PRS Report and Impact Analysis for NPRR931.

## Slide 9: NPRR932, Addition of Load to Existing Load Zone [ERCOT]
Proposed Effective Date: September 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR clarifies that the addition of Load that is new to the ERCOT System to an existing Load Zone (including Load from a non-ERCOT Control Area) does not require ERCOT Board approval and can take effect immediately.
PRS Decision: On 5/9/19, PRS unanimously voted to recommend approval of NPRR932 as submitted. On 6/13/19, PRS unanimously voted to endorse and forward to TAC the 5/9/19 PRS Report and Impact Analysis for NPRR932.

## Slide 10: NPRR935, Post All Wind and Solar Forecasts [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2730
ERCOT Impact Analysis: Between $50k and $70k; no impacts to ERCOT staffing; impacts to DAIP, EMS, External Public, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR requires ERCOT to post Hourly Short-Term Wind Power Forecast (STWPF), Short-Term PhotoVoltaic Power Forecast (STPPF), Wind-powered Generation Resource Production Potential (WGRPP), and PhotoVoltaic Generation Resource Production Potential (PVGRPP) values from each forecast model and to include in its posting an indication of which model is being used for each of the above forecasts. This NPRR also requires ERCOT to issue a Market Notice and sponsor an NPRR to propose posting requirements for any new type of forecasts that may be developed and used in the future.
PRS Decision: On 5/9/19, PRS unanimously voted to recommend approval of NPRR935 as submitted. On 6/13/19, PRS unanimously voted to endorse and forward to TAC the 5/9/19 PRS Report, as amended by the 6/10/19 ERCOT comments as revised by TAC, and Impact Analysis for NPRR935 with a recommended priority of 2019 and rank of 2730.

## Slide 11: NPRR939, Modification to Load Resources Providing RRS to Maintain Minimum PRC on Generators During Scarcity Conditions [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2770
ERCOT Impact Analysis: Between $70k and $100k; no impacts to ERCOT staffing; impacts to MMS, DAIP, and Integration; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR changes the current practice of ERCOT dividing Load Resources other than Controllable Load Resources providing Responsive Reserve (RRS) into two groups. Instead, ERCOT would create groups of 500 MW each.
PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR939 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR939 with a recommended priority of 2019 and rank of 2770.

## Slide 12: NPRR940, Removal of Language Related to NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events [ERCOT]
Proposed Effective Date: September 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes NPRR664 grey-boxed language from the Protocols.
PRS Decision: On 6/13/19, PRS voted to recommend approval of NPRR940 as submitted. There were two abstentions from the Independent Generator (Invenergy, Luminant) Market Segment. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR940.

## Slide 13: NPRR942, Clarification of Revised Transaction Limit Posting [ERCOT]
Proposed Effective Date: September 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR clarifies the timing of the posting of the final allocated transaction limit for the Congestion Revenue Right (CRR) Auction (often called colloquially the “second round limit”) by removing a sentence in paragraph (2)(a) of Section 7.5.2, CRR Auction Offers and Bids, leaving paragraph (2)(e) of Section 7.5.2 as the remaining requirement of this posting.
PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR942 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR942.

## Slide 14: NPRR943, Holiday Schedule Update [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Registration and Transaction Processing (REG); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR adds Martin Luther King, Jr. Day to the list of ERCOT-observed holidays under the definition of Business Day.
PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR943 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR943.

## Slide 15: NPRR944, As Built Day-Ahead Market Energy Bid Curve Submission Validation [ERCOT]
Proposed Effective Date: September 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR updates existing Day-Ahead Market (DAM) energy bid curve criteria language to align with current implementation. Energy bids currently read “monotonically decreasing energy bid curve for both price (in $/MWh) and quantity (in MW)”, but current validation enforces “monotonically decreasing” for price (in $/MWh) and “monotonically increasing” for quantity (in MW).
PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR944 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR944.

## Slide 16: NPRR948, Instrument Transformer Testing Schedule and Removal of Reference to Fiber-Optic Current Transformers [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to EPS Meter Data Management (EPS); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR incorporates changes in the American National Standards Institute (ANSI) Standards, increases the test schedule for Coupling Capacitor Voltage Transformers (CCVTs) tested in the last quarter of a year, and removes references to fiber-optic current transformers.
PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR948 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR948.

## Slide 17: NPRR949, January 1, 2023 Changes to EPS Meter Communications Path [ERCOT]
Proposed Effective Date: January 1, 2023
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes the use of standard voice telephone circuits as a defined option for ERCOT to retrieve ERCOT-Polled Settlement (EPS) Meter data effective January 1, 2023.
PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of NPRR949 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR949 with a recommended effective date of January 1, 2023.

## Slide 18: SCR801, 867_03 Final(s) Global Process ID Correction Request for IDR ESI ID(s) Posted to the 867 Activity Report [Joint TDSPs]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to S&B; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR corrects the Global Process ID for Texas Standard Electronic Transaction (Texas SET) 867_03F (Final) Interval Data Recorder (IDR) Electric Service Identifier (ESI ID) transactions to match the same process currently in place for Texas SET 867_03F (Final) non-IDR transactions.
PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of SCR801 as submitted. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for SCR801.

## Slide 19: SCR802, Enhance Communications of System Inertia [NRG]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2810
ERCOT Impact Analysis: Between $20k and $40k; no impacts to ERCOT staffing; impacts to DAIP and EMS; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This SCR modifies the existing “Real-Time System Conditions” display accessible on the ERCOT website to display the Real-Time system inertia value.
PRS Decision: On 6/13/19, PRS unanimously voted to recommend approval of SCR802 as amended by the 5/22/19 ERCOT comments. On 7/17/19, PRS unanimously voted to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for SCR802 with a recommended priority of 2020 and rank of 2810.

## Slide 20: 2019 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/5 – 2/7 | April 4/2 – 4/4 | May 5/28 – 5/30 | August 8/6 – 8/8 | October 10/15 – 10/17 | December 12/10 – 12/12
NPRR842 NPRR858 NPRR878 SCR794 PGRR057(b) OBDRR011 RMGRR156 PGRR062 NPRR916(a) | NPRR809(b) NPRR817 NPRR833(a/b) NPRR845 NPRR847 NPRR865 NPRR866 NPRR880 VCMRR021 RRGRR017 VCMRR022 NPRR877 Ph1 NPRR833(c) NPRR749 | NPRR901 NPRR910 NPRR912 NPRR916(b) NOGRR174 OBDRR010 NPRR909 NPRR519 NPRR620 NPRR741 NPRR755 NOGRR154 | NPRR873 NPRR899 NPRR925 SCR793 SCR796 SCR797 SCR798 OBDRR003 OBDRR014 NPRR821 NPRR899 | NPRR887 PGRR061 | NPRR877 Ph2 NPRR895 NPRR911 NPRR914 NPRR920 OBDRR007 SCR797 SCR781(a) RRGRR016 NPRR889 RMGRR155 RRGRR018 RRGRR019
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
NPRR809(b) – Reporting/posting system changes
NPRR833(a/b) – DAM/SCED system changes
NPRR833(c) – CRR system changes
NPRR916(a) – Mitigated Offer Floor to $0/MWh
NPRR916(b) – Mitigated Offer Floor to -$20/MWh
PGRR057(b) – List of GMD event contingencies
SCR781(a) – View / Edit capability
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
P
E
P
P
P
E
E
E
E
E
E
E
E
7/1
6/2
ü
ü
CMM Release 1b
5/1
E
E
E
E
E
E
E
ü
1/22
3/26
ü
ü
ü
ü
ü
ü
ü
TBD Items | 2014 | 2017 | 2018 | 2019
 | NPRR664 | NPRR702, NPRR829 | NPRR825(b), NPRR867, PGRR066, NPRR841 | NPRR863 Ph1, NPRR885, NPRR887, NPRR929, SCR799, PGRR070
P
E
3/1
3/5
5/6 – 5/7
Q4
Date TBD
ü
R1
R2
R3
R4
R5
R6
ü
4/10
ü
ü
6/15
ü
ü
ü
ü
ü
ü
ü
ü
ü
6/1
E
9/1