## Slide 1: RIOO-RS Update
July 30, 2019

## Slide 2: Information/Data issues
What’s been found, what may need to be updated:
  Connectivity
  Data that does not match the updated validation rules; special characters (#, $, *)
ERCOT will provide an updated RARF, Delta Report, and Audit Report to the RE.
If the RE agrees with the updated RARF, the RE should submit the RARF to ERCOT.
If the RE does not agree with the changes, the RE should schedule a call with your Client Services Account Manager.
Audit Report may show errors if GIC data has not been submitted or validation rules have been updated.
Model may show that the RE owns equipment, an “ADD” was created, please verify ownership.

## Slide 3: Most frequent changes – top 10
Seasonal Limits
Operational Parameters
Capacitor and Reactor Data
Reactive Capability
General and Site Info (Contact information)
Ownership
Breakers / Switches
Transformer Tap Settings
Lines
Gen Load Sprint - ESIID

## Slide 4: Wireframe Review

## Slide 10: Transmission.xls: Breaker_Switch Data

## Slide 11
Sample Data: Breaker_Switch Data

## Slide 14
Messaging samples

## Slide 17
120

## Slide 19
Connectivity for Breaker Switch Old