## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Julia Harvey
August 7, 2019
From July 22 WMWG Meeting

## Slide 2: NPRR947, Clarification to Ancillary Service Supply Responsibility Definition and Improvements to Determining and Charging for Ancillary Service Failed Quantities
WMWG reviewed the issues that led to this NPRR
  Real time telemetry of AS responsibility impacted by AS trades and unit issues
  Proposal reviewed to make claw back based on a monthly metric instead of by event
ERCOT presented on this issue May 1. Also ERCOT noted that settlement language needs revisions.
ERCOT action items
  Present additional metrics to clarify scope of problem
  Bring revised language for review
  Revise the QSE AS Capacity Monitor
Item not ready for WMS vote

## Slide 3: Storage Communicating Dispatch Preferences
Concepts discussed
  Real time dispatch
  Generator and CLR will merge in a new model for storage
  Grid operator controls versus QSE control based on market
  How RTC would work well for storage
  Utilizing the state of charge
  Expanding on NPRR915, Define Limited Duration Resource and Clarify Telemetered Resource Status Requirements
  Ability to update offers in or near real time
ERCOT noted there are currently no batteries larger than 10 MW
ERCOT and WMWG to discuss the concepts further at next meeting

## Slide 4: Market Restart and SCED failure
ERCOT presentation with more detail on Long SCED intervals
  ERCOT has made changes to the Emergency Base Point process since go live
  NPRR696, Price Correction Process Following a SCED Failure has corrected price issues
WMWG identified no needed changes to this process and will monitor as needed
Market return from Black Start to be reviewed in future meeting

## Slide 5: Review telemetry errors that impact ERCOT systems
ERCOT will provide an update at the WMS meeting on possible solutions
Market participants discussed the benefits and complexity of redundant telemetry requirements
Solutions will be discussed at the next WMWG meeting

## Slide 6: ERCOT Outage Capacity Reports
ERCOT presented more detail on the outaged capacity included in the various reports
ERCOT to work with stakeholders to develop NPRR language to clarify
  Exclusion of mothballed capacity in Reports
  High Sustained Limit telemetered for resources on outage status
  Inclusion of Outage Capacity in System Ancillary Service Capacity Monitor
To be reviewed at next WMWG meeting

## Slide 7: Evaluating Mitigated Offer for RUC Resources
Proposal for setting the MOC to the real cost per MWH of RUC commitment was reviewed
Draft NPRR language that reflects the discussion to be brought back for further review
To be reviewed at next WMWG meeting

## Slide 8: Next meeting
Other business – ERCOT ready to review the Locational Price Adder
  To be on the next CMWG agenda
WMWG meets July 22nd
  Mitigated Offer Caps for Reliability Unit Commitment
  Review ERCOT action items
Any questions?