## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
August 8th, 2019

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    No FMEs in the month of June
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 7/18/19
  NPRR 919 / NOGRR 184 - Exemption from Governor PFR Control for Certain Resources in PUNs
    most PDC members not in favor
  Battery Storage Operational Requirements
    PDC agrees that batteries should, as a general rule, have the same operational requirements whether charging or discharging
  Establishing generator bid/offer limits for RRS under NPRR 863 – Updated outline from ERCOT
    There was a lot of PDC feedback following the June discussion on this topic; changes were incorporated and reviewed at July PDC
  ERCOT Analysis of Inertia & Frequency Response
    Evaluated frequency event recovery time as a function of inertia, RoCoF, load dampening, and interconnection frequency response broken down by generator fuel types
  Regulation & Frequency Control Reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There were no FMEs in June

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 949.35 MW/0.1Hz
Frequency Response Obligation (FRO): 381 MW/0.1 Hz

## Slide 7: Frequency Control Report
June 2019

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15
Questions?