## Slide 1: PLWG report to ROS August 8, 2019
Report based on PLWG July 16, 2019 meeting

## Slide 2: PGRR071
PGRR071 Update Interconnection Process Timetables to Align with NPRR926
  ERCOT requested it be tabled until the next meeting.

## Slide 3: PGRR072
PGRR072 Treatment of Generation Resource Retirement and Mothball in Regional Transmission Plan and Geomagnetic Disturbance Vulnerability Assessment
  PLWG did not have changes to the proposed PGRR.
  PLWG recommends ERCOT vote to approve PGRR072.

## Slide 4: NOGRR183/NPRR955
NOGRR183 Remedial Action Scheme (RAS) Submittal and Review Requirements &
NPRR955 Define Limited Impact Remedial Action Scheme (RAS)
  ERCOT requested it be tabled to allow for additional comments
  PLWG tabled for further discussion next month

## Slide 5: DC Tie Treatment in planning studies
ERCOT discussed issues related to modeling DC Tie exports.
  Should exports be modeled as firm load
  CMWG is also discussing this issue
  PUCT may have an opinion of this topic
  ERCOT plans to develop a PGRR to address this.