## Slide 1
Improving Load Distribution Factors Update
Calvin Opheim
CMWG Meeting
August 5, 2019

## Slide 2: Objective
Explore techniques to improve the accuracy of the non-PUN LDFs
Take into account weather forecast
Shape can change on a daily basis

## Slide 3: Work Plan
Near-term (completed):
Explore using Mid-Term Load Forecast (MTLF) models for non-PUN LDFs
In progress:
Explore improving the accuracy of PUN LDFs

## Slide 4: Model
Model form
Use neural network model with 3 sigmoid nodes and 1 hidden layer
Why use a neural network?
Provides faster results than other techniques
Don’t have the staff to build 6,000+ models on a one-by-one basis
Hoping to find a single model that improves the current forecast by at least 20%

## Slide 5: Model
Model variables
Dry Bulb Temperature
Month
Day of Week
Hour Ending
Actual Load from 48 hours before

## Slide 6: Load Values
Chart: MW

## Slide 7: Load Values
Chart: MW

## Slide 8: Results
Chart: Absolute Error
| COAST | EAST | FWEST | NCENT | NORTH | SCENT | SOUTH | WEST | TOTAL
New LDFs | 3210382.9479 | 457998.4947 | 476104.7327 | 2923564.2516 | 224008.8231 | 1366190.955 | 878835.6961 | 348495.0882 | 9885580.9893
Current LDFs | 10511483.9065 | 973181.655 | 960012.9065 | 6316190.4127 | 494277.698 | 2826888.5504 | 2397341.3314 | 671931.3388 | 25151307.7993

## Slide 9: Summary
Neural network models are better 70% of the time
Mean Absolute Error is showing the potential to reduced by 60%

## Slide 10: Next Steps
Determining the optimum use of error correction for each location
Creating daily monitoring processes and procedures
Evaluating model updates to improve accuracy (4 CP, other variables, etc)
Providing the new LDFs to the Market Operations team for their evaluation as compared to the current LDFs
Need to develop a process which will pass the new LDFs into the EMS system

## Slide 11: Questions?