## Slide 1
Inverter-Based Resource Workshop
Follow Up Update
Jeff Billo, Shun Hsien (Fred) Huang
Transmission Planning
ROS
August 8, 2019

## Slide 2: Inverter-Based Resource Workshop Follow Up Status Dashboard
Issues | Status (Tentative Schedule) | Workgroups | Target Dates
Better Communication of Existing Requirements | Develop a reference document to facilitate the understanding of the existing requirements, procedures, and practices. (Q4, 2019) Consider a NPRR on IBR definition. (Q4, 2019) | Resource Integration Workshop (RIW) Resource Definition Task Force (RTF) | 8/29/2019 No scheduled activity
Nuisance Tripping and Artificially Limiting Plant Capability | Continue discussion on this topic. |  | No scheduled activity
Voltage Ride Through and Momentary Cessation | Consider a NOGRR to clarify VRT and momentary cessation (Q3, 2019) Consider a NOGRR to add transient overvoltage ride through requirement (Q3, 2019) Identify the need of more detailed FIS stability analysis (i.e. EMT study) (Q3, 2019) | Dynamics Working Group (DWG) DWG DWG, RIW | DWG (8/27/2019)
Dynamic Models | Consider a PGRR to improve dynamic model quality (Q3, 2019) To strengthen the model validation requirements (Q4, 2019) | DWG, RIW DWG, RIW | RIW (6/20/2019, 7/30/2019) DWG (8/27/2019)
Battery Energy Storage Operational Requirements | Develop requirements for battery energy storage (Q1, 2020) | ROS, RIW | Q1 2020
Advanced Features and Others | Continue discussion on this topic. Zero MW reactive support (a study to demonstrate the benefit, Delaware Basin) |  | No scheduled activity

## Slide 3: Update 1: Develop a reference to facilitate the existing requirements, procedures, and practices
Applicable to transmission connected IBRs
Preliminary list of subjects to be covered
  Voltage and Frequency Ride Through and Relay Settings
  Momentary Cessation
  Plant reactive power control (droop/deadband, dynamic and static)
  Ramp rate limitations
  Actual reactive power capability
ERCOT is considering including this information in the Resource Integration Handbook

## Slide 4: Update 2: Battery Energy Storage Operational Requirements
Battery Energy Storage is capable of providing voltage and frequency support, and voltage and frequency ride through, at either discharging or charging mode
Preliminary list of requirements to be reviewed in the Protocol and Guides
  Voltage support and coordination
  Reactive and AVR Testing
  Voltage ride through
  Frequency ride through
  Frequency support
  Frequency Response Testing
  Ramp Rate Limitations
  Dynamic performance and model submittal
  Measurement and monitoring
  AS performance and testing requirement
  Power system stabilizers
  Telemetry
ERCOT is drafting revision requests; target posting is Q1 2020

## Slide 5: Questions
Comments are welcome
  Shun Hsien (Fred) Huang
  shuang@ercot.com