## Slide 1
Review of Commercial Impacts of DC Tie Curtailments in May and June 2019
CMWG
August 05, 2019
Market Analysis

## Slide 2: DC Tie Tag Curtailments – May 2019
Date | DC Tie | Curtailing Period | # of Tags Curtailed | Initiating Event | Curtailment Reason
05/06/2019 | DC-S | HE04-14 | 4 | DC tie trip | Planned or unplanned outage
05/07/2019 | DC-R | HE13-15 | 1 | SPOLPHA8, loss of Polk Ave - North Pharr 138 kV overloads North McAllen - West McAllen 138 kV | Local Congestion
05/14/2019 | DC-L | HE23-24 | 1 | DC-L Tie de-rated from 100MW to 90MW | DC-L Tie de-rated from 100MW to 90MW

## Slide 3: 5/7/2019 Curtailment of DC-R
Chart: DC Tie Export (MW)

## Slide 4: 5/7/2019 LMPs Related to DC-R Curtailment
Chart: Price ($/MWh)

## Slide 5: DC Tie Tag Curtailments – June 2019
Date | DC Tie | Curtailing Period | # of Tags Curtailed | Initiating Event | Curtailment Reason
06/19/2019 | DC-S | HE20-21 | 5 | SBEVSHA8, loss of the Bevo to Asherton 138 kV loads the Bigwells to Brundage Sub 69 kV | Local congestion
06/27/2019 | DC-S | HE18-24 | 1 | DC tie trip | Unplanned outage

## Slide 6: 6/19/2019 Curtailment of DC-S
Chart: DC Tie Export (MW)

## Slide 7: 6/19/2019 LMPs Related to DC-S Curtailment
Chart: Price ($/MWh)