## Slide 1
DC Tie Curtailment Statistics
CMWG
August 5, 2019
Market Analysis

## Slide 2: Introduction
At the last CMWG meeting, a request was made for a summary of DC tie curtailment statistics from the ROS reports
ROS reports have included DC tie curtailment data since August 1, 2017

## Slide 3: Statistics for August 1, 2017 through June 30, 2019
DC Tie | Total Exports (MWh) | Curtailments |  |  | 
 |  | For Other Reasons |  | Due to Local Congestion | 
 |  | MWh | % of Total Exports | MWh | % of Total Exports
Laredo | 848,717 | 7,191 | 0.85% | 10 | 0.00%
Railroad | 1,486,588 | 4,984 | 0.34% | 1,809 | 0.12%
South | 211,525 | 2,734 | 1.29% | 78 | 0.04%
Total | 2,546,830 | 14,909 | 0.59% | 1,897 | 0.07%
Time period is 699 days.
Total Exports is actual physical MWh exported.

## Slide 4: Additional Statistics for August 1, 2017 through June 30, 2019
DC Tie | Curtailments due to Local Congestion |  | 
 | # Days with Curtailments | Total # Tags Curtailed | Unique Contingency-Constraint Pairs
Laredo | 1 | 1 | 1
Railroad | 13 | 30 | 5
South | 3 | 9 | 3