## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for July 2019

## Slide 2: Non-IRR GREDP < 85% – July 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 320 | 8 | 10 | 0.76 | 80.00

## Slide 3: IRR Summary – July 2019
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.98 | 60.75 | 85.30
GREDP Median (%) | 100.00 | 72.12 | 89.31
Average MW Error | 3.20 | 3.77 | 4.28
Median MW Error | 2.99 | 3.68 | 4.30
Total Intervals Scored | 7,707 | 1,834 | 1,399
100+ Intervals Scored | 18 | 186 | 5
Total Intervals Scored Average | 37.78 | 70.54 | 279.80

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,139 | 1,139 | 3.41 | 100.00
Unit 2 | 968 | 991 | 7.90 | 97.68
Unit 7 | 613 | 619 | 2.73 | 99.03
Unit 10 | 423 | 425 | 4.05 | 99.53
Unit 11 | 416 | 418 | 3.02 | 99.52
Unit 12 | 375 | 376 | 2.96 | 99.73
Unit 14 | 294 | 309 | 5.05 | 95.14
Unit 15 | 257 | 266 | 2.53 | 96.62
Unit 16 | 175 | 182 | 1.75 | 96.15
Unit 18 | 146 | 151 | 2.49 | 96.69
Unit 19 | 142 | 149 | 2.12 | 95.30
Unit 20 | 130 | 132 | 3.48 | 98.48
Unit 23 | 114 | 119 | 2.21 | 95.80

## Slide 5: IRR < 95%, ≥ 100 Scored Intervals – July 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 457 | 639 | 4.30 | 71.52
Unit 13 | 301 | 328 | 3.62 | 91.77
Unit 17 | 170 | 181 | 5.45 | 93.92
Unit 21 | 117 | 131 | 3.51 | 89.31
Unit 22 | 96 | 120 | 4.53 | 80.00