| NPRR Number | 931 | NPRR Title | As Built Hub Average Calculation |
| --- | --- | --- | --- |
| Date of Decision |  | August 13, 2019 |  |
| Action |  | Approved |  |
| Timeline |  | Normal |  |
| Effective Date |  | September 1, 2019 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 3.5.2.6, ERCOT Hub Average 345 kV Hub (ERCOT 345) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) modifies the ERCOT Hub Average 345 kV Hub (ERCOT 345) price calculation to reflect the existing use of aggregated Shift Factors, as opposed to direct simple averaging of the component Hubs’ prices. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | ERCOT’s existing system implementation for calculating the ERCOT 345 Hub price in the Day-Ahead Market (DAM)—which uses aggregated Shift Factors—is the most appropriate methodology for calculating the Hub price because it is consistent with the way the DAM award quantities are determined. Due to necessary Shift Factor cutoffs used during DAM clearing, there can in some cases be a few cents’ difference between a Hub price calculated using aggregated Shift Factors and a Hub price calculated using a simple average of individual Hub prices. This NPRR provides transparency to stakeholders by aligning Protocol language with existing ERCOT systems. Since the Real-Time Market (RTM) does not Dispatch at the ERCOT 345 Hub, the Real-Time Settlement Point Prices will remain as the simple average of four Hub Settlement Point Prices. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR931 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 5/9/19, PRS unanimously voted to recommend approval of NPRR931 as submitted. All Market Segments were present for the vote. On 6/13/19, PRS unanimously voted to endorse and forward to TAC the 5/9/19 PRS Report and Impact Analysis for NPRR931. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 5/9/19, there was no discussion. On 6/13/19, there was no discussion. |  |
| TAC Decision |  | On 7/24/19, TAC unanimously voted to recommend approval of NPRR931 as recommended by PRS in the 6/13/19 PRS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 7/24/19, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR931. |  |
| Board Decision |  | On 8/13/19, the ERCOT Board approved NPRR931 as recommended by TAC in the 7/24/19 TAC Report. |  |

| Sponsor |  |
| --- | --- |
| Name | Carrie Bivens |
| E-mail Address | carrie.bivens@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6678 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

Please note NPRR941, Create a Lower Rio Grande Valley Hub, also proposes revisions to the Section 3.5.2.6.

Proposed Protocol Language Revision

- 3.5.2.6	ERCOT Hub Average 345 kV Hub (ERCOT 345)

(1)	The ERCOT Hub Average 345 kV Hub price for Day-Ahead is calculated for each hour using the aggregated Shift Factors of four Hubs: the North 345 kV Hub, the South 345 kV Hub, the Houston 345 kV Hub, and the West 345 kV Hub.  The ERCOT Hub Average 345 kV Hub price for Real-Time is the simple average of four prices from the applicable time period: the North 345 kV Hub price, the South 345 kV Hub price, the Houston 345 kV Hub price, and the West 345 kV Hub price.  The Panhandle 345 kV Hub is not included in either the Day-Ahead or Real-Time ERCOT Hub Average 345 kV Hub price.

(2)	The Day-Ahead Settlement Point Price for the Hub “ERCOT 345” for a given Operating Hour is calculated as follows:

DASPP ERCOT345	=	DASL – (DAHUBSF ERCOT345, c * DASP c),

if HBBC ERCOT345Bus≠0

DASPP ERCOT345	=	DASPP ERCOT345Bus, if HBBC ERCOT345Bus=0

Where:

DAHUBSF ERCOT345, c   = (DAHUBSF North345, c + DAHUBSF South345, c +

DAHUBSF Houston345, c + DAHUBSF West345, c) / 4

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| DASPP ERCOT345 | $/MWh | Day-Ahead Settlement Point Price at ERCOT 345The DAM Settlement Point Price at ERCOT 345 Hub for the hour. |
| DASL | $/MWh | Day-Ahead System LambdaThe DAM Shadow Price for the system power balance constraint for the hour. |
| DASP c | $/MWh | Day-Ahead Shadow Price for a binding transmission constraintThe DAM Shadow Price for the constraint c for the hour. |
| DAHUBSF ERCOT345,c | none | Day-Ahead Shift Factor of ERCOT 345 The DAM aggregated Shift Factor of ERCOT 345 Hub for the constraint c for the hour. |
| DAHUBSF North345,c | none | Day-Ahead Shift Factor of North 345The DAM aggregated Shift Factor of the North 345 Hub for the constraint c for the hour. |
| DAHUBSF South345,c | none | Day-Ahead Shift Factor of South 345The DAM aggregated Shift Factor of the South 345 Hub for the constraint c for the hour. |
| DAHUBSF Houston345,c | none | Day-Ahead Shift Factor of Houston 345The DAM aggregated Shift Factor of the Houston 345 Hub for the constraint c for the hour. |
| DAHUBSF West345,c | none | Day-Ahead Shift Factor of West 345The DAM aggregated Shift Factor of the West 345 Hub for the constraint c for the hour. |
| HBBC ERCOT345Bus | none | The total number of Hub Buses in the ERCOT Bus Average 345 kV Hub (ERCOT 345 Bus) with at least one energized component in each Hub Bus in base case. The Hub “ERCOT 345 Bus” includes any Hub Bus defined in the Hub “North 345”, “South 345”, “Houston 345” and “West 345”. |
| c | none | A DAM binding transmission constraint for the hour caused by either base case or a contingency. |

The above variables are defined as follows:

(3)	The Real-Time Settlement Point Price for the Hub “ERCOT 345” for a given 15-minute Settlement Interval is calculated as follows:

RTSPP ERCOT345	=	(RTSPP North345 + RTSPP South345 + RTSPP Houston345 + RTSPP West345) / 4

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| RTSPP ERCOT345 | $/MWh | Real-Time Settlement Point Price at ERCOT 345The Real-Time Settlement Point Price at ERCOT 345 Hub for the 15-minute Settlement Interval. |
| RTSPP North345 | $/MWh | Real-Time Settlement Point Price at North 345The Real-Time Settlement Point Price at the North 345 Hub for the 15-minute Settlement Interval. |
| RTSPP South345 | $/MWh | Real-Time Settlement Point Price at South 345The Real-Time Settlement Point Price at the South 345 Hub for the 15-minute Settlement Interval. |
| RTSPP Houston345 | $/MWh | Real-Time Settlement Point Price at Houston 345The Real-Time Settlement Point Price at the Houston 345 Hub for the 15-minute Settlement Interval. |
| RTSPP West345 | $/MWh | Real-Time Settlement Point Price at West 345The Real-Time Settlement Point Price at the West 345 Hub for the 15-minute Settlement Interval. |