## Slide 1
Reporting on Statistics for
EPS Meter Activity
Aug 21, 2019

## Slide 2: Notices issued March through May 2019
 | March | April | May
Total Notices Issued | 237 | 279 | 383
Total 6 Hours issued | 83 | 77 | 79
Total 12 Hours issued | 94 | 125 | 143
Total 5 days issued | 60 | 77 | 161
Total Notices Issued for IP | 10 | 11 | 8
Total Notices Issued for Phone Line | 227 | 268 | 375
*Indicates sorted by this column in lowest to highest order
TDSP | % OF METERS ON PHONE LINE | %OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR MARCH | %OF TOTAL NOTICES ISSUED FOR APRIL | %OF TOTAL NOTICES ISSUED FOR MAY *
TDSP A | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP B | 0% | 100% | 0.00% | 0.36% | 0.00%
TDSP F | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP J | 100% | 0% | 0.84% | 0.00% | 0.00%
TDSP K | 73% | 27% | 0.00% | 2.15% | 0.00%
TDSP S | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP T | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP V | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP C | 0% | 100% | 0.00% | 0.00% | 0.26%
TDSP G | 0% | 100% | 0.42% | 0.00% | 0.26%
TDSP O | 0% | 100% | 0.00% | 0.00% | 0.52%
TDSP I | 61% | 39% | 4.64% | 1.08% | 1.31%
TDSP D | 53% | 47% | 0.00% | 0.00% | 1.57%
TDSP L | 100% | 0% | 0.00% | 0.00% | 2.87%
TDSP M | 100% | 0% | 3.80% | 4.30% | 3.92%
TDSP Q | 100% | 0% | 2.53% | 5.73% | 4.44%
TDSP H | 100% | 0% | 8.44% | 4.66% | 5.22%
TDSP R | 88% | 12% | 21.10% | 8.24% | 8.88%
TDSP N | 75% | 25% | 4.22% | 17.20% | 15.40%
TDSP P | 76% | 24% | 21.10% | 42.29% | 25.85%
TDSP E | 100% | 0% | 32.91% | 13.98% | 29.24%

## Slide 3: Notices issued June through July 2019
 | June | July
Total Notices Issued | 314 | 399
Total 6 Hours issued | 69 | 72
Total 12 Hours issued | 97 | 149
Total 5 days issued | 148 | 178
Total Notices Issued for IP | 21 | 10
Total Notices Issued for Phone Line | 293 | 389
*Indicates sorted by this column in lowest to highest order
TDSP | % OF METERS ON PHONE LINE | %OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR JUNE | %OF TOTAL NOTICES ISSUED FOR JULY *
TDSP A | 0% | 100% | 0.00% | 0.00%
TDSP B | 0% | 100% | 0.00% | 0.00%
TDSP C | 0% | 100% | 0.00% | 0.00%
TDSP F | 0% | 100% | 0.00% | 0.00%
TDSP J | 100% | 0% | 0.00% | 0.00%
TDSP L | 100% | 0% | 1.91% | 0.00%
TDSP O | 0% | 100% | 0.32% | 0.00%
TDSP S | 100% | 0% | 0.00% | 0.00%
TDSP T | 0% | 100% | 0.00% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00%
TDSP V | 0% | 100% | 0.00% | 0.00%
TDSP D | 47% | 53% | 2.23% | 0.25%
TDSP I | 53% | 47% | 0.64% | 1.00%
TDSP M | 100% | 0% | 14.97% | 2.01%
TDSP R | 85% | 15% | 5.41% | 3.26%
TDSP K | 64% | 36% | 0.00% | 4.26%
TDSP H | 100% | 0% | 7.01% | 4.76%
TDSP N | 59% | 41% | 3.50% | 5.26%
TDSP P | 67% | 33% | 48.73% | 20.30%
TDSP Q | 96% | 8% | 4.78% | 21.55%
TDSP E | 100% | 0% | 10.51% | 37.34%

## Slide 4: 2019 Year to Date Notices – Total and Overdue
Overdue timeframes:
6-hour = Open over 12 hours
12-hour = Open over 48 hours
5-day = Open over 10 days
 |  | Issued | Overdue | % Overdue
January | 6-hour | 44 | 37 | 84.09%
 | 12-hour | 149 | 76 | 51.01%
 | 5-day | 93 | 16 | 17.20%
 | Total | 286 | 129 | 45.10%
February | 6-hour | 40 | 27 | 67.50%
 | 12-hour | 86 | 15 | 17.44%
 | 5-day | 42 | 5 | 11.90%
 | Total | 168 | 47 | 27.98%
March | 6-hour | 83 | 56 | 67.47%
 | 12-hour | 94 | 31 | 32.98%
 | 5-day | 60 | 3 | 5.00%
 | Total | 237 | 90 | 37.97%
April | 6-hour | 77 | 68 | 88.31%
 | 12-hour | 125 | 45 | 36.00%
 | 5-day | 77 | 2 | 2.60%
 | Total | 279 | 115 | 41.22%
May | 6-hour | 79 | 48 | 60.76%
 | 12-hour | 143 | 33 | 23.08%
 | 5-day | 161 | 22 | 13.66%
 | Total | 383 | 103 | 26.89%
June | 6-hour | 69 | 58 | 84.06%
 | 12-hour | 97 | 40 | 41.24%
 | 5-day | 148 | 18 | 12.16%
 | Total | 314 | 116 | 36.94%
July | 6-hour | 72 | 62 | 86.11%
 | 12-hour | 149 | 30 | 20.13%
 | 5-day | 178 | 19 | 10.67%
 | Total | 399 | 111 | 27.82%
 |  | Issued | Overdue | % Overdue
2019 Totals | 6-hour | 464 | 356 | 76.72%
 | 12-hour | 843 | 270 | 32.03%
 | 5-day | 759 | 85 | 11.20%
 | Total | 2066 | 711 | 34.41%
Chart: 
| 6-hour | 12-hour | 5-day | Total | 6-hour | 12-hour | 5-day | Total | 2018 Monthly Average | 2019 Monthly Average
Issued | 77 | 140 | 130 | 346 | 66.2857 | 120.4286 | 108.4286 | 295.1429
Overdue | 57 | 46 | 9 | 112 | 50.8571 | 38.5714 | 12.1429 | 101.5714

## Slide 5: Notices issued July 2019
*Indicates sorted by this column in lowest to highest order
TDSP | % OF TOTAL NOTICES ISSUED FOR JULY* | # OF NOTICES ISSUED FOR JULY | # OF NOTICES CANCELED WITHIN NOTICE TIMEFRAME | # OF NOTICES ISSUED 2 OR 3 TIMES | # OF NOTICES ISSUED 4 OR MORE TIMES
TDSP A | 0.00% | 0 | 0 | 0 | 0
TDSP B | 0.00% | 0 | 0 | 0 | 0
TDSP C | 0.00% | 0 | 0 | 0 | 0
TDSP F | 0.00% | 0 | 0 | 0 | 0
TDSP J | 0.00% | 0 | 0 | 0 | 0
TDSP L | 0.00% | 0 | 0 | 0 | 0
TDSP O | 0.00% | 0 | 0 | 0 | 0
TDSP S | 0.00% | 0 | 0 | 0 | 0
TDSP T | 0.00% | 0 | 0 | 0 | 0
TDSP U | 0.00% | 0 | 0 | 0 | 0
TDSP V | 0.00% | 0 | 0 | 0 | 0
TDSP D | 0.25% | 1 | 1 | 0 | 0
TDSP I | 1.00% | 4 | 1 | 1 | 0
TDSP M | 2.01% | 8 | 8 | 0 | 0
TDSP R | 3.26% | 13 | 13 | 0 | 0
TDSP K | 4.26% | 17 | 1 | 8 | 0
TDSP H | 4.76% | 19 | 3 | 1 | 2
TDSP N | 5.26% | 21 | 8 | 0 | 2
TDSP P | 20.30% | 81 | 63 | 1 | 1
TDSP Q | 21.55% | 86 | 79 | 3 | 0
TDSP E | 37.34% | 149 | 100 | 9 | 1
Total |  | 399 | 277 | 23 | 6

## Slide 6: Temporary Exemptions Received 2015 through 2019
Count of Average Exemption Duration from problem identified through resolution (months) (Does not include exemptions for delayed cutovers) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 2015-2017 Average |  |  |  |  | 2018 |  |  |  |  | 2019 |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6* | 6-9 | 9-12 | >12
TDSP S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP J | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 1 | 0 | 0 | 0 | 0.7 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP C | 0.3 | 0 | 0.3 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP L | 2.3 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 4.7 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP G | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP B | 0.7 | 0.7 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP V | 5 | 0 | 0 | 0 | 0 | 47 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP O | 5 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 0
TDSP I | 5 | 0 | 0 | 0 | 0 | 5 | 0 | 3 | 1 | 25 | 1 | 0 | 0 | 0 | 0
TDSP N | 5 | 0.3 | 0 | 0 | 0.3 | 7 | 24 | 8 | 5 | 53 | 1 | 0 | 0 | 0 | 0
TDSP T | 1.3 | 0 | 0 | 0 | 0.3 | 4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
TDSP P | 12 | 3 | 0.3 | 1.3 | 0.7 | 13 | 2 | 2 | 1 | 0 | 2 | 0 | 0 | 0 | 0
TDSP F | 1 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0
TDSP R | 13 | 2 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0
TDSP M | 2.3 | 0.3 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0
TDSP H | 1.3 | 0.7 | 0 | 0 | 0 | 4 | 1 | 10 | 8 | 9 | 4 | 1 | 0 | 0 | 0
TDSP E | 12 | 7.3 | 2.3 | 0 | 0.3 | 11 | 9 | 1 | 0 | 0 | 22 | 1 | 0 | 0 | 0
TDSP D | 10.3 | 5.3 | 0 | 0 | 1.3 | 9 | 7 | 0 | 0 | 0 | 8 | 6 | 0 | 0 | 0
Totals | 84.7 | 19.7 | 3 | 1.3 | 5.7 | 176 | 55 | 24 | 17 | 87 | 64 | 8 | 0 | 0 | 0
*Indicates sorted by this column in lowest to highest order
Table indicates when a temporary exemption was received and the length of time it was open. Duration was as of 8/1/2019 therefore counts can move to the right in future tables.

## Slide 7: Temporary Exemption Currently Open as of 8/1/2019
Duration count of currently open Temporary Exemptions (months) |  |  |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24-36*
TDSP L | 0 | 0 | 0 | 0 | 0 | 0
TDSP V | 0 | 0 | 0 | 0 | 0 | 0
TDSP T | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 0 | 0 | 0 | 0 | 0 | 0
TDSP R | 0 | 0 | 0 | 0 | 0 | 0
TDSP C | 0 | 0 | 0 | 0 | 0 | 0
TDSP D | 0 | 0 | 0 | 0 | 0 | 0
TDSP F | 0 | 0 | 0 | 0 | 0 | 0
TDSP G | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 0 | 0 | 0 | 0 | 0 | 0
TDSP S | 0 | 0 | 0 | 0 | 0 | 0
TDSP A | 0 | 0 | 0 | 0 | 0 | 0
TDSP B | 0 | 0 | 0 | 0 | 0 | 0
TDSP J | 0 | 0 | 0 | 0 | 0 | 0
TDSP H | 1 | 0 | 0 | 0 | 0 | 0
TDSP E | 10 | 0 | 0 | 0 | 0 | 0
TDSP P | 1 | 0 | 2 | 0 | 0 | 0
TDSP O | 0 | 0 | 0 | 1 | 0 | 0
TDSP I | 0 | 0 | 0 | 0 | 17 | 0
TDSP N | 0 | 0 | 2 | 0 | 26 | 0
TDSP M | 9 | 0 | 0 | 0 | 0 | 5
Totals | 21 | 0 | 4 | 1 | 43 | 5
*Indicates sorted by this column in lowest to highest order

## Slide 8: Annual Meter Test/Meter Reprogram – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2017 Average |  | 2018 |  | 2019 | 
TDSP | 2015-2017 Average | 2018 | 2019 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP C | 6 | 1 | 3 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP S | 1 | 1 | 2 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP B | 1 | 2 | 0 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP J | 3 | 1 | 4 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP V | 8 | 1 | 3 | 80.3% | 19.7% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 15 | 3 | 1 | 68.8% | 31.2% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP U | 15 | 9 | 7 | 38.9% | 61.1% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP A | 28 | 7 | 8 | 66.7% | 33.3% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP O | 4 | 3 | 4 | 92.6% | 7.4% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP H | 31 | 2 | N/A | 11.8% | 88.2% | 100.0% | 0.0% | N/A | N/A
TDSP P | 19 | 6 | 4 | 52.0% | 48.0% | 96.7% | 3.3% | 100.0% | 0.0%
TDSP N | 3 | 2 | 2 | 98.4% | 1.6% | 96.3% | 3.8% | 100.0% | 0.0%
TDSP L | 2 | 2 | 1 | 98.8% | 1.2% | 95.7% | 4.3% | 100.0% | 0.0%
TDSP I | 13 | 5 | 5 | 88.8% | 11.2% | 93.8% | 6.3% | 100.0% | 0.0%
TDSP M | 10 | 9 | 8 | 79.6% | 20.4% | 83.3% | 16.7% | 97.8% | 2.2%
TDSP R | 8 | 8 | 5 | 94.6% | 5.4% | 93.4% | 6.6% | 96.2% | 3.8%
Average | 14 | 7 | 7 | 67.4% | 32.6% | 88.4% | 11.6% | 88.3% | 11.7%
TDSP T | 14 | 13 | 9 | 64.9% | 35.1% | 64.0% | 36.0% | 85.7% | 14.3%
TDSP G | 19 | 13 | 8 | 59.5% | 40.5% | 75.0% | 25.0% | 83.3% | 16.7%
TDSP F | 20 | 9 | 9 | 33.3% | 66.7% | 100.0% | 0.0% | 77.8% | 22.2%
TDSP E | 24 | 28 | 17 | 29.3% | 70.7% | 17.1% | 82.9% | 45.3% | 54.7%
TDSP D | 35 | 13 | 16 | 20.2% | 79.8% | 68.8% | 31.3% | 44.4% | 55.6%
TDSP K | 32 | 13 | 24 | 14.1% | 85.9% | 61.1% | 38.9% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 9: Annual Meter Test/Meter Reprogram – Resubmittals
Average Days to Receive |  |  |  | Percentage of document resubmittals within a 14 day timeline |  |  |  |  | 
 |  |  |  | 2015-2017 Average |  | 2018 |  | 2019 | 
TDSP | 2015-2017 Average | 2018 | 2019 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP J | N/A | 5 | N/A | N/A | N/A | 100.0% | 0.0% | N/A | N/A
TDSP M | 4 | 2 | 1 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP K | 0 | 7 | 0 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP A | 1 | N/A | 2 | 100.0% | 0.0% | N/A | N/A | 100.0% | 0.0%
TDSP U | 4 | N/A | 3 | 100.0% | 0.0% | N/A | N/A | 100.0% | 0.0%
TDSP G | 2 | 0 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP O | 10 | 1 | 2 | 75.0% | 25.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP L | 17 | 2 | 9 | 90.5% | 9.5% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP C | 12 | 1 | N/A | 84.1% | 15.9% | 100.0% | 0.0% | N/A | N/A
TDSP H | 55 | N/A | N/A | 16.7% | 83.3% | N/A | N/A | N/A | N/A
TDSP V | 22 | 8 | 4 | 38.6% | 61.4% | 94.7% | 5.3% | 100.0% | 0.0%
TDSP P | 19 | 5 | 6 | 75.0% | 25.0% | 80.0% | 20.0% | 100.0% | 0.0%
TDSP D | 40 | 23 | 0 | 41.8% | 58.2% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP R | 13 | 32 | 2 | 84.4% | 15.6% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP B | N/A | 16 | N/A | N/A | N/A | 0.0% | 100.0% | N/A | N/A
TDSP S | N/A | 18 | 0 | N/A | N/A | 0.0% | 100.0% | 100.0% | 0.0%
TDSP F | 89 | 73 | 2 | 0.0% | 100.0% | 0.0% | 100.0% | 100.0% | 0.0%
Average | 24 | 18 | 9 | 66.4% | 33.6% | 66.7% | 33.3% | 85.7% | 14.3%
TDSP N | 28 | 13 | 6 | 64.7% | 35.3% | 83.3% | 16.7% | 80.0% | 20.0%
TDSP T | 8 | 47 | 15 | 88.9% | 11.1% | 25.0% | 75.0% | 71.4% | 28.6%
TDSP Q | 31 | 6 | 29 | 64.3% | 35.7% | 100.0% | 0.0% | 50.0% | 50.0%
TDSP I | 66 | 36 | 18 | 21.4% | 78.6% | 55.6% | 44.4% | 50.0% | 50.0%
TDSP E | 41 | 40 | 59 | 28.6% | 71.4% | 12.5% | 87.5% | 6.3% | 93.8%
*Indicates sorted by this column in lowest to highest order

## Slide 10: Site Certifications – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2017 Average |  | 2018 |  | 2019 | 
TDSP | 2015-2017 Average | 2018 | 2019 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP T | 16 | 49 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP U | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP S | 6 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP B | 15 | 12 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP F | 34 | N/A | N/A | 75.0% | 25.0% | N/A | N/A | N/A | N/A
TDSP J | 105 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP A | 111 | 6 | N/A | 0.0% | 100.0% | 100.0% | 0.0% | N/A | N/A
TDSP D | 39 | 15 | 11 | 72.6% | 27.4% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 77 | 4 | 1 | 46.7% | 53.3% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP P | 51 | 25 | 15 | 72.6% | 27.4% | 96.9% | 3.1% | 100.0% | 0.0%
TDSP E | 41 | 36 | 25 | 85.5% | 14.5% | 86.5% | 13.5% | 100.0% | 0.0%
TDSP C | 10 | 17 | 22 | 100.0% | 0.0% | 83.3% | 16.7% | 100.0% | 0.0%
TDSP O | 13 | 35 | 17 | 100.0% | 0.0% | 80.0% | 20.0% | 100.0% | 0.0%
TDSP G | 15 | 27 | 9 | 100.0% | 0.0% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP H | 93 | 47 | 31 | 45.0% | 55.0% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP L | 15 | 46 | 4 | 100.0% | 0.0% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP I | 56 | 41 | 6 | 70.0% | 30.0% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP K | 120 | 125 | N/A | 69.4% | 30.6% | 0.0% | 100.0% | N/A | N/A
Average | 47 | 36 | 18 | 78.9% | 21.1% | 83.5% | 16.5% | 94.4% | 5.6%
TDSP R | 54 | 85 | 26 | 84.1% | 15.9% | 73.7% | 26.3% | 93.3% | 6.7%
TDSP M | 40 | 33 | 22 | 91.9% | 8.1% | 66.7% | 33.3% | 88.9% | 11.1%
TDSP V | 47 | 19 | 34 | 65.2% | 34.8% | 87.5% | 12.5% | 75.0% | 25.0%
TDSP N | 57 | 17 | 33 | 63.2% | 36.8% | 93.3% | 6.7% | 66.7% | 33.3%
*Indicates sorted by this column in lowest to highest order

## Slide 11: Site Certifications – Resubmittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2017 Average |  | 2018 |  | 2019 | 
TDSP | 2015-2017 Average | 2018 | 2019 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP T | 3 | N/A | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP U | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP S | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP A | 40 | 2 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP J | 40 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP F | 86 | N/A | N/A | 50.0% | 50.0% | N/A | N/A | N/A | N/A
TDSP M | 51 | 4 | 39 | 75.0% | 25.0% | 100.0% | 0.0% | N/A | N/A
TDSP C | 5 | 13 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP D | 33 | 23 | N/A | 67.2% | 32.8% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP O | 25 | 10 | 1 | 86.7% | 13.3% | 96.9% | 3.1% | 100.0% | 0.0%
TDSP N | 29 | 17 | 1 | 75.0% | 25.0% | 86.5% | 13.5% | 100.0% | 0.0%
TDSP I | 131 | 23 | N/A | 59.1% | 40.9% | 83.3% | 16.7% | 100.0% | 0.0%
TDSP R | 21 | 31 | 14 | 78.9% | 21.1% | 80.0% | 20.0% | 100.0% | 0.0%
TDSP P | 45 | 32 | 7 | 79.3% | 20.7% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP K | 25 | 20 | N/A | 88.9% | 11.1% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP L | 8 | 30 | 4 | 88.9% | 11.1% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP B | 32 | 25 | N/A | 80.6% | 19.4% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP H | 40 | 72 | 19 | 67.2% | 32.8% | 0.0% | 100.0% | N/A | N/A
TDSP V | 34 | 37 | 4 | 81.6% | 18.4% | 83.5% | 16.5% | 94.4% | 5.6%
Average | 36 | 26 | 18 | 74.3% | 25.7% | 73.7% | 26.3% | 93.3% | 6.7%
TDSP Q | 32 | 7 | 19 | 61.9% | 38.1% | 66.7% | 33.3% | 88.9% | 11.1%
TDSP E | 54 | 49 | 44 | 64.7% | 35.3% | 87.5% | 12.5% | 75.0% | 25.0%
TDSP G | 7 | 39 | 51 | 100.0% | 0.0% | 93.3% | 6.7% | 66.7% | 33.3%
*Indicates sorted by this column in lowest to highest order