## Slide 1
Meter Working Group
August 21, 2019

## Slide 2: Anti-Trust Admonition and Disclaimer
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Attendance Roll-call and Introductions
  Brief introduction of those participating at the ERCOT Austin office and via WebEx

## Slide 4: Discussion on Point of Interconnection
Action Item from 3/13/19 MWG Meeting:
All TDSPs and ERCOT to work within their respective organizations to define POI and how line loss compensation should be applied for various scenarios to be reviewed and discussed at the next MWG meeting.

## Slide 5: Discussion on Line Loss Compensation
Action Item from 5/8/19 MWG WebEx:
TDSPs to formulate a technical approach to when loss compensation is needed to help frame protocol language.

## Slide 6: Discussion on 400 yard rule of 10.3.2.3(6)
Current Language:
10.3.2.3 Generation Netting for ERCOT-Polled Settlement Meters
(6) For purposes of this Section, a common switchyard is defined as an electric substation Facility where the POI for Load and Generation Resources are located at the same Facility but where the interconnection points are physically not greater than 400 yards apart. The physical connections of the Load to its POI and the Generation Resource to its POI cannot be Facilities that have been placed in a TSP’s or DSP’s rate base.
ERCOT Measurement Practices:
Measure from the center phase of the furthest most interconnection points.

## Slide 7: Discussion on Instrument Transformer Nameplate Requirements
Discussion on possible modifications to the SMOG related to instrument transformer nameplate requirements.
  Nameplate photo requirement of 6.5.4(1)(i)
  Nameplate data requirement of 7.5.2(1)
  Insulating oil (if present) requirement of 7.5.6(1)

## Slide 8: Agenda Items 7 and 8 see other Key Documents
  Agenda item 7:
  Report of EPS activities
  Agenda item 8:
  Updates to Site Audit Checklist numbering scheme and question order

## Slide 9: New or Other Business Items
  Request for any new or other business items

## Slide 10: Meeting Summary and Closing Remarks
  Thank you for your attendance
  Notes from this meeting will be posted to this meeting on the ERCOT website
    http://www.ercot.com/calendar/2019/8/21/186832-MWG