| NPRR Number | 949 | NPRR Title | January 1, 2023 Changes to EPS Meter Communications Path |
| --- | --- | --- | --- |
| Date of Decision |  | August 13, 2019 |  |
| Action |  | Approved |  |
| Timeline |  | Normal |  |
| Effective Date |  | January 1, 2023 |  |
| Priority and Rank Assigned |  | Not Applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 10.12.1, ERCOT Acquisition of Meter Data |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes the use of standard voice telephone circuits as a defined option for ERCOT to retrieve ERCOT-Polled Settlement (EPS) Meter data effective January 1, 2023. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Infrastructure used in support of standard voice telephone circuits is aging and has become a failure point for communications to many EPS Metering points. It is also becoming problematic, in some cases, for telecom companies to provide timely repair of this aging infrastructure. This NPRR recognizes the investment and time required by the Transmission and/or Distribution Service Providers (TDSPs) to implement technology that replaces the existing communications paths to EPS Meters and proposes an effective date of January 1, 2023 for the completion of this transition. Transition away from the use of standard voice telephone circuits will help eliminate many of the communications failures currently being experience during the EPS Meter data collection process. An increase in the reliability of EPS Meter communications means less trips required by the TDSP to facilitate repairs and/or retrieve EPS Meter data in support of Settlements. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR949 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 6/13/19, PRS voted unanimously to recommend approval of NPRR949 as submitted. All Market Segments were present for the vote. On 7/17/19, PRS voted unanimously to endorse and forward to TAC the 6/13/19 PRS Report and Impact Analysis for NPRR949, with a recommended effective date of January 1, 2023. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 6/13/19, there was no discussion. On 7/17/19, there was no discussion. |  |
| TAC Decision |  | On 7/24/19, TAC voted unanimously to recommend approval of NPRR949 as recommended by PRS in the 7/17/19 PRS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 7/24/19, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR949. |  |
| Board Decision |  | On 8/13/19, the ERCOT Board approved NPRR949 as recommended by TAC in the 7/24/19 TAC Report. |  |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker |
| E-mail Address | Donald.Tucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 |
| Cell Number | 512-560-2378 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 060619 | Endorsed NPRR949 as submitted |

Market Rules Notes

None

Proposed Protocol Language Revision

10.12.1	ERCOT Acquisition of ERCOT-Polled Settlement (EPS) Meter Data

(1)	ERCOT shall acquire EPS Meter data via the following communication links:

(a)	ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; or

(b)	Other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP).