| Principle Number | 1.1 | Principle Title | Ancillary Service Demand Curves and Current Market Price Adders |
| --- | --- | --- | --- |
| Date Posted |  | August 20, 2019 |  |
| Executive Summary |  | The pricing of reserves and energy with Real-Time Co-Optimization (RTC) will reflect the use of demand curves based on the Operating Reserve Demand Curve (ORDC) while continuing to adjust for defined out-of-market actions taken by ERCOT to maintain reliability. |  |
| Principle Description |  | The purpose of Key Principle 1.1, Ancillary Service Demand Curves (ASDCs) and Current Market Price Adders, is to make adjustments to pricing rules as follows: - ORDC price adders will be eliminated along with the associated Settlement. - An ASDC for each Ancillary Service (AS) product will be an input in determining Market Clearing Prices for Capacity (MCPCs) in Real-Time. - In aggregate, ASDCs will reflect the pricing outcomes expected under the 2020 shifted ORDC. - The process of the Reliability Deployment Price Adder for out-of-market actions will be expanded to also consider changes in MCPCs. |  |
| RTCTF Discussion |  | On 8/9/19, ERCOT staff presented material introducing subsections (1) through (5). |  |
| TAC Action Requested |  |  |  |
| TAC Action Summary |  |  |  |
| ERCOT Opinion |  |  |  |
| Board Action Requested |  |  |  |
| Board Action Summary |  |  |  |

Proposed Principle Language

# Principle Concepts for TAC Endorsement

None

# Principle concepts Previously Endorsed by TAC

None

# Principle Concepts in DisCussion at RTCTF

- The ORDC prices adders and the associated process of determining those price adders in Real-Time are eliminated under Real-Time Co-optimization (RTC).  Instead, the Real-Time market (RTM) optimization will use ASDCs as input and determine Market Clearing Prices for Capacity (MCPCs) for each of the individual AS products.

- The existing process of having a pricing run to capture the effects of reliability deployments will continue.  However, the pricing run will be modified to also co-optimize energy and AS.  To account for the co-optimization in the pricing run, the following modifications will be made to the inputs:

  - AS offers from Reliability Unit Commitment (RUC) instructed Resources, including RMR Resources, will be removed for the pricing run or have a high AS offer price.

- Real-Time AS Settlement will no longer include the Reliability Deployment Price Adder.  Instead, the MCPCs for AS resulting from including the impacts of the pricing run will be used for Real-Time AS imbalance Settlement.

- To reasonably reflect the current RTM pricing outcomes expected with the ORDC methodology changes being made starting in March, 2020, the following steps will be taken to develop a single aggregate ORDC for disaggregation into individual ASDCs:

  - For all Security-Constrained Economic Dispatch (SCED) timestamps (6/1/2014 – 12/31/2018) where the sum of RTOLCAP and RTOFFCAP is less than 10,000MW, use the historical RTOLCAP and RTOFFCAP values to calculate the composite LOLP and composite price with composite price defined as:

  - To account for lower reserve level areas where there are no historical observations, create a single point using the following assumptions:

    - RTOFFCAP = 0, RTOLCAP = 2,000MW

    - Set System Lambda equal to the average of system lambda during SCED timestamps with less than or equal to 4,000MW of total reserves

  - Using the results of (a) and (b) above, use regression methods to fit a curve to the average reserve pricing outcomes for the various MW reserve levels.

- The following steps will be taken to disaggregate the single aggregate ORDC  into individual ASDCs:

  - Reserve 100 MW each of Regulation Up Service (Reg-Up) and Responsive Reserve (RRS) on the aggregate ORDC consistent with the current market’s Power Balance Penalty Curve (PBPC) pricing;

  - Place the remaining Reg-Up requirement at the highest priced open MWs on the aggregate ORDC;

  - Place the remaining RRS requirement  at the highest priced open MWs on the aggregate ORDC;

  - Place ERCOT Contingency Reserve Service (ECRS) requirement at the highest priced open MWs on the aggregate ORDC;

  - Place Non-Spinning Reserve (Non-Spin) requirement at the highest priced open MWs on the aggregate ORDC; and

  - Fill remaining MWs on the aggregate ORDC priced at >= $0.01 as NSRS.

# Future Decision Points and Issues for Developing Principle Concepts

None

| Applicable Protocol Section(s) |  |
| --- | --- |
| Impacted System(s) / Application(s) |  |