## Slide 1
2020 Winter Peak and Spring Off-Peak (WINSPG20) Voltage Profile Kick Off
Operations Planning
Voltage Profile Working Group (VPWG)
September 3, 2019

## Slide 2
Agenda
SSWG Case and Contingency Information
Change Submissions
Email
Schedule
Additional Information

## Slide 3: SSWG Case and Contingency Information
Cases:
  WIN1.raw*
    Load: 73,139.8 MW**
  SPG2.raw*
    Load: 48,817.5 MW**
Contingencies:
  Auto-generated single
    WIN1_single.con
    SPG2_single.con
  NERC P1 & P7***
    WIN1_P1.con
    WIN1_P7.con
    SPG2_P1.con
    SPG2_P7.con
*Renamed from 1[8/9]SSWG_2020_..._Final_06242019.raw
**Includes PUNs
***Renamed from 1[8/9]SSWG_[WIN/SPG][1/2]_PSSE_P…_07152019.con

## Slide 4: Change Submissions
Please review the cases and check that devices are modeled appropriately for the study.
  Generation-controlled buses.
    Should be in TSP-assigned bus number range.
    Should be the high side of the GSU Transformer/POI.
  Generation status and output.
    Status of offline and new units.
    Status of units incurring long-term outages during the study period.
    Reactive capability of units.
  Transmission line and transformer status.
    Status of branches incurring long-term outages.
  Transformer tap settings.
  Reactive device status and capability.

## Slide 5: Change Submissions
Changes should be submitted via IDEV/CON files.
  Exceptions are made for “manual” changes.
    Example: Set point for slack bus generator.
  Suggested file naming convention: [TDSP]_2020_VP_[WIN1/SPG2]_Pass[#].[IDV/CON]
    Example: ONCOR_2020_VP_WIN1_Pass0.IDV.
No change submission should cause the case to go un-solved.
  Changes that cannot solve in the case will not be accepted.
  Ideally, changes should improve the quality and strength of the case.
  Please verify that the case solves with the PSSE solution file “solution.idv” before submitted.
  Any issues solving the case with proposed changes may be brought to ERCOT. ERCOT will help coordinate these changes with the case and any other applicable TDSPs, if necessary.

## Slide 6: Emails
Please direct all emails relating to the Voltage Profile to VPWGSubmittals@ercot.com
  Do not need to copy ERCOT staff (i.e. Operations Analysis) unless asked to do so.
Please include “[WINSPG20]” in the subject line of these emails. This conventions reduces the possibility of ERCOT missing any emails related to our Voltage Profile Study.
    Example: Voltage Profile Pass0 Changes [WINSPG20]

## Slide 7: Schedule
Pass # | ERCOT Release Date | TDSP Submittal Date
Pass 0 | 09/04/2019 | 09/18/2019
Pass 1 | 10/02/2019 | 10/16/2019
Pass 2 | 10/23/2019 | 10/30/2019
Pass 3 | 11/06/2019 | 11/13/2019
Final Pass | 11/20/2019 | 11/26/2019 (Tuesday)
Review Meeting | 11/06/2019 | 
Posted | 12/01/2019 | 
For ERCOT releases, ERCOT will send out updated cases, contingencies, etc. and any pass-specific information.
  Pass-specific information example: post-contingency violations with Pass 2.
2 weeks
1 week
2 weeks
1 week

## Slide 8: Additional Information
ERCOT uses PSS/E Version 33.5.
(If necessary) ERCOT uses Power World Simulator 20.
Please review the VPWG Study procedure.

## Slide 9: Questions?
Thank you!