## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
08/08/2019

## Slide 2: NOGRR183 - Remedial Action Scheme (RAS) Submittal and Review Requirements
NOGRR183 - This Nodal Operating Guide Revision Request (NOGRR) aligns the Nodal Operating Guides with North American Electric Reliability Corporation (NERC) Reliability Standard PRC-012-2 - Remedial Action Schemes.
  Tabled – ERCOT will be filing additional comments for consideration.
NPRR955 – Limited RAS definition
  Remains tabled at this time.

## Slide 3: NOGRR190 and NPRR937 Distribution Voltage Block Load Transfers (BLT) Deployment
NPRR937 Distribution Voltage Block Load Transfers (BLT) Deployment
  New comments were submitted and reviewed by OWG.
  OWG has consensus on the new comments.
NOGRR190
  Based on the passing of NPRR937, NOGRR190 would be withdrawn.

## Slide 4: HITE List
MTE Private and Public comments were submitted and reviewed by OWG.
Recommendations for changes and removal by transmission companies were presented for discussion.
There were no objections to changes or removals
The HITE list is provided to ROS for consideration with OWG consensus.