## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Julia Harvey
September 4, 2019
From August 19 WMWG Meeting

## Slide 2: Energy Storage Dispatch
WMWG concentrated on two main concepts
  Expanding on NPRR915, Define Limited Duration Resource and Clarify Telemetered Resource Status Requirements
    Possibly add additional COP status
  Ability to update offers in or near real time
    Draft NPRR is being circulated
    Limited to Energy Storage or Limited Duration resources
    May be submitted before next WMWG meeting
ERCOT is reviewing the complexity levels of submitting offers in or near real time; before each SCED run, each settlement interval or each hour
Other issues
  Mitigation
  Limited Duration definition
  Should Hydro resources be included
ERCOT and WMWG continue to discuss the concepts at next meeting

## Slide 3: RUC of Energy Storage
WMWG discussed RUC of ESS
Utilizing the state of charge in RUC would be a major change
ERCOT may need a forecast of Energy Storage resources
The issue is also at OWG
ERCOT and WMWG continue to discuss at next meeting

## Slide 4: System Lambda Oscillations
ERCOT finds that System Lambda and Generation to be Dispatched (GTBD) are inherently correlated and become more correlated during periods of tight margins
  ERCOT reviewed data from August 5th and August 6th
  Total regulation and total generation are factors
  Tuning of constants discussed
ERCOT action
  ERCOT will post the data so market participants can review
  ERCOT will also post the data from August 13th and 15th.
WMWG will review if a mp raises issue

## Slide 5: Load Forecast Review
ERCOT, Calvin Opheim, gave a good overview of the load forecast models
  He suggested that the presentation be posted in a location that can be referenced in the future
  ERCOT develops and tunes the models except for the two legacy models
WMWG did not hear from Operations on how the models are selected from 7 days out to the operating day
  Operators cannot mix models, one has to be chosen for all of ERCOT

## Slide 6: Evaluating Mitigated Offer for RUC Resources
Draft NPRR language was reviewed
Question on if it could create a price higher than the shadow cap
ERCOT to research
To be reviewed at next WMWG meeting

## Slide 7: Next meeting
Other business
  Participation in SCED by the Controllable Load Resource component of Storage
WMWG meets September 16
Any questions?