## Slide 1
Improving Load Distribution Factors Update
Calvin Opheim
CMWG Meeting
September 9, 2019

## Slide 2: Objective
Explore techniques to improve the accuracy of the non-PUN LDFs
Take into account weather forecast
Shape can change on a daily basis

## Slide 3: Work Plan
Near-term (completed):
Explore using Mid-Term Load Forecast (MTLF) models for non-PUN LDFs
In progress:
Explore improving the accuracy of PUN LDFs
Determination of auto error correction settings

## Slide 4: Model
Model form
Use neural network model with 3 sigmoid nodes and 1 hidden layer
Why use a neural network?
Provides faster results than other techniques
Don’t have the staff to build 6,000+ models on a one-by-one basis
Hoping to find a single model that improves the current forecast by at least 20%

## Slide 5: Model
Model variables
Dry Bulb Temperature
Month
Day of Week
Hour Ending
Actual Load from 48 hours before

## Slide 6: Error Correction
Currently error correction is automatically applied to the top 10% of buses with the highest forecast error for each weather zone
Based on the most recent day where actual values are available (yesterday)
This changes on a daily basis
Exploring expanding the use of this technique

## Slide 7: Weather Sensitive – Error Correction Effective
Actuals (through 02SEP2019), pre-, and post-error-correction Forecast (through 04SEP2019) COAST HB*TR5

## Slide 8: Non-Weather Sensitive – Error Correction Effective
Actuals (through 02SEP2019), pre-, and post-error-correction Forecast (through 04SEP2019) COAST AI*TR2

## Slide 9: Weather Sensitive – Error Correction Sometimes Better
Actuals (through 30AUG2019), pre-, and post-error-correction Forecast (through 01SEP2019) COAST BAR*TR1

## Slide 10: Weather Sensitive – Error Correction Questionable
Actuals (through 30AUG2019), pre-, and post-error-correction Forecast (through 01SEP2019) COAST BAR*TR3

## Slide 11: Non-Weather Sensitive – Error Correction Questionable
Actuals (through 30AUG2019), pre-, and post-error-correction Forecast (through 01SEP2019) COAST CAM*TR1

## Slide 12: Non-Weather Sensitive – Recent Load Change
Actuals (through 30AUG2019), pre-, and post-error-correction Forecast (through 01SEP2019) COAST CAM*TR2

## Slide 13: Non-Weather Sensitive – Recent Load Change

## Slide 14: Weather Sensitive – Error Correction Worse
Actuals (through 30AUG2019), pre-, and post-error-correction Forecast (through 01SEP2019) COAST TWG*TR2

## Slide 15: Weather Sensitive – Error Correction Worse
Actuals (through 30AUG2019), pre-, and post-error-correction Forecast (through 01SEP2019) COAST TWG*TR2
Actuals (through 30AUG2019), pre-, and post-error-correction Forecast (through 01SEP2019) COAST TWG*TR2

## Slide 16: For Discussion
Prioritize locations with a history of high costs?
Forecast must be available by 6 am? What if it is late?
  Use prior days forecast?
  Load Forecasting is not staffed for consistent round the clock support. Is this required?
Models are currently developed using State Estimator values. If SCADA is available should it be used?

## Slide 17: Current Status
Determining the optimum use of error correction for each location
Daily monitoring of LDFs
Evaluating model updates to improve accuracy (4 CP, other lagged load values like daily maximum demand or minimum demand, etc)
Providing the new LDFs to the Market Operations team for their evaluation

## Slide 18: Outstanding Tasks
Need to develop a process which will pass the new LDFs into the EMS system
Update Load Distribution Factor Other Binding document and Protocols

## Slide 19: Questions?