## Slide 1
Review of Commercial Impacts of DC Tie Curtailments
CMWG
September 9, 2019
Market Analysis

## Slide 2: DC Tie Tag Curtailments – July 2019
Date | DC Tie | Curtailing Period | # of Tags Curtailed | Initiating Event | Curtailment Reason
07/18/2019 | DC-R | HE11 | 3 | Gas pressure issue | Unplanned outage