## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for August 2019

## Slide 2: Non-IRR GREDP < 85% – August 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 332 | 11 | 13 | 0.67 | 84.62

## Slide 3: IRR Summary – August 2019
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 88.17 | 59.80 | 90.12
GREDP Median (%) | 100.00 | 75.00 | 92.57
Average MW Error | 3.16 | 2.95 | 2.97
Median MW Error | 2.85 | 2.78 | 2.70
Total Intervals Scored | 6,848 | 872 | 508
100+ Intervals Scored | 15 | 190 | 3
Total Intervals Scored Average | 33.24 | 32.30 | 169.33

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 946 | 983 | 2.61 | 96.24
Unit 2 | 946 | 947 | 3.21 | 99.89
Unit 3 | 481 | 504 | 5.88 | 95.44
Unit 4 | 470 | 489 | 2.90 | 96.11
Unit 5 | 393 | 404 | 4.76 | 97.28
Unit 6 | 309 | 323 | 5.67 | 95.67
Unit 7 | 303 | 306 | 3.57 | 99.02
Unit 8 | 288 | 298 | 1.19 | 96.64
Unit 11 | 162 | 165 | 4.61 | 98.18
Unit 12 | 151 | 157 | 5.95 | 96.18
Unit 13 | 146 | 149 | 8.03 | 97.99
Unit 15 | 99 | 101 | 4.14 | 98.02

## Slide 5: IRR < 95%, ≥ 100 Scored Intervals – August 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 9 | 187 | 202 | 2.70 | 92.57
Unit 10 | 170 | 180 | 2.40 | 94.44
Unit 14 | 105 | 126 | 3.82 | 83.33