## Slide 1
ERCOT Frequency Control Report
August 2019
ERCOT
Operations Planning
PDCWG | September 11th, 2019

## Slide 2: Summary of August 2019
CPS1: 176.00%
Current CPS1 12-Month Rolling Average: 174.42%
1 BAAL Exceedance
1 hourly CPS1 score below 100%
BAAL-003 Events have updated through 2018
2018 BAAL-003 FRM Performance: -843.17
2019 RMS1 Statistics
  Mean: 14.68 mHz
  Min: 12.38 mHz
  Max: 16.16 mHz
Energy Statistics
  Total Energy: 41,859,688 MWh
  Wind Energy: 6,026,604 MWh
  Percent Energy from Wind: 14.40%
  Solar Energy: 461,142
  Percent Energy from Solar: 1.10%
Minimum System Inertia
  Mean: 313,681
  Max: 332,920 on Aug 14th
  Min: 283,771 on Aug 3rd

## Slide 3: Frequency Control
CPS1, BAAL, & RMS1

## Slide 4: Hourly CPS1 by Day
Aug-19 CPS1 (%): 176.00
Notes: Outliers:
8/2/2019 14:00 94.4%
668 MW of unit trip.

## Slide 5: BAAL Exceedances & Violations
There was 1 BAAL exceedances in Aug
  Aug 2, 2019
    Unit Trip at 14:07:35
    Loss of 668 MW
    Less than 59.91 Hz for 1 minute

## Slide 6: 15-Minute Average CPS1%
Aug-19 CPS1 (%): 176.00

## Slide 7: 12-Month Rolling Average CPS1
Current 12-Month Rolling Average: 174.42%

## Slide 8: Daily RMS1 of ERCOT Frequency by Year
Notes: Mean is 15.19 mHz

## Slide 9: Daily RMS1 of ERCOT Frequency by Month

## Slide 10: Daily RMS1 of ERCOT Frequency by Month
Notes: Mean: 14.68 mHz
Min: 12.38 mHz
Max: 16.16 mHz

## Slide 11: Frequency Profile Comparison

## Slide 12: Frequency Profile Comparison

## Slide 13: Frequency Profile Comparison

## Slide 14: Time Error Correction

## Slide 15: ERCOT Daily Time Error

## Slide 16: Time Error Corrections Log Summary
There have been no time error corrections since December 2016

## Slide 17: BAL-003 Performance

## Slide 18: Op. Year 2018 BAL-003 Selected Events – Update
Notes: BAL-003

## Slide 19: Op. Year 2018 BAL-003 FRM Performance - Update

## Slide 20: ERCOT Energy Statistics

## Slide 21: Total Energy
Notes: 39,226,761 MWh

## Slide 22: Total Energy from Wind Generation
Notes: 6,150,047 MWh

## Slide 23: % Energy from Wind Generation
Notes: 15.68%

## Slide 24: Total Energy From Solar Generation
Notes: 464,456 MWh

## Slide 25: % Energy from Solar Generation
Notes: 1.18%

## Slide 26: ERCOT System Inertia

## Slide 27: Daily Minimum System Inertia
Notes: Minimum Inertia = 128,759 MW*s on 11/3/2018.
Previous Minimum was 130,014 MW*s on 10/27/2017. This was also our record wind day.
Data:
Mean: 313,681
Max: 332,920 on Aug 14th
Min: 283,771 on Aug 3rd

## Slide 28: Questions?
Thank you!