## Slide 1
Item 3c –Key Principle 1.3
Ancillary Service Awarding and Imbalance Discussion and Examples
RTCTF
September 19, 2019

## Slide 2: Example of EEA Operation
System Condition is going from EEA Level 1 into EEA Level 2
UFR RRS is deployed during EEA Level 2
Scenario Setup
  68,000 MW of frequency responsive generation capacity (FR Gen)
    EOC of $25/MWh
    AS Offer of $0/MW for URS, RRS, ECRS
  2,000 MW of non-frequency responsive generation capacity (NFRC Gen)
    EOC of $40/MWh
    AS Offer of $0/MW for ECRS
  Reg-Up Demand Curve is one block of 200 MW @ $9,000/MW
  RRS Demand Curve is two blocks, 1,800MW @ $9,000/MW and 500 MW @ $6,000/MW – assume the UFR RRS limit is 1,150 MW
  ECRS Demand Curve is one block of 1,500 MW @ $2,000/MW
  1,150 MW of UFR RRS awarded in the DAM (50% limit on RRS)
$9,000
200
Reg-Up
1800
$9,000
2300
$6,000
RRS
1500
$2,000
ECRS

## Slide 3: Settlement in the EEA Operation
DAM Results
Total Load MW | LMP $/MWh | Reg-Up MCPC $/MW | RRS MCPC $/MW | ECRS MCPC $/MW
67,150 | 2040 | 2015 | 2015 | 2000
Total Load MW | Rest Of System Load | UFR Load Resource |  | FR Gen |  |  |  | NFRC Gen | 
 | Energy Award MW |  |  |  |  |  |  |  | 
 |  | Energy Award MW | RRS Award MW | Energy Award MW | Reg-Up Award MW | RRS Award MW | ECRS Award MW | Energy Award MW | ECRS Award MW
67,150 | 66,000 | 1,150 | 1,150 | 66,650 | 200 | 1150 | 0 | 500 | 1500

## Slide 4: Example of EEA Operation Under RTC
RTC Awards, UFR RRS Deployed during EEA Level 2
EEA Level | FR Gen HSL | NFRC Gen HSL | Load | LRS RRS Award | Gen Reg-Up Award | Gen RRS Award | Gen ECRS Award |  | FR Gen BP | NFRC Gen BP |  | PRC
1 | 68,000 | 2,000 | 69,000 | 1,150 | 100 | 900 | 0 |  | 67,000 | 2,000 |  | 2,150
1 | 68,000 | 2,000 | 69,400 | 1,150 | 60 | 540 | 0 |  | 67,400 | 2,000 |  | 1,750
Current Proposal |  |  |  | Intervals after EEA2 UFR deployment with no RRS award to already deployed UFR |  |  |  |  |  |  |  | 
2 | 68,000 | 2,000 | 68,250 | 0 | 175 | 1,575 | 0 |  | 66,250 | 2,000 |  | 1,750
2 | 68,000 | 2,000 | 67,500 | 0 | 200 | 2,300 | 0 |  | 65,500 | 2,000 |  | 2,500
Original Proposal |  |  |  | Intervals after EEA2 UFR deployment with continued RRS award to already deployed UFR |  |  |  |  |  |  |  | 
2 | 68,000 | 2,000 | 68,250 | 1,150 | 200 | 1,150 | 400 |  | 66,650 | 1,600 |  | 1,350
2 | 68,000 | 2,000 | 67,500 | 1,150 | 200 | 1,150 | 1,150 |  | 66,650 | 850 |  | 1,350
Original Proposal:
RTC optimization continues to assume that the RRS is being provided by the deployed Load Resources
Therefore, it only attempts to procure the remaining 1150 MW RRS and awards cheaper frequency responsive capacity for energy and backs down non-frequency responsive capability.
This leads to PRC decreasing as opposed to improving, delaying the exit from EEA 2.
Current Proposal:
RTC optimization uses actual system conditions and recognizes lack of available RRS in system and attempts to procure based on the RRS Demand Curve.
This leads to continued energy awards to non-frequency responsive capacity and PRC improving, thus allowing for quicker exit from EEA 2.

## Slide 5: Settlement in the EEA Operation Under RTC
System Condition: EEA Level 1, Results for two intervals
UFR Load Resource not deployed and normal RTC run
Prices
RT Imbalance Settlements
EEA Level | Total Load | LMP | Reg-Up MCPC | RRS MCPC | ECRS MCPC
1 | 69000 | 6025 | 6000 | 6000 | 5985
1 | 69400 | 9000 | 8975 | 8975 | 5960
EEA Level | QSE for FR Gen |  |  | QSE for NFRC Gen |  |  | QSE for UFR LR |  |  |  | QSE for Rest Of System Load |  | 
 | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ RT LA AS Imb. | $ Total Imb. | $ Energy Imb. | $ RT LA AS Imb. | $ Total Imb.
1 | (175,729) | 175,000 | (729) | (753,125) | 748,125 | (5,000) | 0 | 0 | (15,385) | (15,385) | 928,854 | (907,740) | 21,115
1 | (562,500) | 560,938 | (1,563) | (1,125,000) | 745,000 | (380,000) | 0 | 0 | (21,640) | (21,640) | 1,687,500 | (1,284,297) | 403,203

## Slide 6: Settlement in the EEA Operation Under RTC
System Condition: EEA Level 2, Results for two intervals
UFR Load Resource deployed: RTC dispatch and Pricing run
Prices
  Same under both proposals
RT Imbalance Settlements: Current Proposal
RT Imbalance Settlements: Original Proposal
EEA Level | Total Load | LMP | Reg-Up MCPC | RRS MCPC | ECRS MCPC
2 | 68250 | 9000 | 8975 | 8975 | 5960
2 | 67500 | 6025 | 6000 | 6000 | 5985
EEA Level | QSE for FR Gen |  |  | QSE for NFRC Gen |  |  | QSE for UFR LR |  |  |  | QSE for Rest Of System Load |  | 
 | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ RT LA AS Imb. | $ Total Imb. | $ Energy Imb. | $ RT LA AS Imb. | $ Total Imb.
2 | 300,000 | (299,166) | 833 | (1,125,000) | 745,000 | (380,000) | (862,500) | 860,104 | 0 | (2,396) | 1,687,500 | (1,305,937) | 381,562
2 | 577,396 | (575,000) | 2,396 | (753125) | 748125 | (5,000) | (577,396) | 575,000 | 0 | (2,396) | 753,125 | (748,125) | 5,000
EEA Level | QSE for FR Gen |  |  | QSE for NFRC Gen |  |  | QSE for UFR LR |  |  |  | QSE for Rest Of System Load |  | 
 | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ RT LA AS Imb. | $ Total Imb. | $ Energy Imb. | $ RT LA AS Imb. | $ Total Imb.
2 | 0 | 0 | 0 | (825,000) | 546,333 | (278,667) | (862,500) | 0 | 0 | (862,500) | 1,687,500 | (546,333) | 1,141,167
2 | 0 | 0 | 0 | (175,729) | 174,562 | (1,167) | (577,396) | 0 | 0 | (577,396) | 753,125 | (174,562) | 578,562

## Slide 7: Example of EEA Operation in Today’s market
SCED Awards, UFR RRS Not Deployed during EEA Level 1
SCED Awards, UFR RRS Deployed during EEA Level 2
EEA Level | FR Gen HSL | NFRC Gen HSL | Load | LRS RRS Sched | FR Gen Reg-Up Sched | FR Gen RRS Sched | FR Gen ECRS Sched | FR Gen BP | NFRC Gen BP | NFRC Gen ECRS Sched | PRC | RRS released to SCED
1 | 68,000 | 2,000 | 69,000 | 1,150 | 200 | 700 | 0 | 67,100 | 1,900 | 100 | 2,050 | 450
1 | 68,000 | 2,000 | 69,350 | 1,150 | 200 | 400 | 0 | 67,400 | 1,950 | 50 | 1,750 | 750
Under Today’s market:
HASL release is done by ERCOT operations
Can see that cheaper frequency responsive capacity is used resulting faster degradation of PRC values as the system goes into scarcity
EEA Level | FR Gen HSL | NFRC Gen HSL | Load | LRS RRS Sched | FR Gen Reg-Up Sched | FR Gen RRS Sched | FR Gen ECRS Sched | FR Gen BP | NFRC Gen BP | NFRC Gen ECRS Sched | PRC | RRS released to SCED
2 | 68,000 | 2,000 | 68,200 | 0 | 200 | 1150 | 0 | 66,650 | 1,550 | 450 | 1,350 | 0
2 | 68,000 | 2,000 | 67,500 | 0 | 200 | 1150 | 0 | 66,650 | 850 | 1150 | 1,350 | 0

## Slide 8: Settlement in the EEA Operation in Today’s market cont.
System Condition: EEA Level 1, Results for two intervals
UFR Load Resource not deployed and normal SCED run
Prices
RT Imbalance Settlements: today’s market
EEA Level | Total Load | Final LMP | SCED LMP | RTORPA | RTRDPA
1 | 69000 | 6040 | 40 | 6000 | 0
1 | 69350 | 9000 | 40 | 8960 | 0
EEA Level | QSE for FR Gen |  |  | QSE for NFRC Gen |  |  | QSE for UFR LR |  |  |  | QSE for Rest Of System Load |  | 
 | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ RT LA AS Imb. | $ Total Imb. | $ Energy Imb. | $ RT LA AS Imb. | $ Total Imb.
1 | (226,500) | 225,000 | (1,500) | (704,667) | 700,000 | (4,667) | 0 | 0 | (15,417) | (15,417) | 931,167 | (909,583) | 21,583
1 | (562,500) | 560,000 | (2,500) | (1,087,500) | 1,082,667 | (4,833) | 0 | 0 | (27,240) | (27,240) | 1,650,000 | (1,615,427) | 34,573

## Slide 9: Settlement in the EEA Operation in Today’s market cont.
System Condition: EEA Level 2, Results for two intervals
UFR Load Resource deployed: SCED dispatch and Pricing run
Prices
RT Imbalance Settlements: Today’s market
EEA Level | QSE for FR Gen |  |  | QSE for NFRC Gen |  |  | QSE for UFR LR |  |  |  | QSE for Rest Of System Load |  | 
 | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ Total Imb. | $ Energy Imb. | $ AS Imb. | $ RT LA AS Imb. | $ Total Imb. | $ Energy Imb. | $ RT LA AS Imb. | $ Total Imb.
2 | 0 | 0 | 0 | (787,500) | 784,000 | (3,500) | (862,500) | 858,667 | 0 | (3,833) | 1,650,000 | (1,642,667) | 7,333
2 | 0 | 0 | 0 | (262,500) | 261,333 | (1,167) | (862,500) | 858,667 | 0 | (3,833) | 1,125,000 | (1,120,000) | 5,000
EEA Level | Total Load | Final LMP | SCED LMP | RTORPA | RTRDPA
2 | 68200 | 9000 | 40 | 8960 | 0
2 | 67500 | 9000 | 40 | 8960 | 0
Conclusions:
The settlement outcomes for QSEs representing UFR LRs in the current proposal is much more similar to what happens in today’s market design.
By taking a fresh look and trying to procure RRS from available supply, frequency responsive capacity is prioritized and the market creates a more reliable grid outcome.

## Slide 10: Questions