| SMOGRR Number | 022 | SMOGRR Title | Related to NPRR948, Instrument Transformer Testing Schedule and Removal of Reference to Fiber-Optic Current Transformers |
| --- | --- | --- | --- |
| Date of Decision |  | August 7, 2019 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation of Nodal Protocol Revision Request (NPRR) 948, Instrument Transformer Testing Schedule and Removal of Reference to Fiber-Optic Current Transformers |  |
| Priority and Rank Assigned |  | Not Applicable |  |
| Settlement Metering Operating Guide Sections Requiring Revision |  | 7.2, Application 7.5.3, Current Transformers 7.5.3.4, Rated Output (Fiber Optic System) (delete) 7.5.3.6, Accuracy and Burden (Fiber Optic System) (delete) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | NPRR948, Instrument Transformer Testing Schedule and Removal of Reference to Fiber-Optic Current Transformers |  |
| Revision Description |  | This Settlement Metering Operating Guide Revision Request (SMOGRR) removes references to fiber-optic instrument transformers. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This SMOGRR removes references to fiber-optic instrument transformers, as there are currently no fiber-optic instrument transformers being utilized for ERCOT-Polled Settlement (EPS) metering installations. Fiber-optic systems were initially deployed at some installations but have since been replaced with high-accuracy wire wound instrument transformers, which provide needed accuracy ranges without the added complexity of the electronics associated with the fiber-optic systems. This SMOGRR and the companion NPRR948 remove the option to install fiber-optic instrument transformers. |  |
| WMS Decision |  | On 7/10/19, WMS voted unanimously to recommend approval of SMOGRR022 as submitted. All Market Segments were present for the vote. On 8/7/19, WMS voted unanimously to endorse and forward to TAC the 7/10/19 WMS Report and Impact Analysis for SMOGRR022. All Market Segments were present for the vote. |  |
| Summary of WMS Discussion |  | On 7/10/19, there was no discussion. On 8/7/19, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker |
| E-mail Address | Donald.Tucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 |
| Cell Number | 512-560-2378 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

Proposed Settlement Metering Guide Language Revision

## 7.2	Application

(1)	This Section 7, General Specifications for Instrument Transformers for EPS Metering, applies to the following:

(a)	Single-phase current transformers;

(b)	Single-phase voltage transformers;

(c)	Single-phase combination current/voltage transformers; and

(d)	Coupling capacitor voltage transformers.

7.5.3	Current Transformers

(1)	Current transformers shall be wire wound.

7.5.3.4	Reserved

.

7.5.3.6	Reserved