## Slide 1
Real-Time Co-Optimization Task Force Update to TAC
Matt Mereness
September 25, 2019

## Slide 2: Outline of RTCTF Update
TAC Voting Items for Key Principles
TAC Consideration of RTCTF Charter Modifications
Appendix
  Reminder of review processes for RTCTF, TAC, and Board

## Slide 3: TAC Voting Items
TAC is being asked to consider endorsement of a subset of RTCTF Key Principles
Key Principle (Consensus Items)
  Key Principle 1.1 Subsections 1, 3, 4: Ancillary Service Demand Curves and Current Market Price Adders
  Key Principle 1.2 Subsections 1 & 2: System-Wide Offer Cap and Power Balance Penalty Price

## Slide 4: Key Principle 1.1 Subsections 1, 3, 4: Ancillary Service Demand Curves and Current Market Price Adders
KP 1.1 The pricing of reserves and energy with Real-Time Co-Optimization (RTC) will reflect the use of demand curves based on the Operating Reserve Demand Curve (ORDC) while continuing to adjust for defined out-of-market actions taken by ERCOT to maintain reliability.
Subsections (summarized)
  The ORDC price adders are eliminated under RTC. Instead, the Real-Time market optimization will use Ancillary Service Demand Curves (ASDCs) as input and determine Market Clearing Prices for Capacity (MCPCs) for each AS product.
  Real-Time Ancillary Service (AS) Settlement will no longer include the Reliability Deployment Price Adder. Instead, the MCPCs for AS resulting from including the impacts of the pricing run will be used for Real-Time AS Imbalance Settlement.
  Establish the calculations to reasonably reflect the current RTM pricing outcomes expected with the ORDC methodology changes being made in March, 2020, to develop a single aggregate ORDC for disaggregation into individual ASDCs.
Meetings and discussion:
  August 9 RTCTF discussion.
  August 27 RTCTF consensus on language for these three items.

## Slide 5: Key Principle 1.2 Subsections 1 & 2: System-Wide Offer Cap and Power Balance Penalty Price
KP 1.2 The values of and interaction between System-Wide Offer Cap (SWOC), Value-of-Lost-Load (VOLL), and Power Balance Penalty Price (PBPP) must be evaluated as part of implementation of RTC. This Key Principle identifies which values are changing and which one are remaining the same.
Subsections (summarized)
  For the period of the annual Resource Adequacy cycle where the Peaker Net Margin (PNM) threshold has not been met, the following parameters are in effect:
    SWOC will be equal to $2,000/MWh;
    VOLL and the maximum Ancillary Service Demand Curve (ASDC) value will be equal to $9,000/MWh;
    The energy price, exclusive of congestion costs, will be capped at $9,000/MWh; and
    PBPP will be equal to $11,000.01/MWh.
  After the PNM threshold has been met, a process will adjust the parameters:
    SWOC will be equal to $2,000/MWh;
    VOLL and the maximum ASDC value will be equal to $2,000/MWh;
    The energy price, exclusive of congestion costs, will be capped at $2,000/MWh; and
    PBPP will be equal to $4,000.01/MWh.
Meetings and discussion:
  August 9 RTCTF discussion.
  August 27 RTCTF consensus on language for these three items.

## Slide 6: TAC Voting Items for Key Principles
Requesting TAC consideration today:
  TAC votes to endorse the RTC Key Principles below for purposes of informing the Board.
    Key Principle 1.1 Subsections 1, 3, 4: Ancillary Service Demand Curves and Current Market Price Adders
    Key Principle 1.2 Subsections 1 & 2: System-Wide Offer Cap and Power Balance Penalty Price

## Slide 7: TAC Consideration of RTCTF Charter Modifications
When TAC considered the first round Key Principles at its July meeting, there was recognition that a procedural modification was needed in the RTCTF Charter to reflect what TAC and the Board do with the Key Principles which are outside of Protocol Section 21 and Section VIII of the ERCOT Board Policies and Procedures.
Below is the ERCOT proposed language:
Requesting TAC consideration today:
  TAC votes to approve modifications to the RTCTF Charter.

## Slide 8
APPENDIX
Review processes for RTCTF, TAC, and Board

## Slide 9: TAC Review Process
TAC serves as the stakeholder body to vote on Design Principles from the RTCTF
  Design Principles narrow the scope and codify design decisions to set direction for ERCOT in developing NPRRs upon completion of the Design Principles.
  Principle Templates are being used to capture the key dates of review, any significant contention or modifications, and the TAC vote.
RTC Key Principles are non-binding and will not go directly to the Board after TAC consideration.
  Procedures set forth in Protocol Section 21 do not apply to discussions, opinions or approvals by TAC with respect to RTC Key Principles.
  Section VIII of the ERCOT Board Policies and Procedures does not apply to discussions, opinions or unofficial approvals by TAC with respect to RTC Key Principles.
ERCOT will hold (supplement) the RTC Key Principles pending development and review of all RTC Key Principles by TAC.
  RTC Key Principle subsections will only be reconsidered if new or conflicting interdependencies are discovered. If information is added to an RTC Key Principal following TAC review, the RTC Key Principle will be taken back to TAC consideration.
  ERCOT will maintain TAC reviewed RTC Key Principle language in template form and post in a central location.

## Slide 10: TAC Review Process (continued)
Upon TAC review of all RTC Key Principles, ERCOT will compile the collection of RTC Key Principles into a single package, and will submit it to TAC for a courtesy review prior to Board submission.
  The RTC Key Principle package will contain a full record of TAC votes for Board discussion and consideration.
Following TAC review of the complete RTC Key Principles package, ERCOT will submit it to the Board for consideration.
  Any stakeholder opposed to an RTC Key Principle may request Board consideration in accordance with Section VIII of the ERCOT Board Policies and Procedures.
The Board will review and consider the RTC Key Principles package presented by TAC.

## Slide 11: Review Process for RTCTF, TAC, and Board
At PUCT: Project No. 48540
and other activities/decisions
At RTCTF: Develop design principles and scope
At TAC: Vote on design
principles and scope
Decisions that shape RTC principles/scope
Status updates to TAC and seek endorsement of incremental principles and scope
At Board: Monitor progress and
consider final set of principles and scope
Status updates on TAC decisions and status of principles/scope
Board vote on final design principles

## Slide 12: RTCTF Review Process
Internal ERCOT draft principles and principle concepts (elements)
ERCOT presents concepts for meeting in presentation format
ERCOT takes feedback and posts in 2 days as initial document for MP edits
MPs submit feedback as edits to document and any
- Concerns
Alternatives
MPs share initial feedback, concern, request for additional information
MPs must document concerns and alternative approach prior to meeting, and be prepared to discuss
ERCOT provides responses to finalize supporting principle concept
Meeting #1 Meeting #2 Meeting #3
Take consensus and non-consensus items to TAC for vote
ERCOT posts all MP feedback and responds to MP redlines, concerns, alternatives