Date:	September 25, 2019

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs and SCRs recommended for approval by PRS: - NPRR918, Validation for PTP Obligations with Links to an Option [ERCOT] - NPRR930, Process, Pricing, and Cost Recovery for Delayed Resource Outages – URGENT [Citigroup] - NPRR936, CRR Account Holder Limits [Engie NA] - NPRR950, Switchable Generation Resources Providing Black Start Service – URGENT [ERCOT] - NPRR951, Active and Inactive SCED Constraint Reporting [DC Energy] - NPRR952, Use of Katy Hub for the Fuel Index Price [ERCOT] - NPRR954, Allow Opt Out of 867 EPS Data [ERCOT] - NPRR958, Modifications to Wind and Solar Capacity Calculations in the CDR [ERCOT] - NPRR959, Creation of a Panhandle Region for Calculation of Seasonal Peak Average Capacity Contributions for Wind [ERCOT] - NPRR960, Phased Approach and Clarifications for NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [ERCOT] - NPRR961, Related to NOGRR194, Relocate Black Start Training Attendance Requirements to Nodal Operating Guides [ERCOT] - NPRR962, Publish Approved DC Tie Schedules [ERCOT] - SCR803, Enhance Wind Integration Report and Create Solar Integration Report and Solar Dashboard [Reliant] - SCR804, ERCOT GridGeo Access for Transmission Operators [Oncor and AEP]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR918, Validation for PTP Obligations with Links to an Option [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2840 (grey-boxed language); November 1, 2019 (remaining language) ERCOT Impact Analysis: Between $30k and $50k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Data and Information Products (DAIP), and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR contains clarifications and updated hourly validation rules regarding the Non-Opt-In Entity (NOIE) Load forecast related to the submission of Point-to-Point (PTP) Obligations with Links to an Option. PRS Decision: On 8/15/19, PRS voted to recommend approval of NPRR918 as amended by the 8/6/19 Joint comments. There were two abstentions from the Independent Power Marketer (IPM) (Morgan Stanley) and Independent Retail Electric Provider (IREP) (Direct Energy) Market Segments. On 9/12/19, PRS voted to endorse and forward to TAC the 8/15/19 PRS Report and the Revised Impact Analysis for NPRR918 with a recommended priority of 2020 and rank of 2840. There was one abstention from the IPM (Morgan Stanley) Market Segment. - NPRR930, Process, Pricing, and Cost Recovery for Delayed Resource Outages – URGENT [Citigroup] Proposed Effective Date: TBD ERCOT Impact Analysis: TBD Revision Description: This NPRR requires ERCOT to use an Outage Adjustment Evaluation (OAE) process to delay accepted or approved Outages after issuing an Advance Action Notice (AAN) to describe the need and providing time for Qualified Scheduling Entities (QSEs) to adjust their Outage plans. A Resource that receives an Outage Schedule Adjustment (OSA) as a result of an OAE will be made whole to its actual costs incurred due to delaying or canceling and rescheduling the Outage and committing the Resource, as appropriate. In addition, it sets an offer floor for the Resource at $4,500/MWh. Together, these changes will encourage Resources to self-commit to avoid the opportunity cost of offering at a very high price, while making them whole if they do follow ERCOT’s instructions. A QSE with a Resource that is unable to return to service due to reliability reasons may update its Outage to a Forced Outage so that it may continue its Outage plans to support the Resource’s longevity and availability during critical Load periods. PRS Decision: On 4/11/19, PRS voted to grant NPRR930 Urgent status. There were three abstentions from the Consumer (Occidental), Independent Generator (Calpine), and Municipal (CPS Energy) Market Segments. PRS then unanimously voted to table NPRR930. On 8/15/19, PRS voted via roll call vote to recommend approval of NPRR930 as amended by the 8/14/19 Joint comments as revised by PRS; and to forward to TAC. There were three abstentions from the Independent Generator (Exelon), IREP (Direct Energy), and Municipal (CPS Energy) Market Segments. Credit WG Review: See 8/21/19 Credit WG comments - NPRR936, CRR Account Holder Limits [Engie NA] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2850 ERCOT Impact Analysis: Between $150k and $250k; no impacts to ERCOT staffing; impacts to Congestion Revenue Right (CRR) and DAIP; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes the CRR Auction transaction limit to the Counter-Party level, rather than that of the CRR Account Holder. PRS Decision: On 7/17/19, PRS unanimously voted to recommend approval of NPRR936 as revised by PRS. On 9/12/19, PRS unanimously voted to endorse and forward to TAC the 7/17/19 PRS Report and Impact Analysis for NPRR936 with a recommended priority of 2020 and rank of 2850. - NPRR950, Switchable Generation Resources Providing Black Start Service – URGENT [ERCOT] Proposed Effective Date: November 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR prohibits any Switchable Generation Resource (SWGR) contracted to provide Black Start Service (BSS) from generating in any Control Area other than ERCOT. PRS Decision: On 9/12/19, PRS unanimously voted to grant NPRR950 Urgent status. PRS then unanimously voted to recommend approval of NPRR950 as amended by the 8/8/19 ERCOT comments, and to forward to TAC NPRR950 and the Impact Analysis. - NPRR951, Active and Inactive SCED Constraint Reporting [DC Energy] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2820 ERCOT Impact Analysis: Between $25k and $45k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS) and DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR expands the Network Security Analysis Active Constraints report and the Network Security Analysis Inactive Constraints report to include Megavolt Ampere (MVA) flows and limits. PRS Decision: On 7/17/19, PRS unanimously voted to recommend approval of NPRR951 as submitted. On 8/15/19, PRS unanimously voted to endorse and forward to TAC the 7/17/19 PRS Report and Impact Analysis for NPRR951 with a recommended priority of 2020 and a rank of 2820. - NPRR952, Use of Katy Hub for the Fuel Index Price [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2780 ERCOT Impact Analysis: Between $30k and $40k; no impacts to ERCOT staffing; impacts to Integration; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR fully replaces Houston Ship Channel with Katy Hub as the reference for the Fuel Index Price (FIP) for natural gas in ERCOT’s systems. PRS Decision: On 7/17/19, PRS unanimously voted to recommend approval of NPRR952 as submitted. On 8/15/19, PRS unanimously voted to endorse and forward to TAC the 7/17/19 PRS Report and the Impact Analysis for NPRR952 with a recommended priority of 2019 and rank of 2780. - NPRR954, Allow Opt Out of 867 EPS Data [ERCOT] Proposed Effective Date: November 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR allows a Transmission Service Provider (TSP), Distribution Service Provider (DSP), or Load Serving Entity (LSE) to opt out of receipt of Texas Standard Electronic Transaction (Texas SET) 867 data for Electric Service Identifiers (ESI IDs) with ERCOT Polled Settlement (EPS) Meters. PRS Decision: On 7/17/19, PRS unanimously voted to recommend approval of NPRR954 as submitted. On 8/15/19, PRS unanimously voted to endorse and forward to TAC the 7/17/19 PRS Report and the Impact Analysis for NPRR954. - NPRR958, Modifications to Wind and Solar Capacity Calculations in the CDR [ERCOT] Proposed Effective Date: November 1, 2019 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR modifies the calculation of the wind and solar capacities used in the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR). It also better aligns the solar capacity calculation with the wind capacity calculation. PRS Decision: On 8/15/19, PRS unanimously voted to recommend approval of NPRR958 as submitted. On 9/12/19, PRS unanimously voted to endorse and forward to TAC the 8/15/19 PRS Report and Impact Analysis for NPRR958. - NPRR959, Creation of a Panhandle Region for Calculation of Seasonal Peak Average Capacity Contributions for Wind [ERCOT] Proposed Effective Date: November 1, 2019 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR splits the existing non-coastal wind region in the CDR into a Panhandle wind region and an Other wind region. PRS Decision: On 8/15/19, PRS unanimously voted to recommend approval of NPRR959 as submitted. On 9/12/19, PRS unanimously voted to endorse and forward to TAC the 8/15/19 PRS Report and Impact Analysis for NPRR959. - NPRR960, Phased Approach and Clarifications for NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve [ERCOT] Proposed Effective Date: Upon system implementation of NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises grey-boxed language related to NPRR863 in order to implement the Board-approved phasing approach for NPRR863, along with corrections to a few Resource Status references within NPRR863 grey-boxed language. PRS Decision: On 8/15/19, PRS voted to recommend approval of NPRR960 as amended by the 8/5/19 ERCOT comments. There were two abstentions from the Independent Generator (Luminant, Exelon) Market Segment. On 9/12/19, PRS unanimously voted to endorse and forward to TAC the 8/15/19 PRS Report and Impact Analysis for NPRR960. - NPRR961, Related to NOGRR194, Relocate Black Start Training Attendance Requirements to Nodal Operating Guides [ERCOT] Proposed Effective Date: November 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR aligns the Protocols with changes proposed in Nodal Operating Guide Revision Request (NOGRR) 194. PRS Decision: On 8/15/19, PRS unanimously voted to recommend approval of NPRR961 as revised by PRS. On 9/12/19, PRS unanimously voted to endorse and forward to TAC the 8/15/19 PRS Report and the Impact Analysis for NPRR961. - NPRR962, Publish Approved DC Tie Schedules [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2870 ERCOT Impact Analysis: Between $15k and $30k; no impacts to ERCOT staffing; impacts to DAIP and BI & Data Analytics; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires ERCOT to publish every hour the approved Direct Current Tie (DC Tie) Schedule for the next seven days. PRS Decision: On 8/15/19, PRS voted to recommend approval of NPRR962 as submitted. There was one abstention from the IPM (Tenaska) Market Segment. On 9/12/19, PRS unanimously voted to endorse and forward to TAC the 8/15/19 PRS Report and the Impact Analysis for NPRR962 with a recommended priority of 2020 and rank of 2870. - SCR803, Enhance Wind Integration Report and Create Solar Integration Report and Solar Dashboard [Reliant] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2830 ERCOT Impact Analysis: Between $50k and $75k; no impacts to ERCOT staffing; impacts to DAIP, EMS, External Public, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR enhances the existing wind integration report and creates new solar integration reports and a new a graphical dashboard to show actual and forecasted solar power production, similar to the current dashboard for wind power production. PRS Decision: On 7/17/19, PRS unanimously voted to recommend approval of SCR803 as revised by PRS. On 8/15/19, PRS unanimously voted to endorse and forward to TAC the 7/17/19 PRS Report and Impact Analysis for SCR803 with a recommended priority of 2020 and rank of 2830. - SCR804, ERCOT GridGeo Access for Transmission Operators [Oncor and AEP] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2880 ERCOT Impact Analysis: Between $400k and $600k (Between $20k and $40k annual recurring O&M); no impacts to ERCOT staffing; impacts to Geographical Situational Awareness (GSA), Data Access & Transparency, and External Public; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This SCR provides access for Transmission Operators (TOs) to ERCOT’s GridGeo application. PRS Decision: On 7/17/19, PRS unanimously voted to recommend approval of SCR804 as submitted. On 9/12/19, PRS unanimously voted to endorse and forward to TAC the 7/17/19 PRS Report and the Impact Analysis for SCR804 with a recommended priority of 2020 and rank of 2880. Revision Requests Rejected - NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks [Formosa] Proposed Effective Date: Not applicable ERCOT Impact Analysis: Not applicable Revision Description: This NPRR allows a Resource in a Private Use Network whose primary function is providing steam to a host, and is not participating in the ERCOT energy market, to be exempted from Primary Frequency Response service requirements. The Governor will still be in service, but may be allowed to be in pressure control instead of Primary Frequency Response control. PRS Decision: On 9/12/19, PRS unanimously voted to reject NPRR919. Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the October 10, 2019 PRS Meeting - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR902, ERCOT Critical Energy Infrastructure Information [ERCOT] - NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment [GSEC] - NPRR941, Create a Lower Rio Grande Valley Hub [DC Energy] - NPRR957, RTF-4 Definition of Energy Storage Resource and Related Registration and Telemetry Requirements [Boston Energy Trading and Marketing] - NPRR965, GREDP Shutdown Exemption [Luminant] - NPRR968, Revise EEA Level 3 Triggers from 1375 MW to 1430 MW to Align with New Most Severe Single Contingency Value [ERCOT] - NPRR969, Clean-up of Protocol 19.8, Retail Market Testing [ERCOT] - SCR800, Addition of DC Tie Ramp to GTBD Calculation [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] - NPRR928, Cybersecurity Incident Notification [ERCOT] - NPRR933, Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities [ERCOT] - NRRR934, Advance Action Notice (AAN) and Clarify Process for Resource Outage Approval Withdrawal [ERCOT] - NPRR938, Distribution Voltage Level Block Load Transfer (BLT) Compensation [GSEC] - NPRR945, Net Metering Requirements [TIEC] - NPRR946, Allow TDSPs to Use 814_28, Complete Un-executable Transactions for 814_03 Switch Transactions Involved In A Mass Transition Event [TX SET] - NPRR947, Clarification to Ancillary Service Supply Responsibility Definition and Improvements to Determining and Charging for Ancillary Service Failed Quantities [ERCOT] - NPRR953, Addition of Relay Loadability Rating Definition [ERCOT] - NPRR955, Define Limited Impact Remedial Action Scheme (RAS) [ERCOT] - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR963, Creation of Generation and Controllable Load Resource Group (GCLR Group) [Tenaska Power Services] - NPRR964, Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement [ERCOT] - NPRR966, Changes to Support Reactive Power Coordination Tool [ERCOT] - NPRR967, Allow Limited Duration Resource Energy Offer Curve Updates Near Real-Time and Remove the 10 MW Limit [Advanced Power Alliance] New Revision Requests Scheduled for Consideration at the October 10, 2019 PRS Meeting None at this time These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr