## Slide 1
Dynamic Model Improvement Proposal
Resource Integration Workshop
September 26, 2019

## Slide 2: Background
2019 ROS Goal:
  Continuously improve dynamic modeling processes
April 25, 2019, Inverter Based Resource Workshop
June 20, 2019, Resource Integration Workshop
July 30, 2019, Resource Integration Workshop
August 27, 2019, DWG Meeting
Draft PGRR available on meeting page

## Slide 3: Dynamic Data Shall Include:
Model quality test results and associated simulation files to demonstrate acceptable performance of the model submitted by RE/IE
  Flat Start Test (no disturbance/initialization test)
  Small Voltage Disturbance Test
  Large Voltage Disturbance Test
  Small Frequency Disturbance Test
  System Strength Test (IRR/IBR only)
Test details to be specified in DWG Procedure Manual
  Enough/too much detail provided in PGRR?

## Slide 4: Other PGRR Items of Note
Specifies use of dynamic model template
UDM requirements moved to Planning Guide
Language considerations
  IRR and inverter-based Resources
  Non-IRR Resources

## Slide 5: Next Step
Provide your comments to ERCOT by October 4, 2019.
  John Schmall, John.Schmall@ercot.com
Prepare and submit a PGRR