## Slide 1
Review of Commercial Impacts of DC Tie Curtailments
CMWG
September 30, 2019
Market Analysis

## Slide 2: DC Tie Tag Curtailments – August 2019
Date | DC Tie | Curtailing Period | # of Tags Curtailed | Initiating Event | Curtailment Reason
8/6/2019 | DC-L | HE03 - HE13 | 2 | Cooling fan | Derated to 70 MW
8/6/2019 | DC-L | HE19 - HE24 | 1 | Cooling fan | Derated to 70 MW
8/7/2019 | DC- L | HE01 – HE08 | 3 | DC Tie Trip | Unplanned outage
8/7/2019 | DC- L | HE13 | 2 | Unplanned outage | Unplanned outage
8/7/2019 | DC- L | HE20 - HE24 | 4 | Unplanned outage | Unplanned outage
8/9/2019 | DC-L | HE20 – HE24 | 8 | Controller drive issues | Unplanned outage
8/10/2019 | DC- L | HE20 - HE24 | 4 | Controller drive issues | Unplanned outage
8/14/2019 | DC- L | HE18 – HE20 | 4 | Controller drive issues | Unplanned outage
8/16/2019 | DC- L | HE20- HE24 | 2 | Controller drive issues | Unplanned outage
8/18/2019 | DC- L | HE02 | 1 | Unplanned outage | Unplanned outage
8/18/2019 | DC- L | HE14 – HE17 | 2 | Unplanned outage | Unplanned outage
8/18/2019 | DC- L | HE23 – HE24 | 2 | Unplanned outage | Unplanned outage