## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
October 3rd, 2019

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    2 FMEs in the month of August
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 9/11/19
  ERCOT Dynamic Model Benchmarking
    Annual RRS Study
    Governor Performance
  ERCOT Ancillary Service Analysis – Changes for 2020
  Lesson Learned Analysis
    Great Britain Lighting Strike – Load Shed Event (Aug 9, 2019)
  PDCWG Reviewed and Supports
    SCR800 – Adding DC Tie Ramp to GTBD Calculation
    Methodology to Calculate RRS Limits Procedure under NPRR 863
  Regulation & Frequency Control Reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There were 2 FMEs in August
  8/10/2019 06:49:30
    Loss of 1,081 MW
    Interconnection Frequency Response: 1,502 MW/0.1 Hz
    4 of 59 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    4 of 59 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.
  8/11/2019 06:18:42
    Loss of 504 MW
    Interconnection Frequency Response: 1,866 MW/0.1 Hz
    10 of 58 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    12 of 58 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
Chart: IMFR Rolling Average
IMFR Performance currently 1263.43 MW/0.1Hz
Frequency Response Obligation (FRO): 381 MW/0.1 Hz

## Slide 7: Frequency Control Report
August 2019

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15: ERCOT Total Energy from Solar Generation

## Slide 16: ERCOT % Energy from Solar Generation

## Slide 17
Questions?