DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, September 5, 2019 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Barnes, Bill | Reliant |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Energy Services |  |
| Clairborn-Pinto, Shawnee | OPUC |  |
| De La Cruz, Maria | Austin Energy | Alt. Rep. for Reza Ebrahimian |
| Downey, Marty | Electranet Power |  |
| Greer, Clayton | Morgan Stanley |  |
| Hall, Tim | Southern Power Co. |  |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Koenig, Chris | Golden Spread Electric Cooperative | Via Teleconference |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEPSC |  |
| Lee, Billy | Garland Power and Light |  |
| Matt, Kevin | Reliant | Alt. Rep. for Bill Barnes |
| Moore, John | South Texas Electric Cooperative |  |
| Nashawati, Eithar | Oncor |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative | Alt. Rep. for Chris Koenig |
| Smith, Caitlin | Invenergy |  |
| Staples, Boone | Tenaska Power Services |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

- The following proxy was assigned:

- Resmi Surendran to Clayton Greer

| - Guests: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Abbott, Kristin |  | PUCT |  | Via Teleconference |  |
| Ainspan, Malcolm |  | NRG |  | Via Teleconference |  |
| Alford, Anthony |  | CenterPoint Energy |  | Via Teleconference |  |
| Amahatsion, Aster |  | AEPSC |  | Via Teleconference |  |
| Benson, Mariah |  | PUCT |  | Via Teleconference |  |
| Bohan, Michael |  | Tenaska Power Services |  |  |  |
| Borkar, Sandeep |  | LCRA |  | Via Teleconference |  |
| Bruce, Mark |  | Cratylus Advisors |  | Via Teleconference |  |
| Checkley, Jim |  | CTT |  |  |  |
| Chhajed, Pushkar |  | LCRA |  |  |  |
| Cochran, Seth |  | DC Energy |  | Via Teleconference |  |
| Coleman, Diana |  | CPS Energy |  |  |  |
| Cook, Tim |  | CTT |  |  |  |
| Egunjobi, Ransome |  | LCRA |  | Via Teleconference |  |
| Floyd, Rickey |  | Oncor |  |  |  |
| Gross, Blake |  | AEPSC |  |  |  |
| Hasan, Prusha |  | AEE |  | Via Teleconference |  |
| Henderson, Norris |  | FERC |  | Via Teleconference |  |
| Henson, Martha |  | Oncor |  |  |  |
| Hithersay, Brian |  | Brazos Electric |  | Via Teleconference |  |
| Jablonski, Ward |  | CNP |  | Via Teleconference |  |
| Jackson, Jimmy |  | CPS Energy |  |  |  |
| Jewell, Michael |  | Jewell and Associates |  | Via Teleconference |  |
| Kee, David |  | CPS Energy |  |  |  |
| Khayat, Maribel |  | CenterPoint Energy |  | Via Teleconference |  |
| Kremling, Barry |  | GVEC |  |  |  |
| Lange, Clif |  | STEC |  | Via Teleconference |  |
| Melaerts, Sebastien |  | DTE Energy |  | Via Teleconference |  |
| Mercado, David |  | CenterPoint Energy |  | Via Teleconference |  |
| Minchew, Christina |  | Wind Energy of Texas |  | Via Teleconference |  |
| Mulholland, Chad |  | NRG |  | Via Teleconference |  |
| Musher, Danny |  | Key Capture Energy |  | Via Teleconference |  |
| Nagarajan, Ramya |  | DNVGL |  |  |  |
| Oberski, Nicholas |  | LCRA |  | Via Teleconference |  |
| Oltmanns, Steve |  | GE Energy Consulting |  | Via Teleconference |  |
| Pappu, Ajay |  | Invenergy |  | Via Teleconference |  |
| Penney, David |  | Texas Reliability Entity |  | Via Teleconference |  |
| Powell, Christian |  | PEC |  |  |  |
| Preas, Dylan |  | LCRA |  | Via Teleconference |  |
| Rainwater, Kim |  | Environmental Defense Fund |  |  |  |
| Ravulapati, Bharath |  | CTT |  | Via Teleconference |  |
| Reader, Raborn |  | Enterprise Products |  |  |  |
| Reid, Walter |  | Advanced Power Alliance |  |  |  |
| Robertson, Jennifer |  | LCRA |  |  |  |
| Schwarz, Brad |  | Sharyland |  |  |  |
| Shaw, Marka |  | Exelon |  |  |  |
| Siddiqi, Shams |  | Crescent Power Inc. |  |  |  |
| Smith, Chase |  | Southern Power Company |  |  |  |
| Swank, Garrett |  | Front Consulting |  | Via Teleconference |  |
| Turner, Lucas |  | STEC |  | Via Teleconference |  |
| Varnell, John |  | Tenaska Power Services |  | Via Teleconference |  |
| White, Lauri |  | AEP Texas |  |  |  |
| Wittmeyer, Bob |  | Denton Municipal Electric |  |  |  |
| Williams, Wes |  | Bryan Texas Utilities |  |  |  |
| Younger, Joseph |  | Texas Reliability Entity |  | Via Teleconference |  |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  | Via Teleconference |
| Ayson, Janice |  | Via Teleconference |
| Bernecker, John |  |  |
| Bezzam, Joseph |  |  |
| Blevins, Bill |  |  |
| Boren, Ann |  | Via Teleconference |
| Bracy, Phil |  |  |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Du, Pengwei |  | Via Teleconference |
| Fohn, Doug |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  | Via Teleconference |
| Gonzalez, Ino |  |  |
| Huang, Fred |  |  |
| Kane, Erika |  | Via Teleconference |
| Kang, Sun Wook |  |  |
| Koepke, Joel |  | Via Teleconference |
| Jowlabar, Nicholas |  | Via Teleconference |
| Lasher, Warren |  |  |
| Matevosjana, Julia |  |  |
| Miller, Megan |  | Via Teleconference |
| Orr, Robb |  |  |
| Phillips, Cory |  |  |
| Shaw, Pam |  | Via Teleconference |
| Solis, Stephen |  |  |
| Teixeira, Jay |  |  |
| Troublefield, Jordan |  | Via Teleconference |
| Williams, Leslie |  |  |
| Woodfin, Dan |  |  |
| Yan, Ping |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the September 5, 2019 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the order of the agenda.

- Approval of Meeting Minutes

August 8, 2019

This item was deferred to the October 3, 2019 ROS meeting.

Technical Advisory Committee (TAC) Update and Assignments

Mr. Bunch noted that TAC did not meet in August of 2019, and that the motion to endorse Real-Time Co-Optimization (RTC) Key Principle 1.4, Subsection 2(a)-(d): System Inputs into Real-Time Co-Optimization, Key Principle 1.5, Subsections 7-13: Process for Deploying Ancillary Services, and Key Principle 3, Subsections 10-12:  Reliability Unit Commitment (RUC) carried via email vote.

- ERCOT Reports (see Key Documents)

Operations Report

Freddy Garcia reviewed the Operations Report for July 2019.

System Planning Report

Fred Huang presented the July 2019 System Planning Report.

August 13 and August 15, 2019 Energy Emergency Alert (EEA) Update

Dan Woodfin summarized the analysis of August peak demands and the August 13 and August 15, 2019 EEA events, and stated that a comprehensive assessment of summer 2019 events would be presented at the October 8, 2019 ERCOT Board of Directors meeting. Some Market Participants expressed concern for congestion issues particularly in the Victoria area and asked that an analysis of that issue be presented at the November 7, 2019 ROS meeting.

UFLS Survey Results

Joseph Bezzam presented findings of the 2019 Under-Frequency Load Shedding (UFLS) survey.

Inverter-Based Resources Workshop follow up Update

Mr. Huang noted updates to the inverter-based Resources assignments, summarized discussions at the July 30, 2019 Resource Integration Workshop and August 27 and 28, 2019 Dynamics Working Group (DWG) meetings, and reviewed concepts in the draft Planning Guide Revision Request (PGRR), Dynamic Model Quality Test Requirement.

Dynamic Model Improvement Update

Mr. Huang summarized the Dynamic Model improvement efforts, noted the increasing use of generic models to replace user defined models, and reviewed the timeline for completion of modifications to the various models.

Nodal Protocol Revision Request (NPRR) 966, Changes to Support Reactive Power Coordination Tool

Stephen Solis summarized NPRR966 and encouraged Market Participants to attend the September 6, 2019 Reactive Power Coordination Workshop.

New Protocol Revision Subcommittee (PRS) Referrals

NPRR963, Creation of Generation and Controllable Load Resource Group (GCLR Group)

Michael Bohan summarized NPRR963 and noted it is an interim solution until Real Time Co-Optimization is implemented.  Market Participants requested the Performance Disturbance Compliance Working Group (PDCWG) review the issues.

Clayton Greer moved to request PRS continue to table NPRR963 to allow for further review by the PDCWG.  Ian Haley seconded the motion.  The motion carried unanimously.

NPRR964, Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement

Sun Wook Kang summarized NPRR964.  Market Participants requested the Planning Working Group (PLWG) review the issues.

Mr. Greer moved to request PRS continue to table NPRR964 to allow for further review by the PLWG.  Eithar Nashawati seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at PRS, Referred to ROS

NPRR950, Switchable Generation Resources Providing Black Start Service

Mr. Garcia summarized NPRR950, the 8/8/19, and 8/27/19 ERCOT comments.

Mr. Greer moved to endorse NPRR950 as amended by the 8/8/19 ERCOT comments.  Mr. Nashawati seconded the motion.  The motion carried unanimously.

NPRR953, Addition of Relay Loadability Rating Definition

ROS took no action on this item.

Review of Revision Request Language & Impact Analyses

Language Review

Nodal Operating Guide Revision Request (NOGRR) 195, Generator Voltage Control Tolerance Band

ERCOT Staff summarized NOGRR195, the Texas Reliability Entity (TRE) audit recommendations, and notification requirements for Voltage Set Point deviations.  Market Participants expressed concern for the proposed notification timeline and requested ERCOT identify and present specific reliability issues and scenarios wherein changes proposed in NOGRR195 solve those issues, at the October 3, 2019 ROS meeting.

Mr. Haley moved to table NOGRR195 for one month.  Mr. Greer seconded the motion.  The motion carried unanimously.

Impact Analysis

PGGRR072, Treatment of Generation Resource Retirement and Mothball in Regional Transmission Plan and Geomagnetic Disturbance Vulnerability Assessment

ERCOT Staff noted the intent to only grey-box language pertaining to creation of the Market Information System (MIS) Public Area link for publishing and maintaining the list of Generation Resources to be set to out of service, and requested all other language become effective upon Board approval.

Mr. Greer moved to endorse and forward to TAC the 8/8/19 ROS Report and the Revised Impact Analysis for PGRR072 with a recommended effective date of upon system implementation for items (4)(a) of Section 3.1.4.1.1, Regional Transmission Plan Cases, (4)(a) of Section 3.1.8, Planning Geomagnetic Disturbance (GMD) Activities, and (1)(b)(i) of Section 6.11, Process for Developing Geomagnetically-Induced Current (GIC) System Models; and November 1, 2019 for all remaining language.  Wes Woitt seconded the motion.  The motion carried unanimously.

NOGRR194, Relocate Black Start Training Attendance Requirements to Nodal Operating Guides

Mr. Greer moved to endorse and forward to TAC the 8/8/19 ROS Report and the Impact Analysis for NOGRR194.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

PGRR071, Update Interconnection Process Timetables to Align with NPRR926

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

ROS took no action on these items.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed recent PDCWG activities.

NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks

NOGRR184, Related to NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks

Mr. Bunch summarized the August 8, 2019 ROS discussion on NPRR919 and NOGRR184, noting that the majority of PDCWG members did not support the request for exemption.

Mr. Greer moved to reject NOGRR184, and to request PRS reject NPRR919.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

System Change Request (SCR) 800, Addition of DC Tie Ramp to GTBD Calculation

Mr. Greer moved to endorse SCR800 as submitted.  Kenneth Bowen seconded the motion.  The motion carried unanimously.

Methodology to Calculate RRS Limits

Mr. Mulholland summarized the proposed revisions to the Methodology for Calculating Responsive Reserve Service (RRS) Limits for Individual Resources.

Mr. Greer moved to approve the Methodology for Calculating RRS Limits for Individual Resources as submitted.  Mr. Bunch seconded the motion.  The motion carried unanimously.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed recent OWG activities.

NOGRR183, Remedial Action Scheme (RAS) Submittal and Review Requirements

NOGRR190, Related to NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment

NPRR955, Define Limited Impact Remedial Action Scheme (RAS)

ROS took no action on these items.

NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment

Mr. Nashawati to endorse NPRR937 as amended by the 8/2/2019 GSEC comments.  Mr. Greer seconded the motion.  The motion carried unanimously.

High Impact Transmission Elements (HITE) List

Mr. Woitt moved to endorse the 2019 HITE list as presented.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Brian Hithersay reviewed recent SSWG activities and presented proposed revisions to the SSWG Procedure Manual.

Mr. Greer moved to approve the SSWG Procedure Manual as submitted.  Billy Lee seconded the motion.  The motion carried unanimously.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Aster Amahatsion reviewed recent PGDTF activities.

Other Business

Energy Storage Workshop Update

ERCOT Staff summarized the energy storage integration issues and provided updates on assignments to ROS and the Wholesale Market Subcommittee (WMS).  Julia Matevosjana reviewed existing and new Ancillary Service products proposed in NPRR863, Creation of ERCOT Contingency Reserve Service, summarized the Ancillary Service performance and testing requirements, and stated that ERCOT does not anticipate the requirements to change with implementation of energy storage Resources in ERCOT systems as a single device.

Annual TAC Subcommittee Structural Review

ROS and its Working Groups and Task Forces leadership reported on their assessment of meeting efficiencies. Mr. Bunch reminded Market Participants that the September 17, 2019 TAC and TAC Subcommittee Structural and Procedural Review would be WebEx only.

2020 Meeting Schedule

Market Participants reviewed the 2020 Meeting Calendar.

Review of Open Action Items

Market Participants reviewed the Open Action Items.

No Report

- Black Start Working Group (BSWG)

- DWG - Network Data Support Working Group (NDSWG) - PLWG

- Operations Training Working Group (OTWG)

- System Protection Working Group - Voltage Profile Working Group (VPWG)

Adjournment

Mr. Bunch adjourned the September 5, 2019 ROS meeting 2:41 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2019/9/5/165203-ROS