## Slide 1: PLWG report to ROS October 3, 2019
Report based on PLWG Sept 18, 2019 meeting

## Slide 2: PGRR071
PGRR071 Update Interconnection Process Timetables to Align with NPRR926
  PLWG recommends ROS approve with minor changes.
  The minor change is to remove the words “or IE” from the column Responsible Entity in the interconnection timetable of Section 5.7.5 of the Planning Guide.

## Slide 3: NOGRR183/NPRR955
NOGRR183 Remedial Action Scheme (RAS) Submittal and Review Requirements &
NPRR955 Define Limited Impact Remedial Action Scheme (RAS)
  ERCOT reviewed changes made to the NOGRR 183 that was submitted on September 13, 2019.
  PLWG tabled for further discussion next month.

## Slide 4: NPRR964
  NPRR964 Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement
  ERCOT discussed the language related to the planning studies used to determine the reliability impact of a NSO’s Generation Resource.
  PLWG suggested a change in Section 3.14.1.2(3)(d) …. (next slide)
  PLWG recommends the NPRR move forward

## Slide 5: NPRR964 (Continue)
  NPRR964 Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement
  Changed Section 3.14.1.2 (3)(d):
  ERCOT in consultation with affected TSP(s) may, in its sole discretion, rely upon the results of past planning studies to determine if the Generation Resource(s) is necessary to support ERCOT System reliability.