## Slide 1
Resource Definition Task Force
Distributed Generation Review

## Slide 2: Agenda
Brief review of Resource Definition Task force (RTF) work on Generation Resources
Proposed NPRR RTF-5 Intended to clarify terms for Distributed Generation including: “DG”, “unregistered DG” and “registered DG”

## Slide 3: Generation Resource Definition Framework
http://www.ercot.com/content/wcm/key_documents_lists/130715/Resource_Matrix_for_Generators.pptx

## Slide 4: Distributed Generation Definition
Distributed Generation (DG)
An electrical generating facility located at a Customer’s point of delivery (point of common coupling) ten megawatts (MW) or less and connected at a voltage less than or equal to 60 kilovolts (kV) which may be connected in parallel operation to the utility system. Due to size and market differences, Distributed Generation falls into any one of the three different categories within ERCOT:
  Unregistered Distributed Generation (see Unregistered DG)
  Settlement Only Distributed Generator (see Settlement Only Distribution Generator)
  Distribution Generation Resource (See Resource)

## Slide 5: Unregistered Distributed Generation Definition
Unregistered Distributed Generation
The term is used to refer to DG systems that are not registered with ERCOT. They are either systems that are below the threshold for registration identified in section 16.5(5) and have not chosen to register with ERCOT or are systems larger than the threshold but do not ever export energy to the ERCOT system.

## Slide 6: Updates
1) Replace language throughout protocols such as:
“DG generation of equal to or lower than the DG registration threshold”
  with
  “Unregistered DG” or “UDG”
2) Clarify language in other sections based on the new definitions, since in many cases the use of the term “DG” was meant only to refer to “unregistered DG”.
“Distributed Generation”
  with
  “Unregistered DG” or “UDG”
3) Per RTF Charter, no substantive changes have been made.