## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for September 2019

## Slide 2: Non-IRR GREDP < 85% – September 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 190 | 2,406 | 2,857 | 4.18 | 84.21

## Slide 3: IRR Summary – September 2019
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.92 | 73.55 | 89.17
GREDP Median (%) | 96.42 | 85.61 | 92.45
Average MW Error | 3.25 | 3.63 | 4.37
Median MW Error | 2.95 | 2.95 | 3.15
Total Intervals Scored | 18,077 | 7,567 | 6,617
100+ Intervals Scored | 42 | 171 | 15
Total Intervals Scored Average | 84.87 | 180.17 | 441.13

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Sep. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,406 | 1,438 | 2.90 | 97.77
Unit 3 | 1,354 | 1,358 | 4.44 | 99.71
Unit 5 | 899 | 935 | 3.24 | 96.15
Unit 6 | 804 | 824 | 4.92 | 97.57
Unit 7 | 548 | 550 | 3.17 | 99.64
Unit 8 | 526 | 540 | 2.43 | 97.41
Unit 11 | 505 | 507 | 3.57 | 99.61
Unit 12 | 475 | 487 | 3.18 | 97.54
Unit 15 | 372 | 373 | 2.62 | 99.73
Unit 16 | 356 | 357 | 3.16 | 99.72
Unit 17 | 300 | 311 | 2.77 | 96.46
Unit 21 | 240 | 249 | 5.83 | 96.39
Unit 22 | 236 | 236 | 3.64 | 100.00
Unit 23 | 223 | 228 | 2.77 | 97.81
Unit 26 | 184 | 185 | 3.46 | 99.46
Unit 28 | 159 | 163 | 3.88 | 97.55
Unit 29 | 144 | 144 | 2.97 | 100.00

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Sep. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 30 | 143 | 143 | 2.53 | 100.00
Unit 32 | 123 | 128 | 1.10 | 96.09
Unit 33 | 127 | 127 | 2.89 | 100.00
Unit 35 | 118 | 123 | 3.87 | 95.93
Unit 36 | 120 | 120 | 4.88 | 100.00
Unit 37 | 117 | 117 | 3.40 | 100.00
Unit 38 | 116 | 117 | 4.34 | 99.15
Unit 39 | 105 | 110 | 2.69 | 95.45
Unit 40 | 108 | 109 | 4.28 | 99.08
Unit 42 | 98 | 103 | 3.51 | 95.15

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – Sep. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,573 | 1,661 | 6.09 | 94.70
Unit 4 | 1,131 | 1,200 | 4.69 | 94.25
Unit 9 | 507 | 539 | 8.63 | 94.06
Unit 10 | 462 | 524 | 3.15 | 88.17
Unit 13 | 441 | 474 | 2.52 | 93.04
Unit 14 | 408 | 430 | 2.39 | 94.88
Unit 18 | 271 | 292 | 2.84 | 92.81
Unit 19 | 252 | 274 | 2.95 | 91.97
Unit 20 | 237 | 268 | 2.32 | 88.43
Unit 24 | 196 | 212 | 7.78 | 92.45
Unit 25 | 197 | 211 | 4.86 | 93.36
Unit 27 | 140 | 165 | 9.74 | 84.85
Unit 31 | 118 | 138 | 2.73 | 85.51
Unit 34 | 107 | 126 | 0.90 | 84.92
Unit 41 | 66 | 103 | 3.89 | 64.08