APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, August 8, 2019 – 9:30 a.m.

| Attendance |  |  |  |  |
| --- | --- | --- | --- | --- |
| Members: |  |  |  |  |
| Barnes, Bill |  | Reliant |  |  |
| Bowen, Kenneth |  | CPS Energy |  |  |
| Bunch, Kevin |  | EDF Energy Services |  |  |
| Clairborn-Pinto, Shawnee |  | OPUC |  |  |
| Downey, Marty |  | Electranet Power |  |  |
| Greer, Clayton |  | Morgan Stanley | Via Teleconference |  |
| Hall, Tim |  | Southern Power Co. |  |  |
| Haley, Ian |  | Luminant Generation |  |  |
| Hudson, Tony |  | TNMP |  |  |
| Koenig, Chris |  | Golden Spread Electric Cooperative |  |  |
| Kroskey, Tony |  | Brazos Electric Power Cooperative |  |  |
| Kunkel, Dennis |  | AEPSC |  |  |
| Lee, Billy |  | Garland Power and Light |  |  |
| Marr, Daniel |  | LCRA | Alt. Rep. for Kris Koellner |  |
| Moore, John |  | South Texas Electric Cooperative |  |  |
| Nashawati, Eithar |  | Oncor |  |  |
| Reid, Mike |  | Air Liquide |  |  |
| Smith, Caitlin |  | Invenergy |  |  |
| Staples, Boone |  | Tenaska Power Services |  |  |
| Valagura, Bill |  | Calpine Corporation |  |  |
| Woitt, Wes |  | CenterPoint Energy |  |  |
| Zhang, Jianhui |  | Austin Energy | Alt. Rep. for Reza Ebrahimian |  |
| Guests: |  |  |  |  |
| Abbott, Kristin | PUCT |  | Via Teleconference |  |
| Alford, Anthony | CenterPoint Energy |  | Via Teleconference |  |
| Amahatsion, Aster | AEPSC |  | Via Teleconference |  |
| Benson, Mariah | PUCT |  | Via Teleconference |  |
| Bruce, Mark | Cratylus Advisors |  | Via Teleconference |  |
| Clark, Jack | NextEra |  |  |  |
| Cochran, Seth | DC Energy |  | Via Teleconference |  |
| Coleman, Katie | TIEC |  |  |  |
| Cook, Tim | CTT |  |  |  |
| Cortez, Sarai | Sharyland |  |  |  |
| Danielson, Christian | EPE Consulting |  | Via Teleconference |  |
| Davis, Micheal | CenterPoint Energy |  | Via Teleconference |  |
| Donohoo, Ken | EPE |  |  |  |
| Egunjobi, Ransome | LCRA |  |  |  |
| Fernandes, John | Customized Energy Solutions |  | Via Teleconference |  |
| Gross, Blake | AEPSC |  |  |  |
| Gurrala, Sharmila | CPS Energy |  | Via Teleconference |  |
| Henderson, Norris | FERC |  | Via Teleconference |  |
| Helton, Bob | Engie |  |  |  |
| Henry, Mark | Texas Reliability Entity |  | Via Teleconference |  |
| Henson, Martha | Oncor |  | Via Teleconference |  |
| Hudis, Gabriella | Gabel and Associates |  | Via Teleconference |  |
| Jackson, Jimmy | CPS Energy |  |  |  |
| Jonas, Todd | Tenaska Power Services |  | Via Teleconference |  |
| Joshi, Karan | Pattern Energy |  | Via Teleconference |  |
| Juricek, Mike | Oncor |  | Via Teleconference |  |
| Karlik, John | Austin Energy |  | Via Teleconference |  |
| Khayat, Maribel | CenterPoint Energy |  | Via Teleconference |  |
| Liu, Meng | Tenaska Power Services |  | Via Teleconference |  |
| Loyferman, Larisa | CenterPoint Energy |  | Via Teleconference |  |
| Marengo, Delette | Tenaska Power Services |  | Via Teleconference |  |
| Mark, Daniel | LCRA |  |  |  |
| Mulholland, Chad | NRG |  | Via Teleconference |  |
| Nagarajan, Ramya | DNVGL |  | Via Teleconference |  |
| Novosad, Dilan | DNVGL |  |  |  |
| Oberski, Nicholas | LCRA |  | Via Teleconference |  |
| Oltmanns, Steve | GE Energy Consulting |  | Via Teleconference |  |
| Orr, Sara | Golden Spread Electric Cooperative |  | Via Teleconference |  |
| Pappu, Ajay | Invenergy |  | Via Teleconference |  |
| Penney, David | Texas Reliability Entity |  | Via Teleconference |  |
| Phipps, Cody | WETT |  | Via Teleconference |  |
| Powell, Christian | PEC |  |  |  |
| Preas, Dylan | LCRA |  |  |  |
| Rainwater, Kim | Environmental Defense Fund |  |  |  |
| Ravulapati, Bharath | CTT |  |  |  |
| Reader, Raborn | Enterprise Products |  |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |  |  |
| Sams, Bryan | Lone Star Transmission |  |  |  |
| Shaw, Marka | Exelon |  | Via Teleconference |  |
| Siddiqi, Shams | Crescent Power Inc. |  |  |  |
| Smith, Chase | Southern Power Company |  |  |  |
| Surendran, Resmi | Shell Energy |  | Via Teleconference |  |
| Tabrizi, Mike | DNV GL |  | Via Teleconference |  |
| Tierney-Lloyd, Mona | Enel X |  |  |  |
| Varnell, John | Tenaska Power Services |  | Via Teleconference |  |
| Velasquez, Ivan | Oncor |  | Via Teleconference |  |
| Viswanadham, Venkata | DNVGL |  | Via Teleconference |  |
| Wittmeyer, Bob | Denton Municipal Electric |  |  |  |
| Woodruff, Taylor | Oncor |  |  |  |
| Woods, Brad | Texas Reliability Entity |  | Via Teleconference |  |
| Younger, Joseph | Texas Reliability Entity |  | Via Teleconference |  |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  | Via Teleconference |
| Anderson, Conner |  | Via Teleconference |
| Ballew, Aaron |  | Via Teleconference |
| Bernecker, John |  |  |
| Bezzam, Joseph |  | Via Teleconference |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Bracy, Phil |  |  |
| Clifton, Suzy |  |  |
| Du, Pengwei |  | Via Teleconference |
| Fohn, Doug |  |  |
| Garcia, Freddy |  |  |
| Gonzalez, Ino |  | Via Teleconference |
| Kadel, Nemica |  | Via Teleconference |
| Kane, Erika |  |  |
| King, Blake |  | Via Teleconference |
| Hanson, Kevin |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Johnson, Erik |  | Via Teleconference |
| Jowlabar, Nicholas |  | Via Teleconference |
| Lasher, Warren |  |  |
| Mago, Nitika |  |  |
| Mereness, Matt |  |  |
| Morehead, Juliana |  | Via Teleconference |
| Phillips, Cory |  |  |
| Rajagopalan, Sidharth |  | Via Teleconference |
| Rosel, Austin |  | Via Teleconference |
| Ruane, Mark |  | Via Teleconference |
| Shanks, Magie |  | Via Teleconference |
| Sharma, Sandip |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thompson, Lori |  | Via Teleconference |
| Wang, Shawn |  | Via Teleconference |
| Warnken, Pete |  | Via Teleconference |
| Woodfin, Dan |  |  |
| Yan, Ping |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the August 8, 2019 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the order of the agenda.

- Approval of Meeting Minutes (see Key Documents)

July 11, 2019

Dennis Kunkel moved to approve the July 11, 2019 ROS meeting minutes as submitted.  Billy Lee seconded the motion.  The motion carried with one abstention from the Consumer (OPUC) Market Segment.

Technical Advisory Committee (TAC) Update and Assignments

Tim Hall reviewed the disposition of items considered at the July 24, 2019 TAC meeting and summarized the Real Time Co-Optimization (RTC) discussion.

- ERCOT Updates (see Key Documents)

Operations Report

Nitika Mago reviewed the June 2019 Operations Report.

System Planning Report

Jeff Billo presented the June 2019 System Planning Report.

Panhandle Stability Study Update

ERCOT Staff provided an overview of the Panhandle Stability Study, including analysis of existing conditions and integration with Lubbock Power and Light, summarized dynamic voltage stability issues, and presented next steps.

Inverter-Based Resources Workshop follow up Update

ERCOT Staff summarized updates to the inverter-based Resources assignments and reviewed the timeline.

Southern Cross Directive #4, Development of Methodology for Outage Coordination

Matt Mereness reviewed the Determination Summary for Southern Cross Directive #4, Development of Methodology for Outage Coordination and summarized discussions at the June 26 and July 25, 2019 Operations Working Group (OWG) meetings.  Some Market Participants expressed concern regarding the Outage coordination methodology and impacts to Direct Current Ties (DC Ties) other than the Southern Cross Transmission DC Tie.  Market Participants and ERCOT Staff discussed the methodology and implementation of Nodal Protocol Revision Request (NPRR) 818, Allow Curtailment of DC Tie Load Prior to Declaring Emergency Condition, and NPRR825, Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing any DC Tie Load.  Mark Bruce stated that Southern Cross Transmission supports the ERCOT Determination Summary and the effort to be responsive to Public Utility Commission of Texas (PUCT) requests in a timely manner.  Market Participants offered clarifications to the Determination Summary.

Mr. Kunkel moved to endorse the Determination Summary for Southern Cross Directive #4, Development of Methodology for Outage Coordination, as revised by ROS.  Eithar Nashawati seconded the motion.  The motion carried unanimously.

New Protocol Revision Subcommittee (PRS) Referrals

NPRR950, Switchable Generation Resources Providing Black Start Service

ERCOT Staff summarized NPRR950 and the 8/8/19 ERCOT comments, and noted the Black Start Working Group (BSWG) discussion of the technical requirements.  Market Participants requested additional time to review the issues.

Bill Barnes moved to request PRS continue to table NPRR950 to allow for further review by ROS.  Caitlin Smith seconded the motion.  The motion carried unanimously.

NPRR953, Addition of Relay Loadability Rating Definition

ERCOT Staff summarized NPRR953, the 7/10/19 ERCOT comments, and reviewed the implementation timeline.  Market Participants requested the System Protection Working Group (SPWG) and Steady State Working Group (SSWG) review the issues.

Mr. Nashawati moved to request PRS continue to table NPRR953 to allow for further review by SPWG and SSWG.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

NPRR955, Define Limited Impact Remedial Action Scheme (RAS)

Mr. Nashawati moved to request PRS continue to table NPRR955 to allow for further review by OWG and the Planning Working Group (PLWG).  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Review of Revision Request Language & Impact Analyses

Language Review

Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

ERCOT Staff summarized PGRR073.  Market Participants requested additional review of the issues.

Mr. Nashawati moved to table PGRR073.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Nodal Operating Guide Revision Request (NOGRR) 194, Relocate Black Start Training Attendance Requirements to Nodal Operating Guides

ERCOT Staff summarized NOGRR194 and the 8/7/19 ERCOT comments.

Ian Haley moved to recommend approval of NOGRR194 as amended by the 8/7/19 ERCOT comments.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Impact Analysis

NOGR191, Related to NPRR939, Modification to Load Resources Providing RRS to Maintain Minimum PRC on Generators During Scarcity Conditions

Marty Downey moved to endorse and forward to TAC the 7/11/19 ROS Report and the Impact Analysis for NOGRR191.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

PDCWG (see Key Documents)

Chad Mulholland reviewed recent PDCWG activities.

NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks

NOGRR184, Related to NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks

Mr. Mulholland summarized NPRR919, the associated 6/28/19 ERCOT comments, and NOGRR184.  Mr. Mulholland stated that PDCWG reached consensus in recommending ROS reject both Revision Requests and to avoid setting a precedent for granting exemptions to reliability obligations for specific Resources.  Market Participants requested additional time to review the issues.  ROS took no action on these items.

System Change Request (SCR) 800, Addition of DC Tie Ramp to GTBD Calculation

ROS took no action on this item.

PLWG (see Key Documents)

Tim Cook reviewed recent PLWG activities.

PGRR071, Update Interconnection Process Timetables to Align with NPRR926

ROS took no action on this item.

PGRR072, Treatment of Generation Resource Retirement and Mothball in Regional Transmission Plan and Geomagnetic Disturbance Vulnerability Assessment

Mr. Cook summarized PGRR072 and the 7/30/19 ERCOT comments.  Market Participants discussed potential clarifications regarding a notification and/or confirmation process for Generation Resources with multiple owners, and offered clarifications to the 7/30/19 ERCOT comments.

Mr. Haley moved to recommend approval of PGRR072 as amended by the 7/30/19 ERCOT comments as revised by ROS.  Mr. Nashawati seconded the motion.  The motion carried unanimously.

OWG (see Key Documents)

High Impact Transmission Elements (HITE) List

Mr. Lee reviewed recent OWG activities, including the High Impact Transmission Element (HITE) list.

NOGRR183, Remedial Action Scheme (RAS) Submittal and Review Requirements

NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment (

NOGRR190, Related to NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment

ROS took no action on these items.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Aster Amahatsion reviewed recent PGDTF activities.

2019 PGDTF Leadership

Vice Chair: Amjed Kandah, Oncor

Mr. Nashawati moved to approve the 2019 PGDTF Leadership as presented.  Mr. Haley seconded the motion.  The motion carried unanimously.

Methodology for Assessing GMD Impacts on ERCOT Power Systems

Ms. Amahatsion presented the updated Methodology for Assessing Geomagnetic Disturbance (GMD) Impacts on ERCOT Power Systems.  Some Market Participants expressed concern for the lack of clarity in the assessment criteria and requested additional review of the issues.  Market Participants and ERCOT Staff discussed the complexities in the qualitative approach to the methodology, noted that the methodology will continue to evolve, and reviewed the submission timeline.

Mr. Barnes moved to endorse the Methodology for Assessing GMD Impacts on ERCOT Power Systems as submitted.  Mr. Kunkel seconded the motion.  The motion carried with three abstentions from the Independent Generator (Luminant) and Municipal (2) (Austin Energy, Garland Power and Light) Market Segments.

Network Data Support Working Group (NDSWG)

Bharath Ravulapati reviewed NDSWG activities.

SPWG

Micheal Davis reviewed SPWG activities.

Other Business

Energy Storage Workshop Update

Warren Lasher summarized the energy storage integration issues and provided updates on assignments to ROS, the Wholesale Market Subcommittee (WMS), and the Real-Time Co-Optimization Task Force (RTCTF).  Market Participants requested ERCOT provide a formalized monthly update to ROS on the energy storage integration issues.  Market Participants and ERCOT Staff discussed impacts related to Reliability Unit Commitment (RUC) and battery devices.  Mr. Bunch requested OWG consider the issues in developing appropriate battery state of charge requirements and/or procedures for RUC.

Process for Resource Entities to have access to confidential studies/data for Generic Transmission Constraint (GTC) exit studies

In response to Market Participant requests to have access to the data necessary to perform GTC studies, Dan Woodfin stated that the information in the dynamic stability studies, including stability models for the generators is deemed confidential under the Protocols, and that although making it non-confidential has been discussed many times in the past it has been determined that they need to remain confidential.

Annual TAC Subcommittee Structural Review

Bob Helton announced the September 17, 2019 TAC and TAC Subcommittee Structural Review would take place via WebEx only, and summarized specific criteria for ROS and its working groups and task forces to consider in evaluating potential meeting efficiencies.

Review of Open Action Items

Market Participants reviewed the Open Action Items.

No Report

BSWG

Dynamics Working Group (DWG)

Operations Training Working Group (OTW)

SSWG

Voltage Profile Working Group (VPWG)

Adjournment

Mr. Bunch adjourned the August 8, 2019 ROS meeting 1:11 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2019/8/8/165198-ROS