## Slide 1
Analysis of DG Price Response - 2019
Carl L Raish
Principal Load Profiling and Modeling
Demand Side Working Group – October 22, 2019

## Slide 2: 2019 High Price Days
 | 2011 | 2019 (as of Oct 16)
High Price Days (1 or more zones) | 48 | 55
High Price Days (all 8 zones) | 20 | 26
High Price Summer Days (1 or more zones) | 29 | 35
High Price Summer Days (all 8 zones) | 19 | 23
4-CP Days with High Prices | 3 | 4
Near-CP Days with High Prices | 6 (out of 11) | 14 (out of 20)

## Slide 3: 2019 DG Price Response Analysis
All SODG included except PV, WND and UNK fuel
Resources increase count = responders (33% of events)
Meter-before/Meter-After baseline adopted
All SOTG excluded (prior analysis had included them)

## Slide 4: 2019 DG Price Response Analysis

## Slide 5: 2019 DG Price Response Analysis – Aug 12 - 15
All SODG aggregated across load zones
Aug 12 – 4-CP day
Aug 13 – Near-CP/High Price/EEA Day
Aug 14 – Near-CP/High Price Day
Aug 15 – High Price/EEA Day
Aug 16 – Near-CP/High Price Day

## Slide 6: 2019 DG Price Response Analysis – Aug 12 - 15

## Slide 7: 2019 DG Non-Price Responsive – Aug 12 - 15
All Non-PR SODG aggregated across load zones
Aug 12 – 4-CP day
Aug 13 – Near-CP/High Price/EEA Day
Aug 14 – Near-CP/High Price Day
Aug 15 – High Price/EEA Day
Aug 16 – Near-CP/High Price Day

## Slide 8: 2019 DG Price Response Analysis – Aug 12 - 15

## Slide 9: Questions?
ON
OFF
craish@ercot.com 512/248-3876