## Slide 1
ERS Deployment and Performance Review for August 13th and 15th
ERCOT Staff
October 22, 2019

## Slide 2: ERS10 Deployment on August 13th
On August 13th ERS10 was improperly deployed by VDI from ERCOT.
  ERS10 can only be deployed when ERCOT is in EEAL2 or EEAL3 conditions as per NP 6.5.9.4.2(2)(a)(iii) & 6.5.9.4.2(3)(b)
Even though improperly deployed ERS10 deployment may be included in other presentations for the purpose of better understanding the behavior of ERS resources prior to, during , and immediately following an event.
  Slides including the response from ERS-30 & ERS-10 are available in the appendix at the end of this slide deck
Resource and QSE performance pertaining to ERS10 will not be measured.

## Slide 3: August 13th ERS Deployment
Total deployment time:
NWS ERS-30 & WS ERS-30_ TP 3 & 4 |  | 0:23:05
ERS-30_TP3 only |  | 0:04:36

## Slide 4: August 13th, 2019 ERS Fleet Deployment (NWS-30, WS-30)
Deployment Instruction
Recall Instruction
Start Sustained
Response Period

## Slide 5: August 13th, 2019 ERS Fleet Deployment (NWS-30, WS-30)
Deployment Instruction
Recall Instruction
Start Sustained
Response Period
Interval Beginning 16:00 (TP4)
12% peak
overprovision

## Slide 6: August 15th ERS Deployment
Total deployment time:
NWS ERS-30 & WS ERS-30_ TP 3 & 4 |  | 1:12:25
ERS-30_TP3 only |  | 0:16:36
ERS-30_TP 4 only |  | 0:21:56

## Slide 7: August 15th, 2019 ERS Fleet Deployment (NWS-30, WS-30)
Deployment Instruction
Recall Instruction
Start Sustained
Response Period

## Slide 8: August 15th, 2019 ERS Fleet Deployment (NWS-30, WS-30)
Recall Instruction
Start Sustained
Response Period
Deployment Instruction
Interval Beginning 15:45 (TP3)
11% peak
overprovision

## Slide 9: ERS Deployment on August 13, and August 15
QSE & Resource Level Events posted to MIS
  1 QSE failed August 15th event
Next Steps for Jun-Sept 2019 SCT
  Prior to November 14, 2019 ERCOT will provide for review
    QSE Level Event Performance Standard Contract Term for review
    Resource and QSE Level Availability for the SCT

## Slide 10: Impacts of the August deployments on the October19January20 SCT
If a Resource passed either event, they are not subject to testing for 330 days unless they fail Availability
Test list sent out to QSEs

## Slide 11: Issues that have been raised
Considerable load reduction from the ERS Resources prior to ERS deployment. Is this acceptable?
Re-evaluate the 10 hour recovery time and its impact on the Reliability Deployment Price Adder (NPRR626).
TP3 &TP4 straddle summer peak hours.

## Slide 12: Appendix

## Slide 13: August 13th, 2019 ERS Fleet Deployment (Entire Day View)
Deployment Instruction
Recall Instruction
Start Sustained
Response Period
Includes NWS30, WS30 & NWS10 deployment

## Slide 14: August 13th, 2019 ERS Fleet Deployment (NWS-30, WS-30, NWS- 10)
ERS-10* Start
Sustained
Response Period
Recall
ERS-30
Recall
ERS-10
ERS-30 Start
Sustained
Response Period
Note: For clarity, only start times for sustained response period are plotted
* ERS-10 was deployed improperly

## Slide 15: August 15th, 2019 ERS Fleet Deployment* (Entire Day View)
Deployment Instruction
Recall Instruction
Start Sustained
Response Period
Weather Sensitive and Non-Weather Sensitive ERS-30 Deployed

## Slide 16: August 15th, 2019 ERS Fleet Deployment (NWS-30, WS-30)
Deployed
ERS-30 (TP3)
Recalled ERS-30
Deployed
ERS-30* (TP4)
ERS-30 TP3
Start Sustained
Response Period
*An additional 0.1 MW of ERS-30 deployed (Time Period 4)
ERS-30 TP4
Start Sustained
Response Period