## Slide 1
Item 4: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
October 23, 2019

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT]*
NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment [GSEC]*
NPRR957, RTF-4 Definition of Energy Storage Resource and Related Registration and Telemetry Requirements [ERCOT]*
NPRR969, Clean-up of Protocol 19.8, Retail Market Testing [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR902, ERCOT Critical Energy Infrastructure Information [ERCOT]
  IA: Between $150k and $225k Priority 2020; Rank 2890
NPRR965, GREDP Shutdown Exemption [Luminant]
  IA: Between $10k and $20k Priority 2020; Rank 2900
NPRR968, Revise EEA Level 3 Triggers from 1375 MW to 1430 MW to Align with New Most Severe Single Contingency Value [ERCOT]
  IA: Less than $10k O&M Priority n/a; Rank n/a
SCR800, Addition of DC Tie Ramp to GTBD Calculation [ERCOT]
  IA: Between $30k and $50k Priority 2020; Rank 2910
SCR805, Provide Early Access to Certain 60-Day Reports to TSPs Upon Request [ERCOT]
  IA: Between $40k and $60k Priority 2019; Rank 2920

## Slide 4: Appendix

## Slide 5: NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT]
Proposed Effective Date: January 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR revises Section 3.15, Voltage Support, to clarify the range of voltages at the Point of Interconnection (POI) and circumstances for which a Generation Resource’s reactive capability must be designed to meet.
PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR849 as amended by the 9/11/19 ERCOT comments. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for NPRR849.

## Slide 6: NPRR902, ERCOT Critical Energy Infrastructure Information [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2890
ERCOT Impact Analysis: Between $150k and $225k; no impacts to ERCOT staffing; impacts to Data and Information Products (DAIP), Data Access & Transparency, Integration, and External Public; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR clarifies parties’ responsibilities regarding ERCOT Critical Energy Infrastructure Information (ECEII). This NPRR defines ECEII, adds lists of items that are considered ECEII, specifies the restrictions imposed upon parties that receive or create ECEII, and provides a framework for the submission of ECEII to ERCOT.
PRS Decision: On 9/12/19, PRS voted to recommend approval of NPRR902 as amended by the 9/4/19 ERCOT comments. There was one abstention from the Independent Generator (Luminant) Market Segment. On 10/10/19, PRS voted to endorse and forward to TAC the 9/12/19 PRS Report and Revised Impact Analysis for NPRR902 with a recommended priority of 2020 and a rank of 2890. There was one abstention from the Independent Generator (Luminant) Market Segment.

## Slide 7: NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment [GSEC]
Proposed Effective Date: January 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR removes distribution-level and non-Settlement metered Block Load Transfers (BLTs) from Energy Emergency Alert (EEA) Level 2 deployment.
PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR937 as amended by the 8/2/19 GSEC comments. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report as amended by the 10/7/19 GSEC comments and the Impact Analysis for NPRR937.

## Slide 8: NPRR957, RTF-4 Definition of Energy Storage Resource and Related Registration and Telemetry Requirements [ERCOT]
Proposed Effective Date: January 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR establishes the terms “Energy Storage System” (ESS) and “Energy Storage Resource” (ESR), with ESS serving as an “umbrella term” for storage assets in general, and ESR corresponding to ESSs that are eligible to participate in Security-Constrained Economic Dispatch (SCED) and/or provide Ancillary Services; adds new Section 3.8.6, Energy Storage Resources, to clarify that the Resource Entity and Qualified Scheduling Entity (QSE) representing an ESR are responsible for following all requirements associated with Generation Resources and Controllable Load Resources. Under this process, an ESR must be registered with ERCOT as both a Generation Resource and a Controllable Load Resource; adds new paragraph (12) to Section 6.5.5.2, Operational Data Requirements, to specify telemetry requirements unique to ESRs; and adds new paragraph (6) to Section 16.5, Registration of a Resource Entity, to provide greater transparency of ERCOT’s current practice of requiring a Resource Entity to register an ESR as both a Generation Resource and a Controllable Load Resource.
PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR957 as amended by the 9/5/19 ERCOT comments. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for NPRR957.

## Slide 9: NPRR965, GREDP Shutdown Exemption [Luminant]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2900
ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to BI & Data Analytics; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR excludes from the Generation Resource Energy Deployment Performance (GREDP) calculation the five-minute intervals in which a Quick Start Generation Resource (QSGR) is engaging in the decommitment process under Section 3.8.3.1, Quick Start Generation Resource Decommitment Decision Process, or telemetering SHUTDOWN status.
PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR965 as submitted. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for NPRR965 with a recommended priority of 2020 and a rank of 2900.

## Slide 10: NPRR968, Revise EEA Level 3 Triggers from 1375 MW to 1430 MW to Align with New Most Severe Single Contingency Value [ERCOT]
Proposed Effective Date: January 1, 2020
ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to NoticeBuilder and Energy Management System (EMS); ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR updates Protocol language for compliance with North American Electric Reliability Corporation (NERC) Reliability Standard BAL-002-3, Disturbance Control Standard – Contingency Reserve for Recovery from a Balancing Contingency Event, and EOP-011-1, Emergency Operations. The NPRR language changes the Physical Responsive Capability (PRC) trigger for EEA Level 3 to match a new Most Severe Single Contingency (MSSC) of 1,430 MW, which ERCOT intends to implement on January 1, 2020.
PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR968 as submitted. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report and the Impact Analysis for NPRR968.

## Slide 11: NPRR969, Clean-up of Protocol 19.8, Retail Market Testing [ERCOT]
Proposed Effective Date: January 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR clarifies language regarding ERCOT’s role in qualifying Market Participants.
PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR969 as submitted. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report as amended by the 9/23/19 AEP comments and the Impact Analysis for NPRR969.

## Slide 12: SCR800, Addition of DC Tie Ramp to GTBD Calculation [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2910
ERCOT Impact Analysis: Between $30k and $50k; no impacts to ERCOT staffing; impacts to EMS, Data Management, Market Management System (MMS), and BI & Data Analytics; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR incorporates Direct Current Tie (DC Tie) scheduled ramp into SCED by updating the formula used by the Resource Limit Calculator to calculate the Generation To Be Dispatched (GTBD) value to include the addition of a scheduled 5-minute DC Tie ramp rate (DCTRR). This DCTRR will be calculated from the scheduled system-wide DC Tie ramp times five and a configurable factor to capture the scheduled 5-minute DC Tie ramp.
PRS Decision: On 9/12/19, PRS voted unanimously to recommend approval of SCR800 as submitted. On 10/10/19, PRS voted unanimously to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for SCR800 with a recommended priority of 2020 and a rank of 2910.

## Slide 13: SCR805, Provide Early Access to Certain 60-Day Reports to TSPs Upon Request [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2920
ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to DAIP and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR allows ERCOT to automatically provide certain reports to requesting Transmission Service Providers (TSPs) prior to the date the reports are posted to the Market Information System (MIS) Public Area (i.e., 60 days after the Operating Day). The reports will be provided only to TSPs that make a formal request to ERCOT. Once the formal request is approved by ERCOT, ERCOT will automatically provide these reports on an ongoing basis to the TSP.
PRS Decision: On 9/12/19, PRS voted to recommend approval of SCR805 as submitted. There was one abstention from the Consumer (Occidental) Market Segment. On 10/10/19, PRS voted to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for SCR805 with a recommended priority of 2020 and a rank of 2920. There was one abstention from the Consumer (Occidental) Market Segment.

## Slide 14: 2019 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/5 – 2/7 | April 4/2 – 4/4 | May 5/28 – 5/30 | August 8/6 – 8/8 | October 10/15 – 10/17 | December 12/10 – 12/12
NPRR842 NPRR858 NPRR878 SCR794 PGRR057(b) OBDRR011 RMGRR156 PGRR062 NPRR916(a) | NPRR809(b) NPRR817 NPRR833(a/b) NPRR845 NPRR847 NPRR865 NPRR866 NPRR880 VCMRR021 RRGRR017 VCMRR022 NPRR877 Ph1 NPRR833(c) NPRR749 | NPRR901 NPRR910 NPRR912 NPRR916(b) NOGRR174 OBDRR010 NPRR909 NPRR519 NPRR620 NPRR741 NPRR755 NOGRR154 | NPRR925 SCR793 SCR796 SCR798 OBDRR003 OBDRR014 NPRR821 PGRR066 NPRR899 | NPRR895 NPRR914 NPRR923 OBDRR007 PGRR061 PGRR070(a) RR917(a) PGRR070(a) | NPRR873 NPRR911 NPRR920 SCR797
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
NPRR809(b) – Reporting/posting system changes
NPRR833(a/b) – DAM/SCED system changes
NPRR833(c) – CRR system changes
NPRR916(a) – Mitigated Offer Floor to $0/MWh
NPRR916(b) – Mitigated Offer Floor to -$20/MWh
PGRR057(b) – List of GMD event contingencies
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
E
P
E
E
7/1
6/2
ü
ü
CMM Release 1b
5/1
1/22
3/26
ü
ü
ü
ü
ü
ü
ü
TBD Items | 2014 | 2017 | 2018 | 2019
 | NPRR664 | NPRR702, NPRR829 | NPRR825(b), NPRR867, NPRR841 | NPRR885,NPRR887,NPRR904,NPRR905,NPRR929,SCR799,PGRR070, OBDRR009
E
E
E
E
E
3/1
3/5
5/6 – 5/7
Q4
RARF (SCR781)
Testing/Training of View/Update
(Go-Live in early 2020)
ü
R1
R2
R3
R4
R5
R6
ü
4/10
ü
ü
6/15
ü
ü
ü
ü
ü
ü
ü
ü
ü
6/1
9/1
ü
ü
ü
ü
ü
ü
ü
ü
ü
8/1
ü
10/18

## Slide 15: 2020 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/4 – 2/6 | April 3/31 – 4/2 | May 5/26 – 5/28 | August 8/4 – 8/6 | October 10/13 – 10/15 | December 12/8 – 12/10
NPRR877 Ph2 NPRR863 Ph1 | SCR802 SCR781(a) RRGRR016 NPRR889 RMGRR155 RRGRR018 RRGRR019 | NPRR856 NPRR884 NPRR935 OBDRR006 |  | MMS/OS Refresh | NPRR917
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
P
R1
R2
R3
R4
R5
R6
3/1
NPRR863 Ph1 – FFR portion
SCR781(a) – View / Edit capability
SCR781(b) – Add capability
MMS/OS Upgrade “Chill”
MMS/OS Upgrade “Freeze”
March/April
RARF Go-Live for View/Update
NS
E
E
E
E
E
E
E
E
I
I
NS
I
October
MMS/OS Tech Refresh
1/1
Future Year Go-Live Targets
2021
2022
NS