Date:	October 23, 2019

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs and SCRs recommended for approval by PRS: - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR902, ERCOT Critical Energy Infrastructure Information [ERCOT] - NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment [GSEC] - NPRR957, RTF-4 Definition of Energy Storage Resource and Related Registration and Telemetry Requirements [Boston Energy Trading and Marketing] - NPRR965, GREDP Shutdown Exemption [Luminant] - NPRR968, Revise EEA Level 3 Triggers from 1375 MW to 1430 MW to Align with New Most Severe Single Contingency Value [ERCOT] - NPRR969, Clean-up of Protocol 19.8, Retail Market Testing [ERCOT] - SCR800, Addition of DC Tie Ramp to GTBD Calculation [ERCOT] - SCR805, Provide Early Access to Certain 60-Day Reports to TSPs Upon Request [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] Proposed Effective Date: January 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR revises Section 3.15, Voltage Support, to clarify the range of voltages at the Point of Interconnection (POI) and circumstances for which a Generation Resource’s reactive capability must be designed to meet. PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR849 as amended by the 9/11/19 ERCOT comments. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for NPRR849. - NPRR902, ERCOT Critical Energy Infrastructure Information [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2890 ERCOT Impact Analysis: Between $150k and $225k; no impacts to ERCOT staffing; impacts to Data and Information Products (DAIP), Data Access & Transparency, Integration, and External Public; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR clarifies parties’ responsibilities regarding ERCOT Critical Energy Infrastructure Information (ECEII). This NPRR defines ECEII, adds lists of items that are considered ECEII, specifies the restrictions imposed upon parties that receive or create ECEII, and provides a framework for the submission of ECEII to ERCOT. PRS Decision: On 9/12/19, PRS voted to recommend approval of NPRR902 as amended by the 9/4/19 ERCOT comments. There was one abstention from the Independent Generator (Luminant) Market Segment. On 10/10/19, PRS voted to endorse and forward to TAC the 9/12/19 PRS Report and Revised Impact Analysis for NPRR902 with a recommended priority of 2020 and a rank of 2890. There was one abstention from the Independent Generator (Luminant) Market Segment. - NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment [GSEC] Proposed Effective Date: January 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR removes distribution-level and non-Settlement metered Block Load Transfers (BLTs) from Energy Emergency Alert (EEA) Level 2 deployment. PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR937 as amended by the 8/2/19 GSEC comments. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report as amended by the 10/7/19 GSEC comments and the Impact Analysis for NPRR937. - NPRR957, RTF-4 Definition of Energy Storage Resource and Related Registration and Telemetry Requirements [ERCOT] Proposed Effective Date: January 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR establishes the terms “Energy Storage System” (ESS) and “Energy Storage Resource” (ESR), with ESS serving as an “umbrella term” for storage assets in general, and ESR corresponding to ESSs that are eligible to participate in Security-Constrained Economic Dispatch (SCED) and/or provide Ancillary Services; adds new Section 3.8.6, Energy Storage Resources, to clarify that the Resource Entity and Qualified Scheduling Entity (QSE) representing an ESR are responsible for following all requirements associated with Generation Resources and Controllable Load Resources. Under this process, an ESR must be registered with ERCOT as both a Generation Resource and a Controllable Load Resource; adds new paragraph (12) to Section 6.5.5.2, Operational Data Requirements, to specify telemetry requirements unique to ESRs; and adds new paragraph (6) to Section 16.5, Registration of a Resource Entity, to provide greater transparency of ERCOT’s current practice of requiring a Resource Entity to register an ESR as both a Generation Resource and a Controllable Load Resource. PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR957 as amended by the 9/5/19 ERCOT comments. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for NPRR957. - NPRR965, GREDP Shutdown Exemption [Luminant] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2900 ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to BI & Data Analytics; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR excludes from the Generation Resource Energy Deployment Performance (GREDP) calculation the five-minute intervals in which a Quick Start Generation Resource (QSGR) is engaging in the decommitment process under Section 3.8.3.1, Quick Start Generation Resource Decommitment Decision Process, or telemetering SHUTDOWN status. PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR965 as submitted. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for NPRR965 with a recommended priority of 2020 and a rank of 2900. - NPRR968, Revise EEA Level 3 Triggers from 1375 MW to 1430 MW to Align with New Most Severe Single Contingency Value [ERCOT] Proposed Effective Date: January 1, 2020 ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to NoticeBuilder and Energy Management System (EMS); ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR updates Protocol language for compliance with North American Electric Reliability Corporation (NERC) Reliability Standard BAL-002-3, Disturbance Control Standard – Contingency Reserve for Recovery from a Balancing Contingency Event, and EOP-011-1, Emergency Operations. The NPRR language changes the Physical Responsive Capability (PRC) trigger for EEA Level 3 to match a new Most Severe Single Contingency (MSSC) of 1,430 MW, which ERCOT intends to implement on January 1, 2020. PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR968 as submitted. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report and the Impact Analysis for NPRR968. - NPRR969, Clean-up of Protocol 19.8, Retail Market Testing [ERCOT] Proposed Effective Date: January 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies language regarding ERCOT’s role in qualifying Market Participants. PRS Decision: On 9/12/19, PRS unanimously voted to recommend approval of NPRR969 as submitted. On 10/10/19, PRS unanimously voted to endorse and forward to TAC the 9/12/19 PRS Report as amended by the 9/23/19 AEP comments and the Impact Analysis for NPRR969. - SCR800, Addition of DC Tie Ramp to GTBD Calculation [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2910 ERCOT Impact Analysis: Between $30k and $50k; no impacts to ERCOT staffing; impacts to EMS, Data Management, Market Management System (MMS), and BI & Data Analytics; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR incorporates Direct Current Tie (DC Tie) scheduled ramp into SCED by updating the formula used by the Resource Limit Calculator to calculate the Generation To Be Dispatched (GTBD) value to include the addition of a scheduled 5-minute DC Tie ramp rate (DCTRR). This DCTRR will be calculated from the scheduled system-wide DC Tie ramp times five and a configurable factor to capture the scheduled 5-minute DC Tie ramp. PRS Decision: On 9/12/19, PRS voted unanimously to recommend approval of SCR800 as submitted. On 10/10/19, PRS voted unanimously to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for SCR800 with a recommended priority of 2020 and a rank of 2910. - SCR805, Provide Early Access to Certain 60-Day Reports to TSPs Upon Request [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2920 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to DAIP and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR allows ERCOT to automatically provide certain reports to requesting Transmission Service Providers (TSPs) prior to the date the reports are posted to the Market Information System (MIS) Public Area (i.e., 60 days after the Operating Day). The reports will be provided only to TSPs that make a formal request to ERCOT. Once the formal request is approved by ERCOT, ERCOT will automatically provide these reports on an ongoing basis to the TSP. PRS Decision: On 9/12/19, PRS voted to recommend approval of SCR805 as submitted. There was one abstention from the Consumer (Occidental) Market Segment. On 10/10/19, PRS voted to endorse and forward to TAC the 9/12/19 PRS Report and Impact Analysis for SCR805 with a recommended priority of 2020 and a rank of 2920. There was one abstention from the Consumer (Occidental) Market Segment. Revision Requests Rejected None Revision Requests Withdrawn - NRRR934, Advance Action Notice (AAN) and Clarify Process for Resource Outage Approval Withdrawal [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the November 13, 2019 PRS Meeting - NPRR928, Cybersecurity Incident Notification [ERCOT] - NPRR941, Create a Lower Rio Grande Valley Hub [DC Energy] - NPRR972, Enhancing Existing CRR Transaction Limit Process [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] - NPRR933, Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities [ERCOT] - NPRR938, Distribution Voltage Level Block Load Transfer (BLT) Compensation [GSEC] - NPRR945, Net Metering Requirements [TIEC] - NPRR946, Allow TDSPs to Use 814_28, Complete Un-executable Transactions for 814_03 Switch Transactions Involved In A Mass Transition Event [TX SET] - NPRR947, Clarification to Ancillary Service Supply Responsibility Definition and Improvements to Determining and Charging for Ancillary Service Failed Quantities [ERCOT] - NPRR953, Addition of Relay Loadability Rating Definition [ERCOT] - NPRR955, Define Limited Impact Remedial Action Scheme (RAS) [ERCOT] - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR963, Creation of Generation and Controllable Load Resource Group (GCLR Group) [Tenaska Power Services] - NPRR964, Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement [ERCOT] - NPRR966, Changes to Support Reactive Power Coordination Tool [ERCOT] - NPRR967, Allow Limited Duration Resource Energy Offer Curve Updates Near Real-Time and Remove the 10 MW Limit [Advanced Power Alliance] - NPRR970, Reliability Unit Commitment (RUC) Fuel Dispute Process Clarification [ERCOT] - NPRR971, Changing Energy Offer Curve Caps for Make-Whole Calculation Purposes and Replacing the Real-Time Average Incremental Energy Cost [ERCOT] - NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer [ERCOT] New Revision Requests Scheduled for Consideration at the November 13, 2019 PRS Meeting - NPRR974, Capacity Insufficiency Operating Condition Notice (OCN) Transparency [TCPA] - NPRR975, Load Forecast Model Transparency - NPRR976, Provisions for Resource Entities to Act as a Virtual QSE or Emergency QSE [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr