## Slide 1
Review of Commercial Impacts of DC Tie Curtailments
CMWG
October 29, 2019
Market Analysis

## Slide 2: DC Tie Tag Curtailments – September 2019
Date | DC Tie | Curtailing Period | # of Tags Curtailed | Initiating Event | Curtailment Reason
9/18/2019 | DC-S | HE16 – 22 | 3 | SBEVSHA8 | Local Congestion
9/18/2019 | DC-L | HE19 - 24 | 5 | Unplanned outage | Unplanned outage
9/19/2019 | DC-L | HE07 – 09 | 6 | Unplanned outage | Unplanned outage
9/19/2019 | DC-L | HE10 – 13 | 1 | Tie would not ramp above 70 MW. | Derated to 70 MW
9/19/2019 | DC-L | HE14 | 4 | Unplanned outage | Unplanned outage
9/20/2019 | DC-L | HE15 – 19 | 7 | Micro switch sensor | Unplanned outage

## Slide 3: 9/18/2019 Curtailment of DC-S
Chart: DC Tie Export (MW)
SBEVASH8: HAMILT_MAVERI1_1 Shadow Price | 3500 | 3500 | 3500 | 3500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 4: 9/18/2019 LMPs Related to DC-S Curtailment
Chart: Price ($/MWh)