## Slide 1
Resource Integration Workshop
Resource Integration Topics
ERCOT
Jay Teixeira
October 28, 2019

## Slide 2: Quarterly Stability Assessment (QSA)
Planning Guide 5.9
Next Deadline for QSA
If a GINR is not included in QSA, its Initial Synchronization date will be automatically delayed to the next quarter
All-Inclusive Generation Resource Initial Synchronization Date | Last Day for an IE to meet prerequisites as listed in paragraph (4) below | Completion of Quarterly Stability Assessment
Upcoming January, February, March | Prior August 1 | End of October
Upcoming April, May, June | Prior November 1 | End of January
Upcoming July, August, September | Prior February 1 | End of April
Upcoming October, November, December | Prior May 1 | End of July

## Slide 3: Quarterly Stability Assessment (QSA)
Planning Guide 5.9, Quarterly Stability Assessment
Issue’s seen in the QSA that had May 1, 2018 deadline
  10 day comment period for FIS
    Needs to be complete before QSA deadline
    TSPs need to plan for it
  Dynamic data validation
    Dependent on FIS Stability study
    Need to meet PG 6.9 15 to 30 days prior to QSA deadline

## Slide 4: Resource Integration and Ongoing Operations – Interconnection Services (RIOO-IS) – Releases
No new releases

## Slide 5: Active PGRR’s
PGRR071 - Update Interconnection Process Timetables to Align with NPRR926 – Goes to ROS on Nov. 7th for Impact Analysis.
NPRR973 – PRS Nov 13, PGRR074 – ROS Nov 7, NOGRR196 – ROS Nov 7, RRGRR022 – ROS Nov 7 – Add Definitions for Generator Step-Up and Main Power Transformer.
PGRR076 – Improvements to Generation Resource Interconnection or Change Request (GINR) Process, ROS Nov. 7.

## Slide 6: Other Topics
Site Control clarification – Suzi McClellan
RIOO-RS data export to document – Mike Juricek

## Slide 7: Other contact information
ResourceIntegrationDepartment@ercot.com is distribution list for Resource Integration department

## Slide 8: Questions?
Thank you!