## Slide 1
CDR Supplemental Tab Design Changes
Supply Analysis Working Group
Pete Warnken
Manager, Resource Adequacy
October 31, 2019
Notes: Welcome to

## Slide 2: Two Design Changes
Recombine the “year 6 through 10” information with the seasonal Summary tabs, and add formatting and notation to distinguish between the two time periods (summer example on next slide)
Decompose the Supplemental tab into multiple “scenario” tabs by scenario type
  Benefits:
    Reduces clutter as more information is added to the CDR
    Enhances the visibility of the information so there is less chance that readers overlook it
    Makes it easier for readers to navigate to information of interest

## Slide 3: Seasonal Summary Tabs (Summer Example)

## Slide 4: Resource Scenarios Tab (Summer Example)

## Slide 5: Other Scenario Tabs
“System Peak Stress Scenario” tab (five-year view)
  Replicate Summer Summary section using
    Net-Load-based IRR Peak Average Capacity Contributions
    Alternate load forecast (for example, a single-hour load forecast tied to when the typical historical peak Net Load hour occurs
“Peak Load Scenario” tab (five year view)
  Replicate Summer Summary section with
    90th/10th percentile peak load forecasts
    Incremental Demand Response impact(s)
    Incremental PV solar Distributed Generation impact(s)