## Slide 1
IRR Peak Average Capacity Contribution Comparison: Net Peak Load versus Peak Load
Supply Analysis Working Group
Pete Warnken
Manager, Resource Adequacy
October 31, 2019
Notes: Welcome to

## Slide 2: IRR Contribution Comparisons, Summer 2019

## Slide 3: Hourly Contribution Variability, Summer 2019
Chart: Wind, Coastal
Peak Load | 0.85435 | 0.84701 | 0.8352 | 0.83063 | 0.82562 | 0.82328 | 0.81362 | 0.8127 | 0.80997 | 0.77112 | 0.76352 | 0.74024 | 0.7316 | 0.72461 | 0.71601 | 0.69837 | 0.68794 | 0.60961 | 0.59979 | 0.51417
Peak Net Load | 0.74853 | 0.70958 | 0.65937 | 0.61852 | 0.60953 | 0.52086 | 0.51372 | 0.49383 | 0.49112 | 0.44067 | 0.42819 | 0.40107 | 0.38652 | 0.33204 | 0.29699 | 0.25975 | 0.18849 | 0.15044 | 0.13414 | 0.11177
Using Net Peak Loads rather than Peak Loads has a greater impact on Coastal wind capacity contributions than Non-Coastal contributions
Chart: Wind, Non-Coastal
Peak Load | 0.38417 | 0.31937 | 0.31722 | 0.31335 | 0.30864 | 0.29761 | 0.28743 | 0.28026 | 0.27951 | 0.25781 | 0.24173 | 0.23553 | 0.22957 | 0.22692 | 0.20925 | 0.18738 | 0.17971 | 0.14524 | 0.12268 | 0.11314
Peak Net Load | 0.18023 | 0.16014 | 0.15765 | 0.14155 | 0.12251 | 0.10511 | 0.10379 | 0.094841 | 0.091848 | 0.086151 | 0.081382 | 0.072973 | 0.066487 | 0.065559 | 0.059775 | 0.058196 | 0.044478 | 0.036873 | 0.025416 | 0.01732