## Slide 1
KTC-1 Energy Storage Resource (ESR) Registration
ERCOT Staff
11/04/2019

## Slide 2: Energy Storage Resource (ESR) Registration
Energy Storage Resource (ESR) per NPRR 957 is defined as;
‘An Energy Storage System (ESS) registered with ERCOT for the purpose of providing dispatchable energy and/or Ancillary Service(s) to the ERCOT System.’
NPRR 957 also requires Energy Storage Resources to be registered as Generation Resources and Controllable Load Resources
NPRR 957 was tabled at the October TAC meeting waiting on accompanying VCMRR. Next stop for this NPRR is December Board of Directors meeting.

## Slide 3: Energy Storage Resource (ESR) Registration
ERCOT Proposes that a Resource Entity shall register an Energy Storage System that desires to participate in SCED and Ancillary Services markets as a registered Energy Storage Resource
Similar to Combined Cycle Resources, ERCOT proposes that an ESR may not be registered in ERCOT as a Split Generation Resource
Registration
(RARF or RIOO)
Siebel, NMMS, EMS, MMS, Settlements
Phase
B
By Dec 31, 2020
Single
Resource
GR
ESR
CLR
ESR
EMS Upgrade + RTC Go-Live (2024)
Single
Resource

## Slide 4: Questions